## CA + WI
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
California | N/A | N/A | N/A | By at least height from Property line | Lesser of 60 dBA or any existing maximum noise levels of applicable jurisdiction |  | 7 Cal Gov. Code § 68593
Contra Consta County, CA | N/A | N/A | N/A | Greater of 3x tower height or 500 feet from boundary line and right-of-way; 1000 feet from offsite residences | 65 dBA | N/A | Contra Costa County Code Title 8 § 88-3
El Dorado County, CA | Manufacturers Recommendation | N/A | N/A | Greater of 3x tower height or 500 feet from boundary line | 55-70 dBA in community/rural centers; 50-60 dBA in rural regions | N/A | El Dorado County Code § 130.37; §130.40.390
Monterey County, CA | Under 80 meters (200 feet) | N/A | N/A | 2x height property line; 5x height from public road or highway; 1.25x height habitable structure | N/A | N/A | Monterey County Code §21.64.120
Riverside County, CA | Zone Dependent | N/A | N/A | From Overhead Transmission: 1.25x H; Public Road, Highway: 1.25x H or 1.5 x H if ADT > 7000; Lot Lines: 1.1 x H or 3 X H if Habitable dwelling. 1000 Feet from Highway 111. | Zone Dependent | N/A | Riverside County Code § 17.224
Solano County, CA | N/A | N/A | N/A | Property Line: 1.25x H; Unpermitted District: 300 Feet | 50 dBA | N/A | Solano County Code §28.80
Santa Barbara County, CA | N/A | N/A | N/A | ; Generally Horizontal Turbines: 2x H from Occupied Structure; Vertical Turbines: 10 blade diameters from structure or tree | N/A | N/A | Santa Barbra County Code §35.57.050
San Diego County, CA | N/A | N/A | N/A | 1.1x H from Easements, Roads and Property Lines. | N/A | N/A | San Diego County Code §6952
San Luis Obispo County, CA | N/A | N/A | N/A | Horizontal Axis Turbines 5x RD from Property Lines; Vertical Axis Turbines: by height from Property Lines. | N/A | N/A | San Luis Obispo County Code §23.08.216
Marin County, CA | Under 80 meters (200 feet) | N/A | Project Specific | 2x height from property line and structures; 300 feet horizontally and 100 feet vertically from Prominent Ridgeline | 45-50 dBA | N/A | Marin County Code §22.32.180
Santa Clara County, CA | N/A | N/A | N/A | Height + Blade Radius from any property line | N/A | N/A | Santa Clara County Code §4.10.390
Lassen County, CA | N/A | N/A | N/A | 1.25 x H from Property Line; 12- feet from structures on property | N/A | N/A | Lassen County Code §18.108.280
Butte County, CA | N/A | N/A | N/A | By height from all property lines | N/A | N/A | Butte County Code §24-157
Kern County, CA | Over 80 meters (600 feet max) | N/A | N/A | Adjacent parcels less than 40 acres: Lesser of 2x H or 500 feet from property lines; Adjacent parcels over 40 acres: Lesser of 1.5x H. or 500 feet from property lines. Offsite Residences: Greater of 1.5x H or 500 feet. | 50 dBA within 50 feet of hospital, school, church , residence or library. | N/A | Kern County Code Ch. 19 § 64.140
Yolo County, CA | Manufacturers Recommendation | N/A | N/A | Adjacent parcels less than 40 acres: Lesser of 2x H or 500 feet from property lines; Adjacent parcels over 40 acres: Lesser of 1.5x H. or 500 feet from property lines. Offsite Residences: Greater of 2x H or 1000 feet. | 50 dBA within 50 feet of hospital, school, church , residence or library. | N/A | Yolo County Code § 8-2.1103
San Bernadino County, CA | Over 80 meters (500 feet max) | N/A | N/A | Adjacent parcels less than 40 acres: Lesser of 2x H or 500 feet from property lines; Adjacent parcels over 40 acres: Lesser of 1.5x H. or 500 feet from property lines. Offsite Residences: Greater of 1.5 x H or 1500 feet. | N/A | N/A | San Bernadino County Code §84.29.030
Wisconsin | N/A | N/A | N/A | Minimum Standards: 1.1x H from property line; lesser of 1250 feet or 3.1 x H from occupied structure | N/A | N/A | Wisc. Stat § 183.378(4g); Wis. Admin. Code § PSC 128.13
Calumet County, WI | N/A | N/A | N/A | 1.1 x H from participating residences, right of way, overhead transmission lines; 1800 feet from nonparticipating property line; Lesser of 1250 feet or 3.1 x H from Occupied Community Buildings | N/A | N/A | Calumet County Code § 79.
Iowa County, WI | N/A | N/A | N/A | 1.1 x H from participating residences, right of way, overhead transmission lines; Lesser of 1250 feet or 3.1 x H from Occupied Community Buildings & Nonparticipating Property Lines | N/A | N/A | Iowa County Ordinance No. 400.17
New Glarus County, WI | N/A | N/A | N/A | 2000 feet from residence, school, hospital, church, public library, or public building; 1.1x H from property lines, public roads, and overhead transmission lines. 1/2 mile away from residential developments | 45-50 dBA | N/A | New Glarus Code ordinance no. 04-2008
Door County, WI | N/A | N/A | N/A | The greater of 2000 feet or 2x H from residence, school, hospital, church, public library, public park; 1.1x H from property lines, roads, telephone & electric lines | 45-50 dBA | N/A | Door County Code § 17-4
Racine County, WI | N/A if parcel over 1 acre, | N/A | N/A | By at least height from Property line | 60 dBA | N/A | Racine County Code § 20-1465
Chilton, WI | N/A | N/A | N/A | 1.1x H from property line of participating owner, public road, power lines, body of water or state DNR; 1000 feet from nonparticipating property line | N/A | N/A | Chilton County Code § 24.423
Monroe County, WI | N/A | N/A | N/A | 1.1x H from public roads, overhead lines; 1.1x H or 500 feet (greater of the two) from property lines; 1000 feet from inhabited structure. | 55 dBA | N/A | Monroe County Code § 47-678
Spooner County, WI | N/A | N/A | N/A | 3x H from any property line, right-of-way for overhead lines | N/A | N/A | Spooner Code § 86-720
Oconto County, WI | N/A | N/A | N/A | 3x H from any property line, right-of-way for overhead lines | N/A | N/A | Ocanto code § 13-1-181
Town of Forrest, WI | N/A | N/A | N/A | 1000 feet + 5x RD from property lines of nonparticipating parcels; the greater of 1000 feet or 3x H from roads and overhead lines; 5280 feet from nonparticipating residences; 1.1 x H from residence on pariticpating parcel, wetlands and waterbodies; 2640 feet from parks and public property. | N/A | N/A | Town of Forrest Ordinance No. 2011-3
Trempaleau County, WI | N/A | N/A | N/A | 2x H from public roads, railroads, communication and electric lines; greater of 2x H or 1000 feet from wetlands and any historical, cultural or archeological resource area; 2 miles from any USFW refuge, 1 mile from inhabited structures including businesses; 1/2 mile from property lines | N/A | N/A | Trempealeau County Code § 21

## Western States
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Arizona | Arizona has no statewide wind law
Navajo County, AZ | N/A | N/A | N/A | If parcel is greater than 2.5 acres: 1/4 mile or 150% of height (whichever is greater) from property lines. If smaller than 2.5 acres: setback by 1/3 mile or 150% (whichever is greater) from property lines. All turbines set back by 1/4 mile from any public roadway, 1.5 x H from any railway, utility line or interior phaselines and structures | 45 dBA | N/A | Navajo County Ordinance No. 05-10
Colorado | N/A | N/A | N/A | N/A | Dependent on zone | N/A | CRS 25-12-103
Nederland, CO | max 60 feet | N/A | N/A | The greatest of the setback for a principal building in the applicable zone or 25% of overall height of wind turbine from all property lines | 50 dBA | N/A | Nederland Code § 16-96
Aurora, CO | N/A | N/A | Has to be at least 10 RD apart on plot | 1.5 x H from property line and above ground telephone, eletrical lines and other uninhavitable structures | N/A | N/A | Aurora City Code § 146-1287
Cheyenne County, CO | N/A | N/A | N/A | 1.1 x H with a minimum of 250 feet from above ground public electric power lines or communication lines, public road or highwasy or railroad. 1.1 x H from all other property lines and 2 x H with a minimum of 1500 feet from inhabited structures, including residence, school, hospital, church, public library or other building open to the public | N/A | N/A | Cheyenne County Wind Energy Facility Rules
Yuma County | N/A | N/A | N/A | 2 x H from above ground public eletric power lines or communication lines, public road or highway or road; 2 x H or 1000 feet, whichever is greater from inhabited structure on-site or all other property lines; 2 x H or 2000 feet (whichever is greater) from inhabited structure off-site; and 2 x H or 420 feet from any public road or highway with an ADT over 7000. | N/A | N/A | Yuma County Code § 5-104-I
Idaho | Idaho has no statewide wind law
Jefferson County, Idaho | N/A | N/A | N/A | By height from any public road right of way, overhead utility lines or property lines | N/A | N/A | Jefferson County Ordinance No. 09-09
Montana | Montana has no statewide wind law
Great Falls, MT | [5 empty] | Large or Commercial wind-powered electricity systems are not allowed within the city. Large or commercial wind-powered electricty systems are defined as having "a rated capacity of over one hundred (100) kilowatts (kW) and are intended to produce electricity for use on-site and/or sale to a rate regulated utility company or other off-site provider of electric power" | Great Falls Code. § 17.20.7.110
Nevada | Nevada has no statewide wind standards
Lyon County, NV | Under 80 meters. (200 feet) | N/A | N/A | 2 x H from property lines, railroads, trail easements, aboveground utility lines or public roads. | 55 dBA | N/A | Lyon County Code § 10.21.04
Sparks, NV | N/A | N/A | Must be at least 15 meeet from ground as measured at the lowest point of the arc of the blades of horizontal shaft and 10 feet as measured at the lowest point of wind machine with a vertical shaft | 1.5 x H from property lines of residential use properties; 1.0 x H from property line of any non-residential use properties | 60 dBA | N/A | Sparks Code § 20.03.036
Washoe County | Over (600 feet) | N/A | N/A | 3 x H from property line of any nonparticipating residentially zoned property; 1 x H from any railroafs, trail easements, aboveground utility lines , public roads, and from the property line of anyprivately owned non-residentially zoned properties; 30 feet from undeveloped federally owned property; 1 mile from any existing off-site dwellings or other occupied buildings within Washoe County | 45-50 dBA | N/A | Washoe County Code Ordinance 1443
New Mexico | New Mexico has no statewide wind standards
Lincoln County, NM | N/A | N/A | N/A | 1000 feet from business and public buildings outside of affected residence; the greater of 500 feet or 1.1.x H from any property lines; the greater of 500 feet or 1.5 x. H from any public road or public right of way | 55 dBA | N/A | Lincoln County Ordinance No. 2017-04
Santa Fe County, NM | N/A | N/A | N/A | 2 x H from on-site building and propert lines; 5 x H fom buildings on adjacent property | 55 dBA | Not allowed within 500 feet of any public parkland, areas of historical or cultural signifigance, or natrual areas and nature preserrves | Santa Fe County Code § 10.16
Utah | Utah has no statewide wind regulations
Daggett County, UT | Over (450 feet) | N/A | Must clear gorund by at least 30 feet | 110% of H from all inhabited structures, overhead utility lines, property lines, public roas or public right-of-ways | 60 dBA | N/A | Daggett County § 1905.0
Box Elder County, UT | Over (600 feet) | N/A | Must clear gorund by at least 30 feet | 110% of H from all inhabited structures, overhead utility lines, property lines, public roas or public right-of-ways | 60 dBA | N/A | Box Elder County § 5-4-040
Milford City, UT | Under (150 feet) | N/A | N/A | 500 feet from nearest property line and public road right-of-way | 50-60 dBA | N/A | Milford City Code § 13.45
Riverton, UT | N/A | N/A | N/A | Height + 5 feet from all property lines | N/A | N/A | Riverton City Code § 18.180
South Weber City, UT | Over (270 feet) | N/A | N/A | 800 feet from Occupied Structure | N/A | N/A | South Weber City § 10-17B-3
Wyoming | N/A | N/A | N/A | minimum setback requirements for localities are: 110% of H from property line; 5.5 x H from any subdivision or residential dwellingor occupied structure. Base of tower must be .5 mile from limits of any city or town | N/A | N/A | WY. Code. § 18-5-504
Oregon | Oregon has no statewide wind standards
Wasco County, OR | N/A | N/A | N/A | 1.5 x H from any property line, right of way of any dedicaated road and any above ground major utility facility; 1.1 x H from any minor above ground utility facility; 3250 feet from non-participating residences; 1 mile from residences in a resource zone; 3/4 of a mile from established city limit, urban growth boudary or urban reserves. | N/A | N/A | Wasco County § 19(d)
Washington | Washingotn has no statewide wind facility standards
Umatilla County, WA | N/A | N/A | N/A | 2 miles from urban growth boundary or a rural residence; 1 mile from an unincorporated community; 110% of H from right of way of country roads and property line. Any new electrical lines associated with the project cannot be closer than 500 feet to a residence unless permission is granted. | N/A | N/A | Umatilla County Code § 152.616(HHH)`

## Upper Midwest&Great Lakes
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Illinois | Illinois has no statewide wind standards
Coles County, IL | N/A | N/A | N/A | the greater of 350 feet or 1.1 x H from any property lines, dedicated roadway, railroad right-of-way, or overhead electrical transmisison or distribution lines; 1500 feet from any platted community which enforces its own government | N/A | N/A | An Ordinance Governing Wind Energy Conversion Systems In The Unincorporated Areas of Coles County, Illinois
Vermilion County, IL | N/A | N/A | N/A | 1000 feet from any structure that one or more persons occupy the majority of time for business or personal reasons; 1.1 x H from any public road, third party transmissions lines and communication towers and property liens. | N/A | N/A | Vermilion County Ordinance No. 09-0102
Carroll County, IL | N/A | N/A | N/A | 3.1 x H from any primary structure; 1.1 x H from public roads and property lines; 1.25 x H from all other structures, transmission lines and communciation lines | N/A | N/A | Carroll County Code § 700-5.06
Kankakee County, IL | Over (499 feet) | N/A | Has to clear ground by 75 feet | 600 feet from all participating dwellings; 1.1 x H from any nonparticipating property line or public roads, transmisison lines and communication towers; 1200 feet from any non-participating dwellings; 2 miles from iroquois and Kankakee Rivers | N/A | N/A | Kankakee County Code § 121-295
LaSalle County, IL | N/A | N/A | N/A | 1200 feet from residecne; 1.25 x H from property lines; 1.5 x H from public roads and other structures | N/A | N/A | LaSalle County Code § 7.1-4RR
Lee County, IL | N/A | N/A | N/A | 350 feet from property lines, dedicated roadway, railroad right-of-way or right-of-way for overhead trasnmission or distribution lines | N/A | N/A | Lee County Code § 10-15-15
Mason County, IL | Over (525 feet) | N/A | N/A | 1000 feet from any primary strucutre; 1.1 x H from public roads, property lines, and transmission and communication lines; 750 feet from public conservation lands; and 1500 feet from any river bluff | N/A | N/A | Mason County Resolution 2009_1
Peoria County, IL | N/A | N/A | N/A | 750 feet from adjoining property dwelling; 1.1 x H from applying propety dwelling and third party transmission or communication lines | N/A | N/A | Peroria County Code § 7.2
Sangamon County, IL | N/A | N/A | N/A | If turbines are less than 400 feet, set back 1200 feet from perimeter, if over 400 feet this increases by amount over 400 feet | N/A | N/A | Sangamon County Code § 17.49
Sugar Grove, IL | [5 empty] | Wind facilities over 100 kW are banned in the town and within a 1.5 mile radius | Sugar Grove Code § 11-4-20
Indiana | Indiana has no statewide wind regulations
Carroll County, IN | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from public conservation land, open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | N/A | N/A | Carroll County Wind Energy Ordinance
Randolph County | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and utility transmission lines; 750 feet from open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | 60 dBA | N/A | Randolph County Art. XVI
Clinton County | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from , open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | N/A | N/A | Clinton County Code § 406
Rush County | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from public conservation land, open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | N/A | N/A | Rush County Code § 6.4
Grant County, IN | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from public conservation land, open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1320 feet from the 1-69 right-of-way or the Mississinewa River flood plain | 60 dBA | N/A | Grant County code ch. 28
White County, IN | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from public conservation land, open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | n/A | N/A | White County Zoning Ordinances CH. 7
Tippecanoe, IN | N/A | N/A | N/A | 1.1 x H from property line, road right-of-way and other easements; 750 feet from public conservation land, open waterways and drainage ditches; 1500 feet from incorporated limits of muni; 1/2 mile from any friver; 1000 feet from non-participating dwellings | 55 dBA | N/A | Tippecanoe County Code Wind Energy Ordinance
Benton County, IN | N/A | N/A | N/A | The greater of 350 feet or 1.1 x H from property lines, dedicated roadways, railroad right-of-way, or overhead electrical transmisson or distribution lines; 1000 feet from occupied residence; 1500 feet from platted subdivison | N/A | N/A | Benton County Wind Energy Ordinance
Cass County, IN | N/A | N/A | N/A | The greater of 350 feet or 1.1 x H from property lines, dedicated roadways, railroad right-of-way, or overhead electrical transmisson or distribution lines; 1000 feet from occupied residence; 1500 feet from platted subdivison | 75 dBA | N/A | Cass County § 201
Jay County, IN | N/A | N/A | N/A | The greater of 350 feet or 1.1 x H from property lines, dedicated roadways, railroad right-of-way, or overhead electrical transmisson or distribution lines; 1000 feet from occupied residence; 1500 feet from platted subdivison | N/A | N/A | Jay County § 217
Tipton County, IN | N/A | N/A | N/A | The greater of 350 feet or 1.1 x H from property lines, dedicated roadways, railroad right-of-way, or overhead electrical transmisson or distribution lines; 1000 feet from occupied residence; 1320 feet from platted subdivison | N/A | N/A | Tipton County Cod § 522.
Steuben County, IN | N/A | N/A | N/A | 2 x H from non-participating property lines and public lakes; 3 x H from habitable structures on non-participating parcels, 1.1 x H from habitable structures on participating property, rights of way, overhead utilities, rivers, and wetlands. Experimental turbines are subject to double setback requirements | N/A | N/A | Steuben Count Code ch. 09A
Marshall County, IN | N/A | N/A | N/A | 1.5 x H from public streets, property lines, overhead utility or transmission lines, other electrical substations, meteorological towers and primary communication towers. 1000 feet from any dwelling unit except those on-site. | 55 dBA | N/A | Marshall County Zoning Code § 230
Iowa | Iowa has no statewide wind standards
Plymouth County, IA | N/A | N/A | N/A | The greater of: 1200 feet or 2 x H from occupied dwelling, 500 feet or by H from structures intended to shelter livestock, 115% from any right of way or utility easement , property line. | N/A | N/A | Plymouth County Code § 6.10
O'Brien County, IA | N/A | N/A | N/A | 120% H from any public street, right of way, or utility lines; 1200 feet from any human occupied dwelling unless written permission is given; 500 feet from non-occupied dwelling structures. | N/A | N/A | O'Brien Ordinance No. 22 (2010)
Polk County, IA | N/A | N/A | N/A | 1.1 x H from property line | 55 dBA | N/A | Polk County Code CH. 22
Floyd County | N/A | N/A | N/A | 115% of H from property line | N/A | N/A | Floyd county code § 7(x)
Palo Alto County | N/A | N/A | N/A | 120% of H from public roads, public right of ways, overhead utility lines, property lines and unoccupied non-human dwelling structures. 1500 feet from residential dwellings, cemeteries and incorporated municipalities. | N/A | N/A | Palo Alto County ordinance 9-27-16
Boone County, IA | N/A | N/A | N/A | 1.25 x H from property line, 750 feet from dwelling units, 1 x H from road rights of way, the greater of fall zone + 10 feet or 1 x H from other rights of way or other structures, 600 feet from public conservation lands and wetlands, and 1320 feet from river bluffs | 50 dBA | N/A | Boone County Code § 8.04
Cherokee County, IA | N/A | N/A | N/A | 110% of height from any public right of way, overhead utility lines or adjacent property lines; 1250 feet from human occupied dwelling | 50 dBA | N/A | Cherokee County Ordinance No. 2014-01
Greene County, IA | N/A | n/A | N/A | 1000 feet from occupied dwelling; by RD from non-occupied strcuture; by H from road right-of-way and property line | N/A | N/A | Greene County Code § XVII (4)
Tama County | N/A | N/A | N/A | The greater of 2 x H or 100 feet from nearest residence, school, hospital, church or public library; 1.1 x H from public right-of-way or communication or electric lines. | 60 dBA | N/A | Tama County Ordinance No. VI.1
Muscatine County | N/A | N/A | N/A | The greater of 2 x H or 100 feet from nearest residence, school, hospital, church or public library; 1.1 x H from public right-of-way or communication or electric lines. | 60 dBA | N/A | Muscatien County Ordinance Noo. 08-08-16-01
Delaware County | N/A | N/A | N/A | The greater of 2 x H or 100 feet from nearest residence, school, hospital, church or public library; 1.1 x H from public right-of-way or communication or electric lines. | 55 dBA | N/A | Delaware County Ordinance No. 32
Story Couny | N/A | N/A | N/A | The greater of 2 x H or 100 feet from nearest residence, school, hospital, church or public library; 1.1 x H from public right-of-way or communication or electric lines. | 60 dBA | N/A | Story County Code Ch. 9
Powsheik County | N/A | N/A | N/A | The greater of 2 x H or 100 feet from nearest residence, school, hospital, church or public library; 1.1 x H from public right-of-way or communication or electric lines. | 50 dBA | N/A | Powsheik County Code. Art. XX § 5
Mason City IA | N/A | N/A | N/A | N/A | N/A | Mason City bans all commercial wind facilities. | Mason County Code § 12-17-1
Guthrie Center, IA | N/A | N/A | N/A | N/A | N/A | Guthrie Center bans all commercial wind farms | Guthrie center code ch. 167
Michigan | Michigan has no statewide wind standards
Filer Township, MI | N/A | N/A | N/A | In addition to zonal setback requirements; by at least 1 x H from property line | N/A | N/A | Flier Township code. § 31-14-1602
City of Holland, MI | N/A | N/A | N/A | By H from property line | 55 dBA | N/A | City Of Holland Code Ch. 39-2
Township of Meridian, MI | N/A | N/A | N/A | By H from property line | 50 dBA | N/A | Meridian Township Code § 86-443
Ada Township, MI | N/A | N/A | N/A | 1.5 x H from property line | 55 dBA | N/A | Ada Township Wind Energy Ordinance
Gratiot, MI | N/A | N/A | N/A | The greater of 2 x H or 10000 feet from occupied buildings; 1.5 x H from property line; the greater of 1.5 x H or 400 feet freom public roads and railroas | 55 dBA | N/A | Gratiot Wind Energy Ordinance
Huron County, MI | N/A | N/A | N/A | 1320 feet from inhabited structures; 1.5 x H or 450 feet (whichever is greater) from public road; if near edge of wind energy facility overlaw district then 2 x H from property line | 50 dBA | N/A | Huron County Code Art. X
Akron County, MI | N/A | N/A | N/A | 1000 feet from nearest inhabited structure; the greater of 1.1 x H or 200 feet from public roads | N/A | N/A | Akron Code § 14.15
Golden Township | N/A | N/A | N/A | 1.5 x H plus blade in vertical position from property lines. | 55 dBA | N/A | Golden Township Code Art. XiV-B
Lake Township | N/A | N/A | N/A | 110% of H from property line, structures, public or private roads | N/A | N/A | Lake Township § 3.57
Ionia, MI | N/A | N/A | N/A | By H from property line, public right of way, or public overhead utility line | 55 dBA | N/A | Ionia Wind Energy Ordinance
Banks Township, MI | N/A | N/A | N/A | By H from private or public roads, rights of way and lot lines | 60 dBA | N/A | Banks Township Code § 8.03-14
Rogers City, MI | N/A | N/A | N/A | 1.5 x H from property line | 50 dBA | N/A | Rogers City Art. 21 § 32.285
Manchester Township MI | N/A | N/A | N/A | 150 % of H from property line | 55 dBA | N/A | Manchester Township Wind Energy Ordinance No. 67
Norton Shores, MI | N/A | N/A | N/A | The greater of zonal setback requirements or H of tower from property line; by H from publci roads, and right-of way | 45 dBA | N/A | Norton Shores § 48.381
Billings Township, MI | N/A | N/A | N/A | 500 feet from all property lines and roads; if near residential zones or lots then it is 1000 feet | N/A | N/A | Billings Township Art. 11.02
Claybanks Township, MI | N/A | N/A | N/A | 1500 feet from inhabited structures on participating property; 3000 feet from property lines; 2 x H from nearest turbine or public road | 47 dBA for participating property; 40 dBA for non-participating property | N/A | Claybanks Township § 1015
Superior Township, MI | N/A | N/A | N/A | 150% of H from road right of way, property lines, and principal buildings | 55 dBA | N/A | Superior Township Code § 14.07
Montrose, MI | N/A | N/A | N/A | The greater of the zonal setbacks or 110% of H from property line and road right-of-way | N/A | N/A | Montrose Code § 104-10
Emmet County | N/A | N/A | N/A | By H from property line | N/A | N/A | Emmet County Code § 26.03
Coopersville, MI | N/A | N/A | N/A | 2 x H or 1000 feet--whichever is greater--from the nearest occupied building on the same parcel, 1.5 x H from property lines, 400 feet or 1.5 x H--whichever is greater--from public road. | N/A | N/A | Coopersvile Code § 14.67
Minnesota | N/A | N/A | N/A | 500 feet from homes; 250 feet from edge of public road right-of-way | N/A | N/A | Minnesota PUC Order 07-1102
Martin County, MN | N/A | N/A | N/A | 1.1 x H from property line, right-of-ways, public conservation lands, and other structures; the greater of 1.1 x H or 250 feet from dwellings; | N/A | N/A | Martin County Renewable Energy Ordinance
Clay County, MN | N/A | N/A | N/A | 1.1 x H from property line, right-of-ways, public conservation lands, and other structures; the greater of 1.1 x H or 250 feet from dwellings; | N/A | N/A | Clay County Ordinance No. 2009-2
Otter County, MN | N/A | N/A | N/A | 1.1 x H from property line and right-of-ways; 750 feet from dwellings; 600 feet from public conservation lands | N/A | N/A | Otter County Wind Energy Ordinance
Cottonwood County, MN | N/A | N/A | N/A | 1.1 x H from propert lines, rights-of-ways, and public conservation lands; 5 x RD from dwellings | N/A | N/A | Cottonwood County Code § 25
Lyon County, MN | N/A | N/A | N/A | 1.1 x H from property lines; 1000 feet from dwellings; 1 x H from rights-of-way; 600 feet from public conservation lands | N/A | N/A | Lyon County Code Art. 21
Fillmore County, MN | N/A | N/A | N/A | the greater of 1.1 x H or fall zone + 10 feet from property line; 750 feet from dwellings; 1.1 x H from rights-of-ways | N/A | N/A | Fillmore County Wind Energy Conversion System Ordinance
Wright County, MN | N/A | N/A | N/A | the greater of 1.1 x H or fall zone + 10 feet from property line; 750 feet from dwellings; 1.1 x H from rights-of-ways, other structures; 600 feet from public conservation lands; 1000 feet from bluffs, rivers, and incorporated city limits | N/A | N/A | Wright County Code § 761
Rockville, MN | N/A | N/A | N/A | the greater of 1.1 x H or fall zone + 10 feet from property line, rights-of-way, other structures; 1.5 x H from dwellings; 600 feet from public conservation lands | N/A | N/A | Rockville Ordinance No. 2009-58
Freeborn, MN | N/A | N/A | N/A | 3 x RD from non-prevailing axis and 5 x RD prevailing axis from property line, 1.1 x H from rights-of-way; 3 x RD from public conservation lands
Renville, MN | N/A | N/A | N/A | 3 x RD from non-prevailing axis and 5 x RD prevailing axis from property line,; 1.1 x H or 250 feet (whichever is greater) from dwellings; 1.1 x H from rights-of-way, other structurea ; 600 feet from public conservation lands. | N/A | N/A | Renville County Land Use Code Ch. 15
Clearwater, MN | N/A | N/A | N/A | The greater of 3 x RD from non-prevailing axis and 5 x RD prevailing axis from property line; 500 feet from dwellings; 250 feet from rights-of-way; 1350 feet from bluffs | N/A | N/A | Clearwater Wind Energy Conversion System Ordinance
Goodhue, MN | N/A | N/A | N/A | The greater of 3 x RD from non-prevailing axis and 5 x RD prevailing axis from property line, public conservation lands; the greater of 1.1 x H or 250 feet from dwellings; 1.1 x H from rights-of-ways; the greater of fall zone + 10 feet or 1.1 x H from other structures | N/A | N/A | Goodhue Zoning Ordinance Art. 18
Murray, MN | N/A | N/A | N/A | The greater of 3 x RD from non-prevailing axis and 5 x RD prevailing axis from property line, public conservation lands; 1000 feet from dwellings; 1.1 x H from rights-of-ways; 1.1 x H from other structures | N/A | N/A | Murray County Renewable Energy Ordinance
Norman, MN | Over (500 feet) | N/A | N/A | The greater of 3 x RD from non-prevailing axis and 5 x RD prevailing axis or 1500 feet from property line; 1200 feet from dwellings; 1.1 x H from rights-of-ways and other structures; 3 x RD from non-prevailing axis and 5 x RD prevailing axis from public conservation lands | N/A | N/A | Norman County Ordinance No. 101
Wabasha, MN | N/A | N/A | N/A | by diameter+height x 1.5 from property lines, rights-of-ways, and other structures; 2640 feet from dwellings; 3 x RD from non-prevailing axis and 5 x RD prevailing axis from public conservation lands; 1/4 mile from bluffs; 2 miles from incorporated city limits; 3.5 miles from rivers | N/A | N/A | Wabasha Wind Energy Conversion Systems Ordinance
Chippwea, MN | N/A | N/A | N/A | 5 x RD from property line; the greater of 250 feet or 1.1 x H from dwellings; 300 feet from rights of ways; 1.25 x H from other structures | N/A | N/A | Chippwea Code art. 12
North Dakota | North Dakota does not have statewide wind standards
Stutsman, ND | N/A | N/A | N/A | 5 x RD from occupied structures; 1.1 x H from any public road, bridge, rail, above ground transmission or communication lines, unoccupied structures or imprements worth at least $25000; 2 x RD from property line | N/A | N/A | Stustman County Wind Energy Ordinance
Divide County, ND | N/A | N/A | N/A | 3 miles from any residence; 5 RD from any public road or bridge rail line, or above rgoudn transmission or communication lines, antenna, unoccupied building or improvements woth at least 25000, property lines | N/A | N/A | Divide County Code § 7.13.5
Williams County, ND | N/A | N/A | N/A | 2.5 x RD from perimeter, 1400 feet from existing structures and 200 feet from roads and communication or electric lines. | N/A | N/A | Williams County Code § 6-10-10
Wells County, ND | N/A | N/A | N/A | 1.25 x H or 1250 feet--whichever is greater--from occupied dwelling, commercial strucutre or publicly used strucutre; 200 feet from nearest public road or communication or electric lines, 2.5 x RD from property lines. | N/A | N/A | Wells County Code § 12.1.5.1
Mclean County, ND | N/A | N/A | N/A | 1.25 x H or 500 feet--whichever is greater--from occupied dwelling, commercial strucutre or publicly used strucutre; 250 feet from nearest public road or communication or electric lines; 5 x RD from property lines | N/A | N/A | Mclean County code § 6.5.11
Stark County, ND | N/A | N/A | N/A | 2000 feet from nearest occupied dwelling, commercial building or public structure; 200 feet from public roads and above ground communication and electric lines; 2.5 x RD from property lines) | N/A | N/A | Stark County Code § 6.19
Grant County, ND | N/A | N/A | N/A | 2000 feet from nearest occupied dwelling, commercial building or public structure; 200 feet from public roads and above ground communication and electric lines; 2.5 x RD from property lines) | N/A | N/A | Grant County Code § 4.10
New York | New York does not have statewide wind standards
Kendall, NY | N/A | N/A | N/A | 1500 feet from hamilton district line; 100 feet + fall radius from wetlands, utility lines ; 2500 feet from property lines of any school, places of worship or public facilities; 1500 feet from off-site residences and rights of way; 200 feet + fall zone from onsite occupied buildings | N/A | N/A | Kendall Code § 725-30
Porter, NY | Over (450 feet) | N/A | N/A | 1000 feet from property line; 1200 feet from nearest residence, 1.5 x H from nearest building or above ground transmission line. | 50 dBA | N/A | Porter Town Code Art IV § 58-59
Evans, NY | N/A | N/A | N/A | 1000 feet from residential district boundary line and muni boundary line, 1.5 x H from buildings outside property, 1500 feet from residential dwellings, 1.5 x H away from railroad right of ways, transmission lines. | 50 dBA | N/A | Evans Town Code § 198-5
Town of Shuylet, NY | N/A | N/A | N/A | 1.5 x H from any residence, public roads, property lines and other turbines | N/A | N/A | Shuyler Town Code Wind Energy Ordinance
Town of Henderson, NY | N/A | N/A | N/A | N/A | N/A | Town of Henderson bans all wind farms | Town of Hendersonb ch. 149 § 150-1
Town of Meredith, NY | N/A | N/A | N/A | N/A | N/A | Town of Meredith prohibits all wind farms | Town of Meredith Local Law 2 of 2008
Town of Lichtfield, NY | N/A | N/A | N/A | N/A | N/A | Town of Lichtfield bans all commercial wind farms | Town of Lichtfield Local Law No 1 of 2012
Ohio | N/A | N/A | N/A | 1125 feet from property line | N/A | N/A | https://www.opsb.ohio.gov/information/ohio-wind-power-faq/
Jackson Township, OH | Under (80 feet) | N/A | N/A | 1.1 x H from any primary structure; 1.5 x H from any public roads or adjacent property lines. | N/A | N/A | Jackson Township Code Art. 14
Sandusky, OH | N/A | N/A | N/A | 1 x H from property line and public right of way, power line, communicsation line or inhabited building; cannot be within 1000 feet of a platted subdivision, church, park, school, or playground | N/A | N/A | Sandusky Code § 1153.07
Pennsylvania | Pennsylvania has no statewide wind standards
Mount Pleasant, PA | N/A | N/A | N/A | 1.5 x H from any street right of way line, 1.1 x H from nearest occupied building located on participating landowner property; 5 x H from occupied buildings of any use on non-participating property. | 55 dBA | N/A | Mount Pleasant Ordinance § 48-11
Millcreek Township, PA | N/A | N/A | N/A | the greater of max setback requirements for principal structures in that zoning district or 1.1 x H from nearest occupied building on participating property; 1.25 x H from all adjacent property lines and public and private rights of way. | N/A | N/A | Millcreek Township Ordinance 2009-4
Conewago, PA | N/A | N/A | N/A | 1.1 x H or 50 feet--whichever is greater--from occupied building on participating property; non-participating property liine and street right of way. | 55 dBA | N/A | Conewago Township Code § 155-136
Logan Township, PA | Over (355 feet) | N/A | N/A | 1.5 x H from nearest occupied building of participating property and from non-particpating property lines which have no occupied buildings; 2500 feet from non-participating property lines that does have an occupied building; 3000 feet from center of railroad bed surrounding the horseshoe curve national historic landmark. Must be 1.5 times height from nearest property lines and public roads; 500 feet from wetlands | 45 dBA | N/A | Logan Township Code § 1408
Somerset, PA | N/A | N/A | N/A | 5 x H from any off-site occupied residence or occupied commercial structure | N/A | N/A | Somerset Town Code § 1006
Tyrone Township, PA | N/A | N/A | N/A | N/A | N/A | Tyrone Township prohibits commercial wind farms | Tyrone Township Code § 503(H)
South Dakota | N/A | N/A | N/A | the greater of 500 feet or 1.1 x H from property line | 55 dBA | N/A | S.D. Code. Ann. §43-13-22, 13-24
Brookings County, SD | N/A | N/A | N/A | 1000 feet from offsite residences, public buildings, businesses; the greater of 500 feet or 1.1 x H from public roads or property lines | 50 dBA | N/A | Brookings County Zoning Ordiannce §23.00
Pennington County, SD | N/A | N/A | N/A | 1.1 x H from property lines, overhead transmission lines, electrical substations, public roads, occupied dwellings, other turbines, and telecommunication facilities; 1 mile from border of incorporated muni and parks; 3 miles from airports or helipads; 5 miles from Rapid City Regional Airport; 300 yards from recreation areas. | 55 dBA | N/A | Pennington County Code § 317(F)
Lawrence County, SD | N/A | N/A | N/A | the greater of 1000 feet or 1.1 x H from any occupied off-site residence, building and public building. The greater of 500 feet or 1.1 x H back from any public road right of way, lot lines, and utility easements or lines and private easements. | N/A | N/A | Lawrence County Code § 10.1.6
Aberdeen County, SD | N/A | N/A | N/A | For turbines over 75 feet the following setback requirements apply: the greater of 1.1 x H or 1000 feet from church, off-site residence, school, hospital or public library; the greater of 500 feet or 1.1 x H from any residence of landowner on whose property tower is erected, or property line, 1.1 x H from public right of way and communication and electrical lines. | 55 dBA | N/A | Aberdeen Code § 4.36
Brown County, SD | N/A | N/A | N/A | For turbines over 75 feet the following setback requirements apply: the greater of 1.1 x H or 1000 feet from church, off-site residence, school, hospital or public library; the greater of 500 feet or 1.1 x H from any residence of landowner on whose property tower is erected, or property line, 1.1 x H from public right of way and communication and electrical lines. | 55 dBA | N/A | Brown County Code § 4.36
Deuel County, SD | N/A | N/A | N/A | 1000 feet from offsite residences, public buildings or businesses; the greater of 500 feet or 110% of H from on-site lessor's residence; 110% of H away from public right-of-way and any property line | 50 dBA | N/A | Deuel County Code § 1215

## Lower Midwest & Great Plains
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Kansas | Kansas does not have statewide wind standards
Sedgwick County, KS | Cant exceed zonal height limit by more than 20 feet | N/A | N/A | All setbacks are to lotlines and based on RD: RD 5 feet then setback is 100 feet; RD 10 feet tehen 165 feet; RD 15 feet then 220 feet; RD 20 feet then 270 feet; RD 25 feet then 310 feet; 30 feet then 340 feet; 35 feet then 365 feet; 40 RD and above then 385 feet | 60 dBA | N/A | Sedgwick County Ordinance No. 527
Lyon County, KS | N/A | N/A | N/A | 1 x H plus 75 feet away from public roads, 1000 feet from existing residencies, 1 x H + 40 feet from overhead utilities | N/A | N/A | Lyon County Zoning Regulations § 808
Topeka, KS | Under (175 feet) | N/A | N/A | 100 percent of H from property lines; , no horizontal axis turbine can be placed in such a manner that causes a portion of rotor diameter to extend into or over a public right of way or dedicated axis easement | 55 dBA | N/A | Topeka Code § 18.265.030
Pratt County, KS | N/A | N/A | N/A | 1.1 x H from public road right of way or from an accessory structure ; 500 feet back from lot lines of any property ; 2500 feet from a residential building unless special permission is given to move it as close as 1000 feet | 60 dBA | N/A | Pratt County Zoning Ordinances Appendix A
Osage County, KS | N/A | N/A | N/A | H plus 50 feet from all public roads; 2 x H from any residential structure. | N/A | N/A | Osage County Code § 17-103(9)
Pottawattamie County, KS | N/A | N/A | N/A | 1000 feet from occupied dwelling; by RD from non-dwelling property, principal or secondary structure; by H from public road right-of-way. | N/A | N/A | Pottawattamie County Code § 8.004.230
Miami County, KS | N/A | N/A | N/A | 1.1 x H from any property line | 60 dBA | N/A | Miami County Code § 14-2(9)
Pawnee County, KS | N/A | N/A | N/A | 500 feet or H of turbine + 50 feet--whichever is greater--from any public roads, or property lines; 1000 feet from a residential structure; H + 50 feet away from an agricultural/residential accessory structure | N/A | N/A | Pawnee County Code § 36-102
Harper County, KS | N/A | N/A | N/A | 500 feet or H of turbine + 50 feet--whichever is greater--from any public roads, or property lines; 1000 feet from a residential structure; H + 50 feet away from an agricultural/residential accessory structure | 60 dBA | N/A | Harper County Wind Ordinance
Wabaunsee County, KS | N/A | N/A | N/A | N/A | N/A | Implemented a moratorium on wind development and has essentially banned it in their county | Zimmerman v. Bd. of Cty. Comm'rs, 264 P.3d 989 (Kan. 2011)
Missouri | Missouri does not have statewide wind standards
City of Gladstone, MO | Large/Utility Scale wind turbines are allowed but there does not appear to be any information on setbacks, height, or RD limitations |  |  |  | 55 dBA |  | City of Gladstone Code § 7.167.010 (c) (5)
City of Raymore, MO | N/A | N/A | N/A | All setbacks are freom property line based on RD: <6 feet, equal to that required for the principal structure; 6 - 12 feet 1.1 x H; >12 feet 1.5 x H | 60 dBA | N/A | City of Raymore § 420.070
Warrensburg, MO | Under(60 feet) unless a conditional use permit is obtained | N/A | N/A | 1.1 x H from all property lines, public rights-of-way, and overhead utility lines | 55 dBA | N/A | Warrensburg Code § 27-241
Clay County, MO | N/A | n/A | n/A | 150% of H from any property line or overhead utility line | 60 dBA | N/A | Clay County Code § 151-6.2(H)
Palmyra, MO | N/A | N/A | N/A | N/A | N/A | Palmyra has banned all commercial wind farms | Palmyra Code § 401.020
Nebraska | The State of Nebraska does not have statewide wind standards
Gage County, NE | N/A | N/A | N/A | 2 x H from property line; 1.1 x H from public road | N/A | N/A | Gage County Code § 6.6
Custer, NE | N/A | N/A | N/A | RD + building setback from property lines, public conservation lands; 1/4 mile from dwelling units; by RD from river bluffs; other structures not on project site; Blades cannot encroach on right-of-way | 50 dBA | N/A | Custer Code § 1603.5
Nance, NE | N/A | n/A | n/A | 1/2 the RD from property line, Rights-of-way, other structures adjacent to site, river bluffs; 1000 feet from neighboring dwelling units, 600 feet from wildlife manageent areas; 300 feet from wetlands | 60 dBA | N/A | Nance Wind Energy Ordinance
Colfax County, NE | N/A | N/A | N/A | by RD from property line; 2000 feet from dwelling units; 1 x H from rights of way, river bluffs and other structures; 600 feet from wetlands and public conservation lands | 50 dBA | N/A | Colfax County Code § 8.08.05
Fillmore County, NE | N/A | n/A | n/A | 150 feet from property lines; 1000 feet from dwelling units; 1 x H from rights of way and other structures; 600 feet from wildlife management areas and wetlands; 1320 feet from river bluffs; 6000 lineal feet from other wind farms with different owners | N/A | N/A | Fillmor County Code § 9.16.05
Holt County , NE | N/A | N/A | N/A | 1/2 the RD from property lines, rights of ay, other structures, and river bluffs; 1/2 mile from dwelling units; 300 feet from wetlands; by RD from wildlife zones | N/A | N/A | Holt County Code Art. 5
Cherry County, NE | N/A | N/A | N/A | RD from property lines, rights of way, public conservation lands and other structures; 1/2 mile from nonparticipating dwelings; 1000 feet from participating dwellings; 600 feet from USFW wetlands; 1320 feet from river bluffs | 50 dBA | N/A | Cherry County Code § 613
Thayer County, NE | N/A | N/A | N/A | 2 x H from occupied buildings; 2 x turbine blade length from property lines ot south, east, and west; 1.1 x H from property lines to the north; 2 x Blade Length from property lines to the north when owner compensated through agreement and from public road rights-of-way and utility lines | 55 dBA | N/A | Thayer County Code § 613
Polk County, NE | N/A | N/A | N/A | by RD from property lines; 1 x H from dwelling units, rights-of-way, other structures and river bluffs; 600 feet from wetlands | N/A | N/A | Polk County Code § 6.6
Madison County, NE | N/A | N/A | N/A | Based on RD, setbacks are from property lines: RD 5 feet is setback of 100 feet; RD 10 feet is 165 feet; RD 15 feet is 220 feet; RD 20 feet is 270 feet; RD 25 feet is 310 feet; RD 30 feet is 340 feet; RD 35 feet is 365 feet | N/A | N/A | Madison Code § 625
Fronteir County, NE | N/A | N/A | N/A | by RD from property lines, public conservation lands, other structures and river bluffs; 1000 feet from dwelling units; 600 feet from wetlands | 50 dBA | N/A | Frontier Code Art. 15
Knox County, NE | N/A | N/A | N/A | by RD from property lines, other structures, and river bluffs; 1500 feety from dwelling units; 600 feet from wetlands | 50 dBA | N/A | Knox County Code § 8.08
Keith County, NE | N/A | N/A | N/A | RD plus applicable bulding setback from property lines and public conservation lands; 1500 feet from neighboring dwelling unit; 600 feet from wetlands; by RD from other structures not on property; generator blades shall not encroach on right-of-way | 50 dBA | N/A | Keith County Code § 8.08.05
Imperial County, NE | N/A | N/A | N/A | the greater of 1/2 blade diameter or 150 feet from property lines, all road-rights-of-way, other public or private utility easements, and irrigation canals | N/A | N/A | Imperial County Code § 1104
Saline, NE | N/A | N/A | N/A | 2 x H with min of 1000 feet from onsight buildings; 1000 feet from occupied buildings on neighbor properties; 1.1 x H from property and utility lines and rights-of-way | N/A | N/A | Saline Nebraska Wind Energy Ordinance
Lincoln County, NE | N/A | N/A | N/A | by RD from property lines; 2000 feet from dwelling units; 1 x H from rights-of-way and river bluffs; 600 feet from wildlife areas and wetlands | 50 dBA | N/A | Lincoln County Code § 8.08
Oklahoma | N/A | n/A | n/A | 1.5 nautical miles from the center line of any runway, public school, or hospital | N/A | N/A | OK. Stat. § 17.160.20
Midwest City, OK | N/A | N/A | N/A | No part of system may overhang or be within any drainage, utility or other dedicated easement, street right-of-way and/or minimum required front or side setback in zoning district; 1.5 x H from property lines | N/A | N/A | Midwest City Code § 5.7.5
El Reno, OK | Over (600 feet) | N/A | N/A | 1.1 x H from public roads, third-party transmisison lines and communication towers, property lines; 1000 feet from any occupied building | 55 dBA | N/A | El Reno Code § 361-30
Yukon, OK | Under (100 feet)---only applies in commercial or industrial district | N/A | N/A | by H from pproperty lines | 55 dBA | N/A | Yukon Code § 204.173

## New England
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Maine | Maine does not have statewide wind standards
Town of Dixfield, ME | N/A | N/A | N/A | 4000 feet from any occupied building in Dixfield, scenic or special resource; 2000 feet from project boundary; 150% of height from occupied buildings, public and private rights of way and overhead utility lines | 42-55 dBA | N/A | Town of Dixfield Wind Energy Ordinance
Town of Freedom, ME | N/A | N/A | N/A | 13 x H from non-participating property line; 4 x H from public roads; and 2500 feet from scenic or special resoures if the turbine is greater than 80 feet or tree height | 35-40 dBA | N/A | Town of Freedom Wind Energy Ordinance
Town of Rumford, ME | Above (450 feet) | N/A | N/A | 4000 feet from nonparticipating parcel; 150% of H from public and private rights of way, above ground power and telephone lines; 3000 feet from any scenic resource or special resource | 40-50 dBA | N/A | Town of Rumford Wind Energy Ordinance
Town of Buckfield, ME | N/A | N/A | N/A | The greater of 1 mile or 13 x H from nonparticipating land; 4 x H from public roads | N/A | N/A | Town of Buckfield Wind Energy Facility Ordinance
Town of Montville, ME | N/A | N/A | N/A | The greater of 1 mile or 13 x H from nonparticipating land; 4 x H from public roads | N/A | N/A | Town of Montville Wind Energy Facility Ordinance
Town of Dixmont, ME | Above (400 feet) | N/A | N/A | 2500 feet from any nonparticipating parcel or Scenic or Special Resource; 1500 feet from any public way or residence, business, school, daycare facility, church, hospital, or Occupied Structure on participating parcel; 1200 feet from any above ground electric power line or telephone line; 5280 feet from any residence business, school, daycare facility, church, hospital, or other Occupied Structure not on participating parcel | 40-50 dBA | N/A | Town of Dixmont Wind Energy Facility Ordinance
Vermont | N/A | N/A | N/A | N/A | Facilities up to 50 kW: 42 dBA; facilities between 50 and 150 kW 42 dBA at a distance of 100 feet from residence nonparticiapting land owner; facilities over 150 kW 42 dBA in day time and 39 dBA in night | N/A | Vermont PUC Rule 5.700
Town of Barton, VT | N/A | N/A | N/A | Setback is the greater of zonal standards or tower H | 55 dBA | N/A | Town of Barton Code § 331
Town of Duxbury, VT | N/A | N/A | N/A | the greater of 2 x H or 1.5 x maximum calculated ice or blade throw distance to maximum point of impact or equal to manufacturer recommendation from adjacent property lines, rights-of-way, public right of ways or power lines | N/A | N/A | Town of Duxbury Zoning Ordinance § 14
Town of Enosburgh, VT | N/A | N/A | N/A | Towers with RD 20 feet or more shall be setback 275 feet from all lot lines | N/A | N/A | Town of Enosburgh Development Bylaw § 5.8
New Hampshire | The state of New Hampshire does not have statewide wind standards
Massachusetts | Massachusetts does not have statewide wind standard
Boston, MA | Over (500 feet) | N/A | N/A | 1.2 x H from all buildings, lot lines, and overhead utility lines | N/A | N/A | Boston Redevelopment Authority art. 88
Town of Bourne, MA | N/A | N/A | N/A | 10 x RD from residential used or zoned parcel; by H + RD x 1.5 from any commercial or any occupied structure, public or private road or regularly used public area | 65 dBA | N/A | Bourne Board of Health Wind Energy Facility Regulations
Town of Fairhaven, MA | Around (265 feet) | N/A | N/A | 1,1 x H from principal strucutres and critical infrastructure (power lines, natrual gas, distribution infrastructure, etc.); 4 x H from off-site residential, commercial structure or public way; 1.5 x H from the nearest non-participating property line and private ways
Worcester, MA | the lower of manufacturer recommendation or 265 feet | N/A | 165 feet | 650 feet from nonparticipating landowner's occupied building; the greater of 165 feet or 1.25 x H from participating lanowner's occupied building; 1.1 x H from wind turbines, right-of-way line of the nearest public way, property line, or above ground utiltiy linr | 55 dBA | N/A | Worcester Zoning Ordinance Art. IV § 13
Carver, MA | N/A | N/A | N/A | by H plus 10 feet from all boundaries; 4 x RD from access easements and above ground utility lines | N/A | N/A | Carver Code § 3650
Woburn, MA | N/A | N/A | N/A | 1.5 x H from property line | N/A | N/A | Woburn Code § 24
Freetown, MA | Over (450 feet) | N/A | N/A | 3 x H from critical infrastructure, or public or private ways, nearest existing residential strucutre, and property lines | N/A | N/A | Freetown Code § 11.24
Dennis, MA | N/A | N/A | N/A | 1 x H (blade tip) from property line; 2 x H from nearest residential strucure located outside industrial zone; 1 x H (hub height) from any dwelling unit or commercial structure located on same property | N/A | N/A | Dennis Code § 11.6.4
Hamilton, MA | Over (325 feet) | N/A | N/A | by H from buildings, critical infrastructure, or private or public ways that are not apart of wind energy facility; 3 x H from nearest existing residential or commercial structure; 1.5 x H from nearest property line. | N/A | N/A | Hamilton Code § 7.3.8
Salem, MA | Over (400 feet) | N/A | N/A | The greater of 75% of H or zonal requirements from property lines; by H from any dwelling, business, or instituional use | N/A | N/A | Salem Code § 6.9
Cohasset, MA | Exactly 80 meters | N/A | N/A | by H from buildings, critical infrastructure, or private or public ways that are not apart of wind energy facility; 3 x H from nearest existing residential or commercial structure; 1.5 x H from nearest property line. | N/A | N/A | Cohasset Zoning Oridnances § 19
Rhode Island | Rhode Island does not have statewide wind standards
Connecticut | N/A | N/A | N/A | If more than 65 MW: 2.5 x H from all property lines; if less than 65 MW then: 1.5 x H from all property lines | N/A | N/A | Regulations of Connecticut State Agencies § 16-50j-2a

## Texas
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Texas | Texas does not have statewide wind standards
Seagoville, TX | Under (65-100 feet depending on lot size) | N/A | N/A | 2 x H from property lines, rights-of-way and public buildings; 1.5 x H from applicants own building; 1.5 x H from overhead utility lines; the greater of 200 feet or 5 x RD from other turbines | N/A | N/A | Seagoville Ordinance No. 24-08
Abilene, TX | Under (65-100 feet depending on lot size) | N/A | N/A | N/A | N/A | N/A | Abilene Ordinance No. 8-2012
Ovilla, TX | Manufactuerer Recommendation | N/A | N/A | 50 feet from any primary structure; by H from property line | 40 dBA
Kingsville, TX | Under (100 feet) | N/A | N/A | N/A--appear to be based on zone | 45 dBA | N/A | Kingsville Code § 15-6-104
Wichita Falls, TX | N/A | N/A | N/A | N | N/A | Wichita Falls bans all utility wind energy systems | Wichita Falls Code § 5855.
Forney, TX | Under (40-120 feet depending on acre size of lot; if less than 3 acres--40 feet, if 3-10 acres-60 feet; over 10 acres 120 feet) | 100 kW | N/A | Can only be placed in rear yard of lot; 1.25 x H from all propoerty lines, rights-of-way, and occupied buildings, and overhead utility lines | N/A | N/A | Forney, TX code § 48a
Balch Springs, TX | Under (70 feet) | N/A | N/A | Cant be built on vacant lot--primary structure has to predate wind tower; 110% of H from public right-of-way, public or private easement, or within any front, side, or rear property setback area; cannot overhand property line. | N/A | Utilit grid systems larger than 20 kW are prohibited | Balch Springs TX code § 90-3-04.28
Denison, TX | [5 empty] | Can only be an accessory use and only supply power to property it is located on | City of Denison code § 28.56.1
Brownsville, TX | Under (120 feet) | 20 kW | N/A | 20 feet from all property lines; by H from nearest residential structure | 50 dBA | N/A | Brownsville Code § 18-750 et seq.
Leander, TX | Under (90 feet) | 100 kW | N/A | 125% of H from lot lines, overhead utilities and public or private street | N/A | N/A | Leander code § 4.5(s)
Anna, TX | If lot is less than 5 acres then 35 feetl; if greater then 70 feet. | N/A | N/A | MAX 2 PER LOT--1.1 x H from property lines | 50 dBA | N/A | Anna Code § 34.13
Waller, TX | Under (45 feet) | N/A | N/A | by H from property line | 60 dBA | N/A | Waller Code § 14.4
Nolanville, TX | Manufactuerer Recommendation | N/A | n/A | by H from right-of-way or public or private easement where electric or communication line ecist | N/A | Can only be accessory use | Nolanville Code § 620.1
Weatherford, TX | Under (66 feet) | 100 kW | N/A | Located in rearyard--cannot extend onto public easement | 60 dBA | Can only be accessory use | Weatherford Texas Code § 44.55
McKinney TX | Dependent on zone | N/A | N/A | dependent on zone | N/A | Max 1 tower per tract---though planning commission may allow up to 3; can only be accessory use | Mckinney Code § 146-140
Arlington, TX | Under (75 feet) | N/A | N/A | 1.0 x H from any public road right-of-way, overhead utility line, and property line | 60 dBA | Only 1 per lot in residential zone | Arlington Code § 3.3.6(b)(2)
Grand Prarie, TX | if 2-3 accres then 80 feet; greater than 3 acres then 150 feet | 100 kW | N/A | 1.25 x.H from all propertylines, public rights of way, and occupied buildings, overhead utility lines | N/A | N/A | Grand Prarie Texas ordinance no. 7574
City of Rhome, TX | N/A | N/A | N` | N/A | N/A | Only for onsite consumption | City of Rhome Ordinance No. 2008-26
Burleson, TX | if more than 5 acres, 120 feet--if less than 5 acres then 60 feet | N/A | N/A | Can only be placed in rear yard of lot; 1 x H plus 15 feet from property lines; 2 x H if abutting residential property; 1000 feet from all interstate and state rights-of-way unless provided specific use permit; 1000 feet from other wind turbines | 40 dBA | 1 tower per 5 acres | Burleson Code § 11-5
Benbrook, TX | N/A | N/A | N/A | N | N/A | Utilit grid systems are prohibited | Benbrook Code § 17.84.130
Wylie, TX | N/A | 25 kw | N/A | 125% OF H from boundaries; by H of tallest tower from other turbines | 60 dBA | Can only be secondary use | Wylie Code § 2.5©(3)
San Marcos, TX | N/A | N/A | N | N/A | N/A | Only for onsite consumption | San Marcos Code § 4.3.4.7
Midlothian, TX | N/A | N/A | N/A | N | N/A | Only for onsite consumption | Midlothian Code § 7
Denton, TX | N/A | N/A | N | N/A | N/A | Only for onsite consumption | Denton Code § 26-115 et seq.
Garland, TX | N/A | N/A | N | N/A | N/A | Only for onsite consumption | Garland Ordinance Ni. 6284

## Mid-Atlantic
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
New Jersey | Localities cannot restrict height through a general ordinance or regulation that does not specifically address allowable tower height |  |  | Localities cannot enact setbacks of over 150% of tower H | N/A | Localities cannot unreasonably limit wind development | N.J. Stat. Ann. § 44-55D-66.12
Delaware | N/A | N/A | N/A | Municipalities cannot enact a setback greater than 1 x H of tower | 5 dBA above ambient--Max is 60 dBA | N/A | Del. Code. Ann. § 29-80-8060
Maryland | Marylad has no statewide standards. A facility under 70 MW must only obtain local approval. If it is over 70 MW they must receive a CPCN from the Maryland PSC | [5 empty] | Maryland Public Utilities Code § 7-207
Worcester County, MD | N/A | N/A | N/A | N/A | N/A | Large Wind Systems--which are defined as systems over 100 kw which supply energy to the grid--are banned in the county. | Worcester County Wind Code §ZS-1-344
West Virginia | West Virginia does not have statewide wind standards
Kentucky | N/A | Over 10 MW must get state approval, less and handled on local level | N/A | 1000 feet from property line of adjoining property owner; 2000 feet from residential neighborhood, school, hospital or nursing home facility | N/A | N/A | KY. Rev. Stat. §278.700 et seq.
North Carolina | N/A | N/A | N/A | .5 miles from adjacent property boundary; Permit applications must include description of military training routes, radar, special air use space, or other military operations affected by facility. Any facility which would encroach on or adversely affect military operations or training will be denied | N/A | N/A | N.C. Gen. Stat. §143-215.115
Hyde County | N/A | N/A | N/A | 1.1 x H from occupied buildings on same property, 2.5 x H from occupied buildings on other properties, 1.5 x H from property lines and public roads | 55 dBA | N/A | Hyde County Code §16.48
Tyrell County, NC | N/A | N/A | N/A | 1.1 x H from occupied buildings on same property, 2.5 x H from occupied buildings on other properties, 1.5 x H from property lines and public roads | 55 dBA | N/A | Tyrell County Wind Energy Ordinance
Davidson County, NC | N/A | N/A | N/A | 1.1 x H from occupied buildings on same property, 2.5 x H from occupied buildings on other properties, 1.5 x H from property lines and public roads | 55 dBA | N/A | Davidson Coutny Code Art. 5 §NN
Pasquotank County, NC | N/A | N/A | N/A | 1.1 x H from occupied buildings on same property, 2.5 x H from occupied buildings on other properties, 1.5 x H from property lines and public roads | 55 dBA | N/A | Pasquotank County Code §9.04-32
Camden County, NC | N/A | N/A | N/A | By H from property lines | N/A | N/A | Camden County Wind Ordinance
Currituck County, NC | N/A | N/A | N/A | 1.5 x H from property lines and rights of way; 2.5 x H from highways | N/A | N/A | Currituck County Wind Ordinance
Irdell County, NC | N/A | N/A | N/A | 1.5 x H from property lines; 2 x H from occupied buildings or roads | N/A | N/A | Irdell County §R63

## Virginia
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Virginia | N/A | N/A | n/A | While all utility scale wind farms in Virginia must get siting permission from Department of Environmental quality, this is done on an application by application basis so no uniform setback standards exist beyond "protecting the environment and reducing environmental impact | N/A | N/A | VA Code. § 67-103
Accomack County, VA | N/A | N/A | N/A | 110% of H from property linesl 150% of H from occupied buildings | 60 dBA | N/A | Accomack County Code §§ 106-54(11) 106-128(7) (2010, 2011)
Augusta, VA | N/A | N/A | N/A | 110% of H from property linesl 150% of H from occupied buildings | 60 dBA | N/A | Augusta County Code Ch.25 Art. VI.C. (2011)
Botetourt, VA | N/A | N/A | N/A | 110% of H from property linesl 150% of H from occupied buildings | 60 dBA | N/A | Botetourt County Code § 25-446 (2015)
Page, VA | N/A | N/A | N/A | 110% of H from property linesl 150% of H from occupied buildings | 60 dBA | N/A | Page County Code § 125-30.8 (2009)
Wise, VA | N/A | n/A | N/A | 110% of H from property linesl 150% of H from occupied buildings | 60 dBA | N/A | Wise County Code Appx. C § 4-1.2(29) (2009)
Bland County, VA | N/A | N/A | N/A | 150% of H from property line; 300% of H from inhabited structure | N/A | N/A | Bland County Code § 62-135 (2010)
Franklin County, VA | N/A | N/A | N/A | 100% of H from property line; 150% of H from public right of way or private street | N/A | N/A | Franklin County Code § 25-128 (2009)
Grayson County, VA | N/A | N/A | N/A | 125% of H from property line or public street | N/A | N/A | Grayson County Code § 3-14
Pulaski County, VA | N/A | N/A | N/A | 1.5 x H from property lines | 55 dbA | N/A | Pulaski County Code § 4.22(43) (2010)
Roanoke County, VA | N/A | N/A | N/A | the greater of 110% of H or 450 feet from property lines; 1000 feet from neighboring dwellings | 60 dBA | N/A | Roanoke County Code § 30-87-7 (Sept. 2011)
Rockingham County, VA | N/A | N/A | N/A | 125% of H from property lines; the greater of 160% of H or 800 feet from any residence or public building | 60 dBA | N/A | Rockingham County Code § 17-607 (2010)
Shenandoah County, VA | N/A | N/A | N/A | 1.5 x H from occupied buildings on the same lot and public rights-of-ways; 2.5 x H from occupied buildings on adjacent lots | 60 dBA | N/A | Shenandoah County Code Ch. 165 Art. XXI (2010)
Washington County, VA | N/A | N/A | N/A | 125% of H from property lines; the greater of 160% of H or 800 feet from any residence or public building | 60 dBA | N/A | Washington County Code Ch. 66 Art, XIV, Div. 1 (2012)
Suffolk VA | Over (500 feet) | N/A | N/A | 1.5 x H from occupied buildings on the same lot, propertry lines, and public/private rights of way; 2 x H from occupied buildings on adjacent properties and routes 10, 13, 17, 32, 58, 460 & Interstate 664 | N/A | N/A | Suffok Code § 209
Patrick County, VA | Under (100 feet) | N/A | N/A | N/A | N/A | According to literature, Patrick County has attempted to ban utility scale wind farms by restricting building height to 100 feet | Mark Belleville, The WInd Blows In Virginia Too, 41 WM & Mary Envtl. L. & Pol'y Rev. 151
Tazewell County, VA | Under (40 feet) | N/A | n/A | N/A | N/A | According to literature, Patrick County has attempted to ban utility scale wind farms by restricting building height to 40 feet

## Southeast
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Alabama | N/A | N/A | N/A | Alabama does not appear to have statewide wind standards nor do they have installed capacity | N/A | N/A
Arkansas | N/A | N/A | N/A | Siting is done at the local level--may need to receive permits from PSC and Department of Environmental Quality---there do not appear to be uniform standards | N/A | N/A | Ark. Code § 23-3-201-206
Florida | N/A | N/A | N/A | For facilities under 75 MW everything is handled by localities--if over 75 MW then need permission from Siting Coordination Office who works with localities | N/A | N/A | FL. Sat. § 403.501-508/Florida Electrical Power Plant Siting Act
Georgia | N/A | N/A | N/A | Georgia delegates siting decisions to local governments | N/A | N/A | Ga. Code Ann. § 36-70-1 et seq.
Louisiana | N/A | N/A | N/A | No installed wind capacity in Louisiana--generally siting decisions are left up to localities | N/A | N/A | La. Rev. Stat. Ann. §33:101 et seq
Mississippi |  |  |  | No installed wind capacity in Mississippi--generally siting decisions are left up to localities--May need to get CPCN | N/A | n/A | MS Code § 17-1-1; 77-3-11; MS PSC Rule Ch. 97-107
South Carolina | N/A | N/A | N/A | There are no uniform siting rules | N/A | N/A
Darlington County, SC | 170 feet | N/A | N/A | Must maintain a vegetative buffer around perimeter 36" to 48" in height; must be two staggered rows at a spacing interval between 8' and 10'--not required if along non residential use properties or along roadways | 55 dBA | N/A | Darlington County Code § 19.4
Tennessee | N/A | N/A | N/A | There are no uniform siting rules | N/A | N/A

## Alaska + Hawaii
State/County/Township | Height Limits Over or Under 80 Meters | MW Limit | Rotor Diameter Limit | Setbacks # Feet From | dBA Limit | Wind farm Exclusions? | Citations
Alaska |  |  |  | Alaska does not have statewide wind standards
Homer, AK | N/A | N/A | N/A | N/A | N/A | Currently, Homer only appears to allow wind turbines to be used for onsite consumption | City of Homer Ordinance No. 09-34(A)
Cordova, AK | No limit if conditional use; if accessory use then height limit is dependent on zone. | N/A | N/A | Setback appears to be based on zone; must keep at least 15 feet of vertical distance from the grade to any moving wind turbine component | N/A | N/A | Cordova AK code. § 18.46
Anchroage, AK | 200-450 feet dependent on zone | N/A | N/A | 3 x H from all residential property lines; 2 x H from all nonresdiential property lines; 325 feet from telecommunication towers; 1.1 x H from overhead power and telecommunication lines. | 50 dBH at residential property line and 60 dBH and nonresidential | N/A | Anchorage, AK code § 21.50.480
Hawaii |  |  |  | Hawaii does not have statewide wind standards. Appear to be in the process of establishing such standards.