## BaseLine Data
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | ChainSaw: Y/N | Roof or Attic | Roof Insulation:Exterior, Y/N | Wall Insulation Exterior Y/N | Spray Foam in Roof/Attic: Y/N | Spray Foam in Walls: Y/N | Spray foam is air barrier in R or W | GC's First DER | Sub's First DER | Addition to house: Y/N | Year Retrofit completed | Year House Purchased | Insulated Slab | Fdn Insul: 1=rigid, conc;2=SPF, conc; 3=SPF, Stone | Sort Order
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | N | R | N | N | Y | Y | Y | Y | Y | N | 2010 | 1979 | Y | 3 | 1
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | Y | R | Y | Y | N | N | N | N | N | N | 2010 | 2009 | N | 3 | 2
C | Tweedly | 1 | Millbury | 1100 | Cape | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.4 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | Y | R | Y | Y | Y | N | N | N | N | Y | 2010 | 1979 | Y | 1 | 3
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | N | R | N | Y | Y | N | Y | N | Y | N | 2010 | 2010 | Y | 2 | 4
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | Y | R | Y | Y | Y | Y | N | Y | Y | Y | 2011 | 1985 | Y | 3 | 5
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | N | R | N | Y | Y | N | Y | N | Y | Y | 2011 | 2009 | N | 0 | 6
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | Y | R | Y | Y | Y | N | N | Y | Y | N | 2011 | 2006 | Y | 3 | 7
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | N | A | N | Y | Y | N | Y | N | N | N | 2011 | 2006 | Y | 3 | 8
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | Y | R | Y | Y | N | N | N | N | N | Y | 2011 | 1988 | Y | 3 | 9
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | N | A | N | Y | Y | Y | Y | N | Y | Y | 2011 | 2009 | Y | 3 | 10
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | N | R | N | Y | Y | N | Y | N | N | N | 2011 | 2006 | N | 3 | 11
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | N | R | N | Y | Y | N | Y | Y | Y | Y | 2011 | 2003 | N | 1 | 12
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | Y | R | Y | Y | N | N | N | Y | Y | Y | 2011 | 2010 | Y | 1 | 14
Note on S20: Cathy: This was updated in the base file for the 2013 report; therefore, I have hardcoded the value for the 2012 report

## Charts
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Sort Order
National Grid Deep Energy Retrofit Pilot
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | 1
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | 2
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | 3
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | 4
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | 5
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | 6
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | 7
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | 8
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | 9
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | 10
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | 11
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | 12
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | 14
[18 empty] | Mean |  | 929.1538 |  | 1.9759 |  | 0.16034
[18 empty] | Std Dev |  | 871.7757 |  | 1.7014 |  | 0.14635
[18 empty] | Mean w/o Arlington |  | 707.75 |  | 1.5358 |  | 0.12326
[18 empty] | Std Dev |  | 450.5391 |  | 0.78603 |  | 0.07303
0.036193
0.60523

## Total CFM 50 Sort
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Sort Order
National Grid Deep Energy Retrofit Pilot
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | 1
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | 2
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | 3
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | 4
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | 5
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | 6
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | 7
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | 8
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | 9
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | 10
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | 11
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | 12
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | 14

## Ext Insul
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Roof Insulation:Exterior, Y/N | Wall Insulation Exterior Y/N | ACH50 porch not attached | ACH50 section not treated | ACH50 all others
National Grid Deep Energy Retrofit Pilot
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | Y | Y |  |  | 0.60554
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | Y | Y |  |  | 0.74205
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | Y | Y |  |  | 0.81966
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | Y | Y |  |  | 1.2579
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | Y | Y |  |  | 1.4188
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | Y | Y | 3.5583
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | N | Y |  |  | 1.2546
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | N | Y |  |  | 1.4251
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | N | Y |  |  | 1.4327
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | N | Y |  |  | 1.5007
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | N | Y |  | 2.5389
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | N | Y | 7.2572
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | N | N |  |  | 1.8755
[18 empty] | Mean R+W |  |  |  | 1.4004
[18 empty] | Median R+W |  |  |  | 1.0388
[18 empty] | Mean W only w/o Arlington |  |  |  | 1.6304
[18 empty] | Median W only w/o Arlington |  |  |  | 1.4327
[18 empty] | Median W only w/ Arlington |  |  |  | 1.4667
[18 empty] | Mean nonchainsaw w/o Arlington |  |  |  | 1.6713
[18 empty] | Median nonchainsaw w/o Arlington |  |  |  | 1.4667
[18 empty] | Median nonchainsaw w/ Arlington |  |  |  | 1.5007
[18 empty] | Mean chainsaw w/o Newton |  |  |  | 0.9688
[18 empty] | Mean W only w/o JP and Arlington |  |  |  | 1.4033

## Spray Foam Use
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Spray Foam in Roof/Attic: Y/N | Spray Foam in Walls: Y/N | SPF air control in R+W | SPF air control in Roof | SPF air control in Attic | SPF air control in Roof/Attic (not both) | SPF not air control | No SPF
National Grid Deep Energy Retrofit Pilot
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | Y | Y | 0 | 0 | 0 | 0 | 1.2579
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | Y | Y | 0 | 0 | 1.4251 | 1.4251 | 0
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | Y | Y | 1.8755 | 0 | 0 | 0 | 0
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | Y | N | 0 | 1.2546 | 0 | 1.2546 | 0
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | Y | N | 0 | 0 | 0 | 0 | 1.4188
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | Y | N | 0 | 1.4327 | 0 | 1.4327 | 0
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | Y | N | 0 | 1.5007 | 0 | 1.5007 | 0
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | Y | N | 0 | 0 | 2.5389 | 2.5389 | 0
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | Y | N | 0 | 0 | 0 | 0 | 3.5583
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | Y | N | 0 | 7.2572 | 0 | 7.2572 | 0
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | N | N | 0 | 0 | 0 | 0 |  | 0.60523
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | N | N | 0 | 0 | 0 | 0 |  | 0.74205
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | N | N | 0 | 0 | 0 | 0 |  | 0.81966
[18 empty] | Mean R+W |  |  |  | 1.5195 | [5 empty] | Mean
[18 empty] | Median |  |  |  | 1.4251
[18 empty] | Mean R only |  |  |  | 2.7087
[18 empty] | Median |  |  |  | 1.5007
[18 empty] | Mean R only w/o Arlington |  |  |  | 1.9507
[18 empty] | Median R only w/o Arlington |  |  |  | 1.4667
[18 empty] | Mean w/o SPF |  |  |  | 0.72242
[18 empty] | Median |  |  |  | 0.74205

## Spray Foam Air Barrier
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Spray Foam in Roof/Attic: Y/N | Spray Foam in Walls: Y/N | Spray foam is air barrier in R or W | SPF R&W air control | SPF R air control | SPF A air control | SPF not air control
National Grid Deep Energy Retrofit Pilot
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | Y | N | Y |  | 1.2546
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | Y | Y | Y |  |  | 1.4251
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | Y | N | Y |  | 1.4327
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | Y | N | Y |  | 1.5007
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | Y | Y | Y | 1.8755
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | Y | N | Y |  |  | 2.5389
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | Y | N | Y |  | 7.2572
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | N | N | N |  |  |  | 0.60554
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | N | N | N |  |  |  | 0.74205
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | N | N | N |  |  |  | 0.81966
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | Y | Y | N |  |  |  | 1.2579
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | Y | N | N |  |  |  | 1.4188
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | Y | N | N |  |  |  | 3.5583
[18 empty] | Mean SPF AB |  |  |  | 2.4692
[18 empty] | Median |  |  |  | 1.5007
[18 empty] | Mean SPF AB w/o Arlington |  |  |  | 1.6713
[18 empty] | Median SPF AB w/o Arlington |  |  |  | 1.4667
[18 empty] | Mean no SPF AB |  |  |  | 1.4004
[18 empty] | Median |  |  |  | 1.0388

## Unvented vs Vented Attic
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Roof Insulation:Exterior, Y/N | Roof or Attic
National Grid Deep Energy Retrofit Pilot
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | Y | R
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | Y | R
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | Y | R
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | Y | R
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | Y | R
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | Y | R
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | N | R
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | N | R
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | N | R
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | N | R
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | N | R
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | N | A
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | N | A
[17 empty] | Mean Unvented |  |  |  | 1.9748
[17 empty] | Median Unvented |  |  |  | 1.4188
[6 empty] | Mean Unvented Exterior |  |  |  | 1.4004 | [6 empty] | Mean Vented |  |  |  | 1.982
[6 empty] | Median |  |  |  | 1.0388 | [6 empty] | Median Vented |  |  |  | 1.982
[6 empty] | Mean Unvented Interior w/o Arlington |  |  |  | 1.5159 | [6 empty] | Mean Unvented Exterior |  |  |  | 1.4004
[6 empty] | Median w/o Arlington |  |  |  | 1.4667 | [6 empty] | Median Unvented Exterior |  |  |  | 1.0388
[6 empty] | Mean Vented |  |  |  | 1.982 | [6 empty] | Mean Unvented Interior |  |  |  | 2.6641
[6 empty] | Median Vented |  |  |  | 1.982 | [6 empty] | Median Unvented Interior |  |  |  | 1.4667
[6 empty] | Mean Unvented w/o Arlington |  |  |  | 1.4466 | [6 empty] | Mean Unvented Interior w/o Arlington |  |  |  | 1.5159
[6 empty] | Median Unvented w/o Arlington |  |  |  | 1.4188 | [6 empty] | Median Unvented Interior w/o Arlington |  |  |  | 1.4667
[17 empty] | Mean Unvented Exterior w/o Newton |  |  |  | 0.9688
[17 empty] | Median Unvented Exterior w/o Newton |  |  |  | 0.81966

## Basement Treatment
| Project Name / Owner | Number of Housing Units | Location | Pre-DER Cond. Floor Area (sq.ft.) | Building Type | Stories | Approx. Year Built | Status | Double checked numbers? (Y/N) | Source for Geometry Data | Pre-Retrofit Basement | Post Retrofit Basement | Pre-DER Cond. Floor Area (sq.ft.) | Post-DER Con. Floor Area (sq.ft.) | Pre-DER Enclosure Area (sf) | Post-DER Enclosure Area (sf) | Pre-DER Volume (ft3) | Post-DER Volume (ft3) | Pre-DER CFM 50 | Post-DER CFM 50 | Pre-DER ACH 50 | Post-DER ACH 50 | Pre-DER CFM 50 per Sq.Ft. of Enclosure | Post-DER CFM 50 per Sq. Ft. of Enclosure | Pre-DER CFM/sf Conditioned floor area | Post-DER CFM/sf Conditioned floor area | Fdn Insul: 1=rigid, conc;2=SPF, conc; 3=SPF, Stone | Sort Order
National Grid Deep Energy Retrofit Pilot
C | Venable-Hwang | 2 | Arlington | 2112 | 2 family | 2 | 1910 | Complete | 0 | take-off from drawings | Excluded | Excluded | 2502 | 3627 | 5153 | 5925 | 20157 | 29648 | 8730 | 3586 | 25.986 | 7.2572 | 1.6942 | 0.60523 | 3.4892 | 0.9887 | 0 | 6
C | Cunningham | 1 | Gloucester | 2171 | Single family | 2 | 1920 | Complete | 0 | application | 0 | 0 | 2171 | 2424 | 5325 | 6493 | 0 | 23285 | 2258 | 235 | #DIV/0! | 0.60554 | 0.42404 | 0.036193 | 1.0401 | 0.096947 | 1 | 14
C | Atkins | 1 | Westford | 2906 | Colonial | 2 | 1993 | Complete | 0 | application | 0 | 0 | 2906 | 3955 | 7325 | 9538 | 32226 | 44475 | 2592 | 930 | 4.8259 | 1.2546 | 0.35386 | 0.097505 | 0.89195 | 0.23515 | 1 | 12
C | Tweedly | 1 | Millbury | 1100 | 1100 | 1.5 | 1953 | Complete | ? | 0 | Included | Included | 1868 | 1868 | 4278 | 4278 | 17000 | 17000 | 2860 | 402 | 10.0941 | 1.4188 | 0.66854 | 0.093969 | 1.531 | 0.2152 | 1 | 3
C | Koh | 1 | Milton | 1600 | Garrison Colonial | 2 | 1960 | Complete | Y | take-off from drawings | Included | Included | 2368 | 2368 | 3408 | 3740 | 22457.6 | 24457.6 | 1695 | 584 | 4.5285 | 1.4327 | 0.49736 | 0.15615 | 0.71579 | 0.24662 | 2 | 4
C | Brownsberger | 2 | Belmont | 2728 | 2 family | 3 | 1925 | Complete | Y | 0 | Excluded | Included | 3417 | 4768 | 7468 | 9093 | 36898 | 47706 | 5700 | 590 | 9.2688 | 0.74205 | 0.76326 | 0.064885 | 1.6681 | 0.12374 | 3 | 2
C | Wick | 1 | Northampton | 2032 | Victorian | 1 | 1859 | Complete | 0 | 0 | 0 | Included | 2032 | 2747 | 6711 | 7798 | 0 | 34624 | 6155 | 473 |  | 0.81966 | 0.91715 | 0.060657 | 3.029 | 0.17219 | 3 | 9
C | Hall | 1 | Quincy | 1808 | bungalow | 1.5 | 1905 | Complete | Y | take-off from model | Included | Included | 3484 | 4576 | 5340 | 6806 | 16350 | 36346 | 5050 | 762 | 18.53 | 1.2579 | 0.94569 | 0.11196 | 1.4495 | 0.16652 | 3 | 5
C | Habitat for Humanity of North Central Massachusetts | 1 | Lancaster | 908 | Cape to Colonial | 2 | 1900 | Complete | Y | 0 | 0 | 0 | 980 | 1440 | 2583 | 3222 | 7080 | 12336 | 4254 | 293 | 36.0508 | 1.4251 | 1.6469 | 0.090937 | 4.3408 | 0.20347 | 3 | 10
C | Aquiline | 1 | Brookline | 2284 | Victorian | 3 | 1899 | Complete | 0 | 0 | 0 | 0 | 3078 | 3174 | 5794 | 5924 | 26187 | 26187 | 1640 | 655 | 3.7576 | 1.5007 | 0.28305 | 0.11057 | 0.53281 | 0.20636 | 3 | 11
C | Clark | 1 | Belchertown | 1352 | Cape | 1.5 | 1760 | Complete | Y | W.A.G. | Excluded | Included | 1435 | 1907 | 3726 | 4066 | 9448 | 14972 | 9079 | 468 | 57.6566 | 1.8755 | 2.4367 | 0.1151 | 6.3268 | 0.24541 | 3 | 1
C | Buhs | 3 | Jamaica Plain | 3885 | 3-family | 3 | 1907 | Complete | 0 | 0 | 0 | 0 | 3885 | 3885 | 6308 | 7456 | 42586 | 42586 | 7729 | 1802 | 10.8895 | 2.5389 | 1.2253 | 0.24168 | 1.9894 | 0.46384 | 3 | 8
C | Lavine | 1 | Newton | 1724 | Colonial | 1 | 1930 | Complete | Y | 0 | 0 | 0 | 1815 | 2199 | 3729 | 4337 | 18831 | 21904 | 3199 | 1299 | 10.1928 | 3.5583 | 0.85787 | 0.29952 | 1.7625 | 0.59072 | 3 | 7
1.7148
1.1779