## Pre-Retrofit
Brookline Pre-Retrofit
Aquiline
Information from application
Reading | Therms | Total | [5 empty] | Reading | kwh | Total
2009-03-19 | 182 | [6 empty] | 2009-03-06 | 258
2009-04-17 | 94 | [6 empty] | 2009-04-06 | 274
2009-05-20 | 36 | [6 empty] | 2009-05-06 | 231
2009-06-19 | 20 | [6 empty] | 2009-06-05 | 196
2009-07-22 | 15 | [6 empty] | 2009-07-06 | 206
2009-08-20 | 11 | [6 empty] | 2009-08-05 | 183
2009-09-21 | 15 | [6 empty] | 2009-09-03 | 180
2009-10-20 | 45 | [6 empty] | 2009-10-05 | 266
2009-11-17 | 54 | [6 empty] | 2009-11-04 | 273
2009-12-18 | 108 | [6 empty] | 2009-12-04 | 320
2010-01-21 | 173 | [6 empty] | 2010-01-06 | 347
2010-02-18 | 143 | 896 | Mar 2009 - Feb 2010 |  |  |  |  | 2010-02-04 | 327 | 3061 | Mar 2009 - Feb 2010
2010-03-18 | 97 | [6 empty] | 2010-03-06 | 297
2010-04-20 | 62 | [6 empty] | 2010-04-06 | 264
2010-05-18 | 31 | [6 empty] | 2010-05-06 | 222
2010-06-16 | 16 | [6 empty] | 2010-06-04 | 217
2010-07-19 | 15 | [6 empty] | 2010-07-07 | 286
2010-08-17 | 14 | 773 | Sep 2009 - Aug 2010 |  |  |  |  | 2010-08-05 | 285 | 3284 | Sep 2009 - Aug 2010
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
|  | Natural Gas usage | [6 empty] | Electricity used |  | source KWH | site Mbtu | source Mbtu |  |  | Totals
|  | Therms | site Mbtu | source Mbtu |  | site kwh | source kwh |  | site kwh |  |  |  |  | HDD | CDD | site kwh | source kwh | site Mbtu | source Mbtu
| 2009-03-19 | 182 | 18.2 | 19.0554 |  | 5332.552 | 5583.182 |  | 258 |  | 861.72 | 0.88055 | 2.9411 | 0 | 0 | 5590.552 | 6444.902 | 19.0806 | 21.9965
| 2009-04-17 | 94 | 9.4 | 9.8418 |  | 2754.1752 | 2883.6214 |  | 274 |  | 915.16 | 0.93516 | 3.1234 | 0 | 0 | 3028.1752 | 3798.7814 | 10.3352 | 12.9652
| 2009-05-20 | 36 | 3.6 | 3.7692 |  | 1054.7905 | 1104.3657 |  | 231 |  | 771.54 | 0.7884 | 2.6333 | 0 | #REF! | 1285.7905 | 1875.9057 | 4.3884 | 6.4025
| 2009-06-19 | 20 | 2 | 2.094 |  | 585.9947 | 613.5365 |  | 196 |  | 654.64 | 0.66895 | 2.2343 | 0 | #REF! | 781.9947 | 1268.1765 | 2.6689 | 4.3283
| 2009-07-22 | 15 | 1.5 | 1.5705 |  | 439.496 | 460.1524 |  | 206 |  | 688.04 | 0.70308 | 2.3483 | 0 | Sep | 645.496 | 1148.1924 | 2.2031 | 3.9188
| 2009-08-20 | 11 | 1.1 | 1.1517 |  | 322.2971 | 337.4451 |  | 183 |  | 611.22 | 0.62458 | 2.0861 | 0 | Oct | 505.2971 | 948.6651 | 1.7246 | 3.2378
| 2009-09-21 | 15 | 1.5 | 1.5705 |  | 439.496 | 460.1524 |  | 180 |  | 601.2 | 0.61434 | 2.0519 | 158 | Nov | 619.496 | 1061.3524 | 2.1143 | 3.6224
| 2009-10-20 | 45 | 4.5 | 4.7115 |  | 1318.4881 | 1380.4571 |  | 266 |  | 888.44 | 0.90786 | 3.0322 | 412 | Dec | 1584.4881 | 2268.8971 | 5.4079 | 7.7437
| 2009-11-17 | 54 | 5.4 | 5.6538 |  | 1582.1858 | 1656.5485 |  | 273 |  | 911.82 | 0.93175 | 3.112 | 485 | Jan | 1855.1858 | 2568.3685 | 6.3317 | 8.7658
| 2009-12-18 | 108 | 10.8 | 11.3076 |  | 3164.3715 | 3313.097 |  | 320 |  | 1068.8 | 1.0922 | 3.6478 | 988 | Feb | 3484.3715 | 4381.897 | 11.8922 | 14.9554
| 2010-01-21 | 173 | 17.3 | 18.1131 |  | 5068.8544 | 5307.0905 |  | 347 |  | 1158.98 | 1.1843 | 3.9556 | 1096 | Mar | 5415.8544 | 6466.0705 | 18.4843 | 22.0687
| 2010-02-18 | 143 | 14.3 | 14.9721 |  | 4189.8623 | 4386.7858 |  | 327 |  | 1092.18 | 1.1161 | 3.7276 | 901 | Apr | 4516.8623 | 5478.9658 | 15.4161 | 18.6997
| 2010-03-18 | 97 | 9.7 | 10.1559 |  | 2842.0744 | 2975.6519 |  | 297 |  | 991.98 | 1.0137 | 3.3856 | 658 | May | 3139.0744 | 3967.6319 | 10.7137 | 13.5415
| 2010-04-20 | 62 | 6.2 | 6.4914 |  | 1816.5837 | 1901.9631 |  | 264 |  | 881.76 | 0.90103 | 3.0094 | 385 | Jun | 2080.5837 | 2783.7231 | 7.101 | 9.5008
| 2010-05-18 | 31 | 3.1 | 3.2457 |  | 908.2918 | 950.9815 |  | 222 |  | 741.48 | 0.75769 | 2.5307 | 172 | Jul | 1130.2918 | 1692.4615 | 3.8577 | 5.7764
| 2010-06-16 | 16 | 1.6 | 1.6752 |  | 468.7958 | 490.8292 |  | 217 |  | 724.78 | 0.74062 | 2.4737 | 42 | Aug | 685.7958 | 1215.6092 | 2.3406 | 4.1489
| 2010-07-19 | 15 | 1.5 | 1.5705 |  | 439.496 | 460.1524 |  | 286 |  | 955.24 | 0.97612 | 3.2602 | 3 | 0 | 725.496 | 1415.3924 | 2.4761 | 4.8307
| 2010-08-17 | 14 | 1.4 | 1.4658 |  | 410.1963 | 429.4755 |  | 285 |  | 951.9 | 0.9727 | 3.2488 | 10 | 0 | 695.1963 | 1381.3755 | 2.3727 | 4.7146
[16 empty] | site kwh | source kwh | site Mbtu | source Mbtu
|  |  | 77.3 | 80.9331 | [7 empty] | 11.2083 | 37.4357 |  | Mar 09 - Feb 10 | 29313.5637 | 37710.1742 | 100.0472 | 128.7048
[15 empty] | Sep 09 - Aug 10 | 25932.6962 | 34681.7449 | 88.5083 | 118.3688
WEATHER NORMALIZATION FOR SEP 2009 THRU OCT 2010 -- WEATHER DATA FROM DEGREEDAYS IS ONLY AVAILABLE FOR 3 YEARS -- HAD TO ESTIMATE SEP 2009
Predicted (BEopt 1.3) BOSTON
|  |  | BEopt 1.3 CDD | BEopt 1.3 HDD |  | Normalized | Normalized
[5 empty] | Normalize | site | Source
Nat Gas
| Sep |  | 53 | 66 | 1.4244
| Oct |  | 9 | 348 | 5.175
| Nov |  | 0 | 652 | 9.2182
| Dec |  | 0 | 902 | 12.5432
| Jan |  | 0 | 1189 | 16.3603
| Feb |  | 0 | 950 | 13.1816
| Mar |  | 0 | 813 | 11.3595
| Apr |  | 9 | 537 | 7.6887
| May |  | 30 | 204 | 3.2598
| Jun |  | 116 | 87 | 1.7037
| Jul |  | 284 | 3 | 0.5865
| Aug |  | 193 | 5 | 0.6131
[5 empty] | 83.114 | 94.3223 | 124.4561

## Gas
Brookline
Aquiline
|  |  | Boston | 2010-08-17 | 2010-09-17 | 31 | 12
|  | therms | HDD | 2010-09-17 | 2010-10-18 | 31 | 27
2010-07-31 |  |  | 3 | 2010-10-18 | 2010-11-15 | 28 | 64
2010-08-31 |  |  | 10 | 2010-11-15 | 2010-12-15 | 30 | 113
2010-09-30 |  | 12 | 55 | 2010-12-15 | 2011-01-19 | 35 | 175
2010-10-31 |  | 27 | 320 | 2011-01-19 | 2011-02-15 | 27 | 148
2010-11-30 |  | 64 | 608 | 2011-02-15 | 2011-03-18 | 31 | 122
2010-12-31 |  | 113 | 1010 | 2011-03-18 | 2011-04-20 | 33 | 96
2011-01-31 |  | 175 | 1154 | 2011-04-20 | 2011-05-17 | 27 | 34
2011-02-28 |  | 148 | 964 | 2011-05-17 | 2011-06-15 | 29 | 18
2011-03-31 |  | 122 | 813 | 2011-06-15 | 2011-07-20 | 35 | 15
2011-04-30 |  | 96 | 468 | 2011-07-20 | 2011-08-17 | 28 | 11
2011-05-31 |  | 34 | 255 | 2011-08-17 | 2011-09-19 | 33 | 10
2011-06-30 |  | 18 | 75 | 2011-09-19 | 2011-10-19 | 30 | 14
2011-07-31 |  | 15 | 0 | 2011-10-19 | 2011-11-17 | 29 | 41
2011-08-31 |  | 11 | 2 | 2011-11-17 | 2011-12-15 | 28 | 49
2011-09-30 |  | 10 | 57 | 2011-12-15 | 2012-01-17 | 33 | 77
2011-10-31 |  | 14 | 267 | 2012-01-17 | 2012-02-15 | 29 | 68
2011-11-30 |  | 41 | 449 | 2012-02-15 | 2012-03-16 | 30 | 59
2011-12-31 |  | 49 | 764 | 2012-03-16 | 2012-04-18 | 33 | 40
2012-01-31 |  | 77 | 959 | 2012-04-18 | 2012-05-17 | 29 | 21
2012-02-29 |  | 68 | 801 | 2012-05-17 | 2012-06-18 | 32 | 17
2012-03-31 |  | 59 | 608 | 2012-06-18 | 2012-07-17 | 29 | 14
2012-04-30 |  | 40 | 398 | 2012-07-17 | 2012-08-17 | 31 | 9
2012-05-31 |  | 21 | 204
2012-06-30 |  | 17 | 94
2012-07-31 |  | 14 | 2
2012-08-31 |  | 9 | 0
0

## Elec
Aquiline -Nstar
| Electricity used |  | (negative)
| House | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD
Month starting
2010-07-01 |  | 0 |  | 3 | 365
2010-08-01 | 201 | 201 |  | 10 | 263
2010-09-01 | 247 | 247 |  | 55 | 151
2010-10-01 | 266 | 266 |  | 320 | 18
2010-11-01 | 344 | 344 |  | 608 | 0
2010-12-01 | 388 | 388 |  | 1010 | 0
2011-01-01 | 342 | 342 |  | 1154 | 0
2011-02-01 | 303 | 303 |  | 964 | 0
2011-03-01 | 295 | 295 |  | 813 | 1 | Project Start
2011-04-01 | 301 | 301 |  | 468 | 8
2011-05-01 | 334 | 334 |  | 255 | 50
2011-06-01 | 315 | 315 |  | 75 | 130
2011-07-01 | 276 | 276 |  | 0 | 374
2011-08-01 | 320 | 320 |  | 2 | 260
2011-09-01 | 344 | 344 |  | 57 | 115
2011-10-01 | 430 | 430 |  | 267 | 29
2011-11-01 | 407 | 407 |  | 449 | 1
2011-12-01 | 359 | 359 |  | 764 | 0 | Retrofit Completed
2012-01-01 | 321 | 321 |  | 959 | 0
2012-02-01 | 340 | 340 |  | 801 | 0
2012-03-01 | 266 | 266 |  | 608 | 18
2012-04-01 | 255 | 255 |  | 398 | 25
2012-05-01 | 307 | 307 |  | 204 | 42
2012-06-01 | 315 | 315 |  | 94 | 142
2012-07-01 | 315 | 315 |  | 2 | 304
2012-08-01 |  | 0 |  | 0 | 0
Note on B32: Cathy: Not included in data so just copied previous month

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[18 empty] | Total kwh |  | Total Mbtu
[8 empty] | Electricity used |  | site KWH |  | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | House | 0 | Electric Consumption (kWh) | PV Production (kWh) |  |  |  |  | HDD | CDD | site | source | site | source
| 2010-10-01 | 27 | 2.7 | 2.8269 | 791.0929 | 828.2742 | 2010-10-01 | 266 | 0 | 266 | 0 | 888.44 |  | 0.90786 | 3.0322 | 55 | 151 | 1057.0929 | 1716.7142 | 3.6079 | 5.8591
| 2010-11-01 | 64 | 6.4 | 6.7008 | 1875.1831 | 1963.3167 | 2010-11-01 | 344 | 0 | 344 | 0 | 1148.96 |  | 1.1741 | 3.9214 | 320 | 18 | 2219.1831 | 3112.2767 | 7.5741 | 10.6222
| 2010-12-01 | 113 | 11.3 | 11.8311 | 3310.8702 | 3466.4811 | 2010-12-01 | 388 | 0 | 388 | 0 | 1295.92 |  | 1.3242 | 4.423 | 608 | 0 | 3698.8702 | 4762.4011 | 12.6242 | 16.2541
| 2011-01-01 | 175 | 17.5 | 18.3225 | 5127.4539 | 5368.4442 | 2011-01-01 | 342 | 0 | 342 | 0 | 1142.28 |  | 1.1672 | 3.8986 | 1010 | 0 | 5469.4539 | 6510.7242 | 18.6672 | 22.2211
| 2011-02-01 | 148 | 14.8 | 15.4956 | 4336.361 | 4540.1699 | 2011-02-01 | 303 | 0 | 303 | 0 | 1012.02 |  | 1.0341 | 3.454 | 1154 | 0 | 4639.361 | 5552.1899 | 15.8341 | 18.9496
| 2011-03-01 | 122 | 12.2 | 12.7734 | 3574.5678 | 3742.5725 | 2011-03-01 | 295 | 0 | 295 | 0 | 985.3 |  | 1.0068 | 3.3628 | 964 | 0 | 3869.5678 | 4727.8725 | 13.2068 | 16.1362
| 2011-04-01 | 96 | 9.6 | 10.0512 | 2812.7747 | 2944.9751 | 2011-04-01 | 301 | 0 | 301 | 0 | 1005.34 |  | 1.0273 | 3.4312 | 813 | 1 | 3113.7747 | 3950.3151 | 10.6273 | 13.4824
| 2011-05-01 | 34 | 3.4 | 3.5598 | 996.191 | 1043.012 | 2011-05-01 | 334 | 0 | 334 | 0 | 1115.56 |  | 1.1399 | 3.8074 | 468 | 8 | 1330.191 | 2158.572 | 4.5399 | 7.3672
| 2011-06-01 | 18 | 1.8 | 1.8846 | 527.3953 | 552.1828 | 2011-06-01 | 315 | 0 | 315 | 0 | 1052.1 |  | 1.0751 | 3.5908 | 255 | 50 | 842.3953 | 1604.2828 | 2.8751 | 5.4754
| 2011-07-11 | 15 | 1.5 | 1.5705 | 439.496 | 460.1524 | 2011-07-01 | 276 | 0 | 276 | 0 | 921.84 |  | 0.94199 | 3.1462 | 75 | 130 | 715.496 | 1381.9924 | 2.442 | 4.7167
| 2011-08-11 | 11 | 1.1 | 1.1517 | 322.2971 | 337.4451 | 2011-08-01 | 320 | 0 | 320 | 0 | 1068.8 |  | 1.0922 | 3.6478 | 0 | 374 | 642.2971 | 1406.2451 | 2.1922 | 4.7995
| 2011-09-11 | 10 | 1 | 1.047 | 292.9974 | 306.7682 | 2011-09-01 | 344 | 0 | 344 | 0 | 1148.96 |  | 1.1741 | 3.9214 | 2 | 260 | 636.9974 | 1455.7282 | 2.1741 | 4.9684
| 2011-10-11 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2011-10-01 | 430 | 0 | 430 | 0 | 1436.2 |  | 1.4676 | 4.9018 | 57 | 115 | 840.1963 | 1865.6755 | 2.8676 | 6.3676
| 2011-11-11 | 41 | 4.1 | 4.2927 | 1201.2892 | 1257.7498 | 2011-11-01 | 407 | 0 | 407 | 0 | 1359.38 |  | 1.3891 | 4.6396 | 267 | 29 | 1608.2892 | 2617.1298 | 5.4891 | 8.9323
| 2011-12-11 | 49 | 4.9 | 5.1303 | 1435.6871 | 1503.1644 | 2011-12-01 | 359 | 0 | 359 | 0 | 1199.06 |  | 1.2253 | 4.0924 | 449 | 1 | 1794.6871 | 2702.2244 | 6.1253 | 9.2227
| 2012-01-12 | 77 | 7.7 | 8.0619 | 2256.0797 | 2362.1154 | 2012-01-01 | 321 | 0 | 321 | 0 | 1072.14 |  | 1.0956 | 3.6592 | 764 | 0 | 2577.0797 | 3434.2554 | 8.7956 | 11.7211
| 2012-02-01 | 68 | 6.8 | 7.1196 | 1992.3821 | 2086.024 | 2012-02-01 | 340 | 0 | 340 | 0 | 1135.6 |  | 1.1604 | 3.8758 | 959 | 0 | 2332.3821 | 3221.624 | 7.9604 | 10.9954
| 2012-03-01 | 59 | 5.9 | 6.1773 | 1728.6844 | 1809.9326 | 2012-03-01 | 266 | 0 | 266 | 0 | 888.44 |  | 0.90786 | 3.0322 | 801 | 0 | 1994.6844 | 2698.3726 | 6.8079 | 9.2095
| 2012-04-01 | 40 | 4 | 4.188 | 1171.9895 | 1227.073 | 2012-04-01 | 255 | 0 | 255 | 0 | 851.7 |  | 0.87031 | 2.9069 | 608 | 18 | 1426.9895 | 2078.773 | 4.8703 | 7.0949
| 2012-05-01 | 21 | 2.1 | 2.1987 | 615.2945 | 644.2133 | 2012-05-01 | 307 | 0 | 307 | 0 | 1025.38 |  | 1.0478 | 3.4996 | 398 | 25 | 922.2945 | 1669.5933 | 3.1478 | 5.6983
| 2012-06-01 | 17 | 1.7 | 1.7799 | 498.0955 | 521.506 | 2012-06-01 | 315 | 0 | 315 | 0 | 1052.1 |  | 1.0751 | 3.5908 | 204 | 42 | 813.0955 | 1573.606 | 2.7751 | 5.3707
| 2012-07-11 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2012-07-01 | 315 | 0 | 315 | 0 | 1052.1 |  | 1.0751 | 3.5908 | 94 | 142 | 725.1963 | 1481.5755 | 2.4751 | 5.0566
| 2012-08-11 | 9 | [10 empty] | 6 mo | 6.1366 | 20.4962
|  | 6 mo | 21.9 | 22.9293
MIN USAGE IN 6 MOS
|  | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 |  |  |  | 255 |  | 851.7 |  | 0.87031 | 2.9069 | 0 | 0 | 665.1963 | 1281.1755 | 2.2703 | 4.3727
|  | 219 | [7 empty] | 1798 | [7 empty] | site kwh | source kwh | site Mbtu | source Mbtu
6 mo MMBtu |  |  |  | 22.9293 | [10 empty] | 20.4962 |  | Total 6 months | 8214.6423 | 12723.5444 | 28.0366 | 43.4255

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | HDD | % Estimated
2009-09-01 | 158 | 11 | Could not get 2009-09-01 from degreedays for Boston, so used MILTON from that date instead (found in old file for Hall)
2009-10-01 | 412 | 0.03
2009-11-01 | 485 | 0
2009-12-01 | 988 | 0
2010-01-01 | 1096 | 0
2010-02-01 | 901 | 0
2010-03-01 | 658 | 0
2010-04-01 | 385 | 0
2010-05-01 | 172 | 0.1
2010-06-01 | 42 | 0
2010-07-01 | 3 | 0.1
2010-08-01 | 10 | 0.2
2010-09-01 | 55 | 0
2010-10-01 | 320 | 0.06
2010-11-01 | 608 | 0.03
2010-12-01 | 1010 | 0.2
2011-01-01 | 1154 | 0
2011-02-01 | 964 | 0
2011-03-01 | 813 | 0
2011-04-01 | 468 | 0.03
2011-05-01 | 255 | 0.03
2011-06-01 | 75 | 0
2011-07-01 | 0 | 0.03
2011-08-01 | 2 | 0
2011-09-01 | 57 | 0.07
2011-10-01 | 267 | 0
2011-11-01 | 449 | 0
2011-12-01 | 764 | 0
2012-01-01 | 959 | 0
2012-02-01 | 801 | 0
2012-03-01 | 608 | 0
2012-04-01 | 398 | 0.03
2012-05-01 | 204 | 0
2012-06-01 | 94 | 0.03
2012-07-01 | 2 | 0.2

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | CDD | % Estimated
2010-06-01 | 185 | 0
2010-07-01 | 365 | 0.1
2010-08-01 | 263 | 0.2
2010-09-01 | 151 | 0
2010-10-01 | 18 | 0.06
2010-11-01 | 0 | 0.03
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 1 | 0
2011-04-01 | 8 | 0.03
2011-05-01 | 50 | 0.03
2011-06-01 | 130 | 0
2011-07-01 | 374 | 0.03
2011-08-01 | 260 | 0
2011-09-01 | 115 | 0.07
2011-10-01 | 29 | 0
2011-11-01 | 1 | 0
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0
2012-03-01 | 18 | 0
2012-04-01 | 25 | 0.03
2012-05-01 | 42 | 0
2012-06-01 | 142 | 0.03
2012-07-01 | 304 | 0.2

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | Boston, MA, US (71.00W,42.36N) |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD |  | BEopt 1.3 CDD | BEopt 1.3 HDD
|  |  | Electricity | Natural Gas | [5 empty] | Normalized | Normalized | Normalized | Projected 12 month using normalized gas but duplicated electricity
[10 empty] | Nat Gas | Site | Source | Site | Source
2011-07-11 |  |  | 0 | 0 | 374 | 0 |  | 284 | 3
2011-08-11 |  |  | 0 | 0 | 260 | 2 |  | 193 | 5 | 1.1077
2011-09-11 |  |  | 0 | 0 | 115 | 57 |  | 53 | 66 | 1.553
2011-10-11 |  |  | 0 | 0 | 29 | 267 |  | 9 | 348 | 3.6116
2011-11-11 |  |  | 0 | 0 | 1 | 449 |  | 0 | 652 | 5.8308
2011-12-11 |  |  | 0 | 0 | 0 | 764 |  | 0 | 902 | 7.6558
2012-01-12 |  |  | 0 | 0 | 0 | 959 |  | 0 | 1189 | 9.7509 |  |  | 35.6464 | 51.3929
2012-02-01 |  |  | 1.1604 | 6.8 | 0 | 801 |  | 0 | 950 | 8.0062 | 9.1666 | 12.2583
2012-03-01 |  |  | 0.90786 | 5.9 | 18 | 608 |  | 0 | 813 | 7.0061 | 7.914 | 10.3676
2012-04-01 |  |  | 0.87031 | 4 | 25 | 398 |  | 9 | 537 | 4.9913 | 5.8616 | 8.1327
2012-05-01 |  |  | 1.0478 | 2.1 | 42 | 204 |  | 30 | 204 | 2.5604 | 3.6082 | 6.1804
2012-06-01 |  |  | 1.0751 | 1.7 | 142 | 94 |  | 116 | 87 | 1.7063 | 2.7814 | 5.3773
2012-07-11 |  |  | 1.0751 | 1.4 | 304 | 2 |  | 284 | 3 | 1.0931 | 2.1682 | 4.7353
[11 empty] | 31.5 | 47.0516
28.0366
-12.35%
Note on M7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month