## Pre-Retrofit
Westford Pre-Retrofit
Atkins
[14 empty] | 2009-09-04 | 2009-10-06 | 32 | 41 | 2009-09-21 | 2009-10-19 | 545 | 0
Gas from National Grid (matches application) | [13 empty] | 2009-10-06 | 2009-11-04 | 29 | 89 | 2009-10-19 | 2009-11-17 | 595 | 0
Reading | Therms | Total | [5 empty] | Electricity from National Grid (matches application) | [5 empty] | 2009-11-04 | 2009-12-03 | 29 | 116 | 2009-11-17 | 2009-12-17 | 682 | 0
[8 empty] | Reading | kwh | Total |  |  |  | 2009-12-03 | 2010-01-05 | 33 | 210 | 2009-12-17 | 2010-01-21 | 846 | 0
2009-10-06 | 41 | [6 empty] | 2009-10-19 | 545 |  |  |  |  | 2010-01-05 | 2010-02-04 | 30 | 198 | 2010-01-21 | 2010-02-18 | 616 | 0
2009-11-04 | 89 | [6 empty] | 2009-11-17 | 595 |  |  |  |  | 2010-02-04 | 2010-03-05 | 29 | 673 | 2010-02-18 | 2010-03-22 | 737 | 0
2009-12-03 | 116 | [6 empty] | 2009-12-17 | 682 |  |  |  |  | 2010-03-05 | 2010-04-09 | 35 | 119 | 2010-03-22 | 2010-04-21 | 597 | 0
2010-01-05 | 210 | [6 empty] | 2010-01-21 | 846 |  |  |  |  | 2010-04-09 | 2010-05-05 | 26 | 56 | 2010-04-21 | 2010-05-19 | 491 | 0
2010-02-04 | 198 | [6 empty] | 2010-02-18 | 616 |  |  |  |  | 2010-05-05 | 2010-06-01 | 27 | 37 | 2010-05-19 | 2010-06-21 | 1089 | 0
2010-03-05 | 673 | [6 empty] | 2010-03-22 | 737 |  |  |  |  | 2010-06-01 | 2010-07-21 | 50 | 54 | 2010-06-21 | 2010-07-21 | 1528 | 0
2010-04-09 | 119 | [6 empty] | 2010-04-21 | 597 |  |  |  |  | 2010-07-21 | 2010-08-20 | 30 | 33 | 2010-07-21 | 2010-08-20 | 1175 | 0
2010-05-05 | 56 | [6 empty] | 2010-05-19 | 491 |  |  |  |  | 2010-08-20 | 2010-09-22 | 33 | 34 | 2010-08-20 | 2010-09-20 | 835 | 0
2010-06-01 | 37 | [6 empty] | 2010-06-21 | 1089 |  |  |  |  | 2010-09-22 | 2010-10-19 | 27 | 47 | 2010-09-20 | 2010-10-19 | 578 | 0
2010-07-21 | 54 | [6 empty] | 2010-07-21 | 1528 |  |  |  |  | 2010-10-19 | 2010-11-18 | 30 | 105 | 2010-10-19 | 2010-11-17 | 592 | 0
2010-08-20 | 33 | [6 empty] | 2010-08-20 | 1175 |  |  |  |  | 2010-11-18 | 2010-12-20 | 32 | 195 | 2010-11-17 | 2010-12-17 | 679 | 0
2010-09-22 | 34 | [6 empty] | 2010-09-20 | 835 |  |  |  |  | 2010-12-20 | 2011-01-21 | 32 | 232 | 2010-12-17 | 2011-01-21 | 857 | 0
2010-10-19 | 47 | [6 empty] | 2010-10-19 | 578 |  |  |  |  | 2011-01-21 | 2011-02-16 | 26 | 192 | 2011-01-21 | 2011-02-16 | 614 | 0
2010-11-18 | 105 | [6 empty] | 2010-11-17 | 592 |  |  |  |  | 2011-02-16 | 2011-03-18 | 30 | 181 | 2011-02-16 | 2011-03-18 | 630 | 0
2010-12-20 | 195 | 1761 | Jan 2010 - Dec 2010 |  |  |  |  | 2010-12-17 | 679 | 9763 | Jan 2010- Dec 2010 |  |  | 2011-03-18 | 2011-04-21 | 34 | 138 | 2011-03-18 | 2011-04-21 | 692 | 0
2011-01-21 | 232 | [6 empty] | 2011-01-21 | 857 |  |  |  |  | 2011-04-21 | 2011-05-18 | 27 | 49 | 2011-04-21 | 2011-05-18 | 547 | 0
2011-02-16 | 192 | [6 empty] | 2011-02-16 | 614 |  |  |  |  | 2011-05-18 | 2011-06-21 | 34 | 22 | 2011-05-18 | 2011-06-21 | 543 | 0
2011-03-18 | 181 | [6 empty] | 2011-03-18 | 630
2011-04-21 | 138 | 1304 | May 2010 - Apr 2011 |  |  |  |  | 2011-04-21 | 692 | 9760 | May 2010-Apr 2011
2571
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
|  | Natural Gas usage | [6 empty] | Electricity used |  | source KWH |  | site Mbtu | source Mbtu |  |  |  | Totals
|  | Therms | site Mbtu | source Mbtu |  | site kwh | source kwh |  | site kwh | [5 empty] | HDD | CDD |  | site kwh | source kwh |  | site Mbtu | source Mbtu
| 2010-01-05 | 210 | 21 | 21.987 |  | 6152.9446 | 6442.133 |  | 846 |  | 2825.64 |  | 2.8874 | 9.6439 | 1191 |  |  | 6998.9446 | 9267.773 |  | 23.8874 | 31.6309
| 2010-02-04 | 198 | 19.8 | 20.7306 |  | 5801.3478 | 6074.0111 |  | 616 |  | 2057.44 |  | 2.1024 | 7.022 | 964 |  |  | 6417.3478 | 8131.4511 |  | 21.9024 | 27.7526
| 2010-03-05 | 673 | 67.3 | 70.4631 |  | 19718.7225 | 20645.5025 |  | 737 |  | 2461.58 |  | 2.5154 | 8.4014 | 706 |  |  | 20455.7225 | 23107.0825 |  | 69.8154 | 78.8645
| 2010-04-09 | 119 | 11.9 | 12.4593 |  | 3486.6686 | 3650.542 |  | 597 |  | 1993.98 |  | 2.0376 | 6.8055 | 427 |  |  | 4083.6686 | 5644.522 |  | 13.9376 | 19.2648
| 2010-05-05 | 56 | 5.6 | 5.8632 |  | 1640.7852 | 1717.9021 |  | 491 |  | 1639.94 |  | 1.6758 | 5.5971 | 209 |  |  | 2131.7852 | 3357.8421 |  | 7.2758 | 11.4603
| 2010-06-01 | 37 | 3.7 | 3.8739 |  | 1084.0902 | 1135.0425 |  | 1089 |  | 3637.26 |  | 3.7168 | 12.414 | 65 |  |  | 2173.0902 | 4772.3025 |  | 7.4168 | 16.2879
| 2010-07-21 | 54 | 5.4 | 5.6538 |  | 1582.1858 | 1656.5485 |  | 1528 |  | 5103.52 |  | 5.2151 | 17.4183 | 22 |  |  | 3110.1858 | 6760.0685 |  | 10.6151 | 23.0721
| 2010-08-20 | 33 | 3.3 | 3.4551 |  | 966.8913 | 1012.3352 |  | 1175 |  | 3924.5 |  | 4.0103 | 13.3943 | 44 |  |  | 2141.8913 | 4936.8352 |  | 7.3103 | 16.8494
| 2010-09-22 | 34 | 3.4 | 3.5598 |  | 996.191 | 1043.012 |  | 835 |  | 2788.9 |  | 2.8499 | 9.5185 | 112 |  |  | 1831.191 | 3831.912 |  | 6.2499 | 13.0783
| 2010-10-19 | 47 | 4.7 | 4.9209 |  | 1377.0876 | 1441.8107 |  | 578 |  | 1930.52 |  | 1.9727 | 6.5889 | 442 |  |  | 1955.0876 | 3372.3307 |  | 6.6727 | 11.5098
| 2010-11-18 | 105 | 10.5 | 10.9935 |  | 3076.4723 | 3221.0665 |  | 592 |  | 1977.28 |  | 2.0205 | 6.7485 | 710 |  |  | 3668.4723 | 5198.3465 |  | 12.5205 | 17.742
| 2010-12-20 | 195 | 19.5 | 20.4165 |  | 5713.4486 | 5981.9807 |  | 679 |  | 2267.86 |  | 2.3174 | 7.7402 | 1110 |  |  | 6392.4486 | 8249.8407 |  | 21.8174 | 28.1567
| 2011-01-21 | 232 | 23.2 | 24.2904 |  | 6797.5388 | 7117.0231 |  | 857 |  | 2862.38 |  | 2.9249 | 9.7693 | 1298 |  |  | 7654.5388 | 9979.4031 |  | 26.1249 | 34.0597
| 2011-02-16 | 192 | 19.2 | 20.1024 |  | 5625.5494 | 5889.9502 |  | 614 |  | 2050.76 |  | 2.0956 | 6.9992 | 1070 |  |  | 6239.5494 | 7940.7102 |  | 21.2956 | 27.1016
| 2011-03-18 | 181 | 18.1 | 18.9507 |  | 5303.2523 | 5552.5051 |  | 630 |  | 2104.2 |  | 2.1502 | 7.1816 | 884 |  |  | 5933.2523 | 7656.7051 |  | 20.2502 | 26.1323
| 2011-04-21 | 138 | 13.8 | 14.4486 |  | 4043.3636 | 4233.4017 |  | 692 |  | 2311.28 |  | 2.3618 | 7.8884 | 502 |  |  | 4735.3636 | 6544.6817 |  | 16.1618 | 22.337
|  | 1761 |  | 184.3767 |  |  |  |  | 9763 |  |  |  |  | 111.2925
[18 empty] | site kwh | source kwh |  | site Mbtu | source Mbtu
[16 empty] | Jan 10 - Dec 10 Totals |  | 61359.8356 | 86630.3069 |  | 209.4211 | 295.6692
[16 empty] | May 10 - Apr 11 Totals |  | 47966.8561 | 72600.9784 |  | 163.7109 | 247.7871
WEATHER NORMALIZATION
Predicted (BEopt 1.3) BOSTON
|  | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD | Non-normalized electricity MMBtu | Normalized natural gas MMBtu | Normalized Total site | Normalized Source
| 2010-01-05 |  | 389 | 1189 | 2.8874 | 28.9307 | 31.8181 | 39.9344
| 2010-02-04 |  | 472 | 950 | 2.1024 | 23.9834 | 26.0858 | 32.1327
| 2010-03-05 |  | 533 | 813 | 2.5154 | 21.1475 | 23.6629 | 30.5428
| 2010-04-09 |  | 505 | 537 | 2.0376 | 15.4343 | 17.4719 | 22.9652
| 2010-05-05 |  | 343 | 204 | 1.6758 | 8.5412 | 10.217 | 14.5398
| 2010-06-01 |  | 118 | 87 | 3.7168 | 6.1193 | 9.8361 | 18.8209
| 2010-07-21 |  | 39 | 3 | 5.2151 | 4.3805 | 9.5956 | 22.0047
| 2010-08-20 |  | 6 | 5 | 4.0103 | 4.4219 | 8.4322 | 18.024
| 2010-09-22 |  | 13 | 66 | 2.8499 | 5.6846 | 8.5345 | 15.4703
| 2010-10-19 |  | 36 | 348 | 1.9727 | 11.522 | 13.4947 | 18.6524
| 2010-11-18 |  | 87 | 652 | 2.0205 | 17.8148 | 19.8353 | 25.4006
| 2010-12-20 |  | 212 | 902 | 2.3174 | 22.9898 | 25.3072 | 31.8105
[8 empty] | 290.2981 |  |  | Feb 10- Jul 10 MMBtu |  | 141.006
|  |  |  | MIN 6 mo | 1.6758 | 4.3805 |  | 10.1835 |  |  |  | kBtu/sf | 48.5224
[12 empty] | H/C MMbtu | 79.905 | 56.67%

## Gas
Westford
Atkins
Bedford
|  | therms | HDD |  | 2010-10-19 | 2010-11-18 | 30 | 105
2010-07-31 |  |  | 22 |  | 2010-11-18 | 2010-12-20 | 32 | 195
2010-08-31 |  |  | 44 |  | 2010-12-20 | 2011-01-21 | 32 | 232
2010-09-30 |  |  | 112 |  | 2011-01-21 | 2011-02-16 | 26 | 192
2010-10-31 |  | 47 | 442 |  | 2011-02-16 | 2011-03-18 | 30 | 181
2010-11-30 |  | 105 | 710 |  | 2011-03-18 | 2011-04-21 | 34 | 138
2010-12-31 |  | 195 | 1110 |  | 2011-04-21 | 2011-05-18 | 27 | 49
2011-01-31 |  | 232 | 1298 |  | 2011-05-18 | 2011-06-21 | 34 | 22
2011-02-28 |  | 192 | 1070 |  | 2011-06-21 | 2011-07-20 | 29 | 0
2011-03-31 |  | 181 | 884 |  | 2011-07-20 | 2011-08-19 | 30 | 0
2011-04-30 |  | 138 | 502 |  | 2011-08-19 | 2011-09-19 | 31 | 1
2011-05-31 |  | 49 | 268 |  | 2011-09-19 | 2011-10-19 | 30 | 21
2011-06-30 |  | 22 | 113 |  | 2011-10-19 | 2011-11-17 | 29 | 74
2011-07-31 |  | 0 | 20 |  | 2011-11-17 | 2011-12-20 | 33 | 132
2011-08-31 |  | 0 | 31 |  | 2011-12-20 | 2012-01-20 | 31 | 152
2011-09-30 |  | 1 | 108 |  | 2012-01-20 | 2012-02-17 | 28 | 131
2011-10-31 |  | 21 | 418 |  | 2012-02-17 | 2012-03-21 | 33 | 116
2011-11-30 |  | 74 | 563 |  | 2012-03-21 | 2012-04-19 | 29 | 56
2011-12-31 |  | 132 | 882 | Project complete | 2012-04-19 | 2012-05-23 | 34 | 32
2012-01-31 |  | 152 | 1053 |  | 2012-05-23 | 2012-06-25 | 33 | 21
2012-02-29 |  | 131 | 895 |  | 2012-06-25 | 2012-07-20 | 25 | 19
2012-03-31 |  | 116 | 652 |  | 2012-07-20 | 2012-08-22 | 33 | 19
2012-04-30 |  | 56 | 463
2012-05-31 |  | 32 | 208
2012-06-30 |  | 21 | 121
2012-07-31 |  | 19 | 22
2012-08-31 |  | 19 | 27
2012-09-30 |  | 16.4816 | 169
2012-10-31

## Elec
| Atkins | [5 empty] | 2010-09-20 | 2010-10-19 | 578 | 0
| Electricity used |  | (negative) |  |  |  | 2010-10-19 | 2010-11-17 | 592 | 0
| House | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD |  | 2010-11-17 | 2010-12-17 | 679 | 0
Month starting | [6 empty] | 2010-12-17 | 2011-01-21 | 857 | 0
[7 empty] | 2011-01-21 | 2011-02-16 | 614 | 0
2010-07-01 |  | 0 |  |  |  |  | 2011-02-16 | 2011-03-18 | 630 | 0
2010-08-01 |  | 0 |  | 44 | 263 |  | 2011-03-18 | 2011-04-21 | 692 | 0
2010-09-01 |  | 0 |  | 112 | 128 |  | 2011-04-21 | 2011-05-18 | 547 | 0
2010-10-01 | 578 | 578 |  | 442 | 14 |  | 2011-05-18 | 2011-06-21 | 543 | 0
2010-11-01 | 592 | 592 |  | 710 | 0 |  | 2011-06-21 | 2011-07-20 | 233 | 0
2010-12-01 | 679 | 679 |  | 1110 | 0 |  | 2011-07-20 | 2011-08-19 | 289 | 0
2011-01-01 | 857 | 857 |  | 1298 | 0 |  | 2011-08-19 | 2011-09-19 | 262 | 0
2011-02-01 | 614 | 614 |  | 1070 | 0 |  | 2011-09-19 | 2011-10-18 | 207 | 0
2011-03-01 | 630 | 630 |  | 884 | 0 | Project Start | 2011-10-18 | 2011-11-17 | 417 | 0
2011-04-01 | 692 | 692 |  | 502 | 12 |  | 2011-11-17 | 2011-12-20 | 806 | 0
2011-05-01 | 547 | 547 |  | 268 | 63 |  | 2011-12-20 | 2012-01-20 | 1081 | 0
2011-06-01 | 543 | 543 |  | 113 | 122 |  | 2012-01-20 | 2012-02-17 | 879 | 0
2011-07-01 | 233 | 233 |  | 20 | 309 |  | 2012-02-17 | 2012-03-20 | 941 | 0
2011-08-01 | 289 | 289 |  | 31 | 202 |  | 2012-03-20 | 2012-04-19 | 682 | 0
2011-09-01 | 262 | 262 |  | 108 | 105 |  | 2012-04-19 | 2012-05-22 | 782 | 0
2011-10-01 | 207 | 207 |  | 418 | 15 |  | 2012-05-22 | 2012-06-20 | 940 | 0
2011-11-01 | 417 | 417 |  | 563 | 2 |  | 2012-06-20 | 2012-07-20 | 1389 | 0
2011-12-01 | 806 | 806 |  | 882 | 0 | Retrofit Completed | 2012-07-20 | 2012-08-22 | 1266 | 0
2012-01-01 | 1081 | 1081 |  | 1053 | 0
2012-02-01 | 879 | 879 |  | 895 | 0
2012-03-01 | 941 | 941 |  | 652 | 23
2012-04-01 | 682 | 682 |  | 463 | 26
2012-05-01 | 782 | 782 |  | 208 | 60
2012-06-01 | 940 | 940 |  | 121 | 128
2012-07-01 | 1389 | 1389 |  | 22 | 291
2012-08-01 | 1266 | 1266 |  | 27 | 267
2012-09-01 | 930 | 930 |  | 169 | 81
Note on A33: Ken Neuhauser: July 20-Aug 22
Note on A34: Ken Neuhauser: Aug 22 to Sep 19

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[18 empty] | Total kwh |  | Total Mbtu
[8 empty] | Electricity used |  | site KWH |  | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | House | 0 | Electric Consumption (kWh) | PV Production (kWh) |  |  |  |  | HDD | CDD | site | source | site | source
| 2010-10-01 | 47 | 4.7 | 4.9209 | 1377.0876 | 1441.8107 | 2010-10-01 | 578 | 0 | 578 | 0 | 1930.52 |  | 1.9727 | 6.5889 | 442 | 14 | 1955.0876 | 3372.3307 | 6.6727 | 11.5098
| 2010-11-01 | 105 | 10.5 | 10.9935 | 3076.4723 | 3221.0665 | 2010-11-01 | 592 | 0 | 592 | 0 | 1977.28 |  | 2.0205 | 6.7485 | 710 | 0 | 3668.4723 | 5198.3465 | 12.5205 | 17.742
| 2010-12-01 | 195 | 19.5 | 20.4165 | 5713.4486 | 5981.9807 | 2010-12-01 | 679 | 0 | 679 | 0 | 2267.86 |  | 2.3174 | 7.7402 | 1110 | 0 | 6392.4486 | 8249.8407 | 21.8174 | 28.1567
| 2011-01-01 | 232 | 23.2 | 24.2904 | 6797.5388 | 7117.0231 | 2011-01-01 | 857 | 0 | 857 | 0 | 2862.38 |  | 2.9249 | 9.7693 | 1298 | 0 | 7654.5388 | 9979.4031 | 26.1249 | 34.0597
| 2011-02-01 | 192 | 19.2 | 20.1024 | 5625.5494 | 5889.9502 | 2011-02-01 | 614 | 0 | 614 | 0 | 2050.76 |  | 2.0956 | 6.9992 | 1070 | 0 | 6239.5494 | 7940.7102 | 21.2956 | 27.1016
| 2011-03-01 | 181 | 18.1 | 18.9507 | 5303.2523 | 5552.5051 | 2011-03-01 | 630 | 0 | 630 | 0 | 2104.2 |  | 2.1502 | 7.1816 | 884 | 0 | 5933.2523 | 7656.7051 | 20.2502 | 26.1323
| 2011-04-01 | 138 | 13.8 | 14.4486 | 4043.3636 | 4233.4017 | 2011-04-01 | 692 | 0 | 692 | 0 | 2311.28 |  | 2.3618 | 7.8884 | 502 | 12 | 4735.3636 | 6544.6817 | 16.1618 | 22.337
| 2011-05-01 | 49 | 4.9 | 5.1303 | 1435.6871 | 1503.1644 | 2011-05-01 | 547 | 0 | 547 | 0 | 1826.98 |  | 1.8669 | 6.2355 | 268 | 63 | 1982.6871 | 3330.1444 | 6.7669 | 11.3658
| 2011-06-01 | 22 | 2.2 | 2.3034 | 644.5942 | 674.8901 | 2011-06-01 | 543 | 0 | 543 | 0 | 1813.62 |  | 1.8533 | 6.1899 | 113 | 122 | 1187.5942 | 2488.5101 | 4.0533 | 8.4933
| 2011-07-11 | 0 | 0 | 0 | 0 | 0 | 2011-07-01 | 233 | 0 | 233 | 0 | 778.22 |  | 0.79523 | 2.6561 | 20 | 309 | 233 | 778.22 | 0.79523 | 2.6561
| 2011-08-11 | 0 | 0 | 0 | 0 | 0 | 2011-08-01 | 289 | 0 | 289 | 0 | 965.26 |  | 0.98636 | 3.2944 | 31 | 202 | 289 | 965.26 | 0.98636 | 3.2944
| 2011-09-11 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2011-09-01 | 262 | 0 | 262 | 0 | 875.08 |  | 0.89421 | 2.9866 | 108 | 105 | 291.2997 | 905.7568 | 0.99421 | 3.0913
| 2011-10-11 | 21 | 2.1 | 2.1987 | 615.2945 | 644.2133 | 2011-10-01 | 207 | 0 | 207 | 0 | 691.38 |  | 0.70649 | 2.3597 | 418 | 15 | 822.2945 | 1335.5933 | 2.8065 | 4.5584
| 2011-11-11 | 74 | 7.4 | 7.7478 | 2168.1805 | 2270.085 | 2011-11-01 | 417 | 0 | 417 | 0 | 1392.78 |  | 1.4232 | 4.7536 | 563 | 2 | 2585.1805 | 3662.865 | 8.8232 | 12.5014
| 2011-12-11 | 132 | 13.2 | 13.8204 | 3867.5652 | 4049.3408 | 2011-12-01 | 806 | 0 | 806 | 0 | 2692.04 |  | 2.7509 | 9.1879 | 882 | 0 | 4673.5652 | 6741.3808 | 15.9509 | 23.0083
| 2012-01-12 | 152 | 15.2 | 15.9144 | 4453.5599 | 4662.8772 | 2012-01-01 | 1081 | 0 | 1081 | 0 | 3610.54 |  | 3.6895 | 12.3228 | 1053 | 0 | 5534.5599 | 8273.4172 | 18.8895 | 28.2372
| 2012-02-01 | 131 | 13.1 | 13.7157 | 3838.2655 | 4018.6639 | 2012-02-01 | 879 | 0 | 879 | 0 | 2935.86 |  | 3 | 10.0201 | 895 | 0 | 4717.2655 | 6954.5239 | 16.1 | 23.7358
| 2012-03-01 | 116 | 11.6 | 12.1452 | 3398.7694 | 3558.5116 | 2012-03-01 | 941 | 0 | 941 | 0 | 3142.94 |  | 3.2116 | 10.7269 | 652 | 23 | 4339.7694 | 6701.4516 | 14.8116 | 22.8721
| 2012-04-01 | 56 | 5.6 | 5.8632 | 1640.7852 | 1717.9021 | 2012-04-01 | 682 | 0 | 682 | 0 | 2277.88 |  | 2.3277 | 7.7744 | 463 | 26 | 2322.7852 | 3995.7821 | 7.9277 | 13.6376
| 2012-05-01 | 32 | 3.2 | 3.3504 | 937.5916 | 981.6584 | 2012-05-01 | 782 | 0 | 782 | 0 | 2611.88 |  | 2.669 | 8.9143 | 208 | 60 | 1719.5916 | 3593.5384 | 5.869 | 12.2647
| 2012-06-01 | 21 | 2.1 | 2.1987 | 615.2945 | 644.2133 | 2012-06-01 | 940 | 0 | 940 | 0 | 3139.6 |  | 3.2082 | 10.7155 | 121 | 128 | 1555.2945 | 3783.8133 | 5.3082 | 12.9142
| 2012-07-11 | 19 | 1.9 | 1.9893 | 556.695 | 582.8597 | 2012-07-01 | 1389 | 0 | 1389 | 0 | 4639.26 |  | 4.7407 | 15.8338 | 22 | 291 | 1945.695 | 5222.1197 | 6.6407 | 17.8231
| 2012-08-11 | 19 | [10 empty] | 6 mo | 19.1572 | 63.9849
|  | 6 mo | 37.5 | 39.2625
MIN USAGE IN 6 MOS
|  | 19 | 1.9 | 1.9893 | [5 empty] | 682 |  |  |  | 2.3277 | 7.7744 |  |  |  |  | 4.2277 | 9.7637
|  | 375 | [7 empty] | 5613 | [6 empty] | Post Retrofit | site kwh | source kwh | site Mbtu | source Mbtu
6 mo MMBtu |  |  |  | 39.2625 | [10 empty] | 63.9849
[17 empty] | Totals 6 months | 16600.4011 | 30251.229 | 56.6572 | 103.2474

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Bedford, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | HDD | % Estimated
2010-01-01 | 1191 | 0.1
2010-02-01 | 964 | 0.1
2010-03-01 | 706 | 0.1
2010-04-01 | 427 | 0.3
2010-05-01 | 209 | 0.5
2010-06-01 | 65 | 0.2
2010-07-01 | 22 | 0.4
2010-08-01 | 44 | 0.3
2010-09-01 | 112 | 0
2010-10-01 | 442 | 0.1
2010-11-01 | 710 | 0.07
2010-12-01 | 1110 | 0.2
2011-01-01 | 1298 | 0.03
2011-02-01 | 1070 | 0.04
2011-03-01 | 884 | 0.03
2011-04-01 | 502 | 0.03
2011-05-01 | 268 | 0
2011-06-01 | 113 | 0
2011-07-01 | 20 | 0.03
2011-08-01 | 31 | 0.1
2011-09-01 | 108 | 0
2011-10-01 | 418 | 0
2011-11-01 | 563 | 0.1
2011-12-01 | 882 | 0
2012-01-01 | 1053 | 0
2012-02-01 | 895 | 0.03
2012-03-01 | 652 | 0
2012-04-01 | 463 | 0.03
2012-05-01 | 208 | 0.06
2012-06-01 | 121 | 0.07
2012-07-01 | 22 | 0.1
2012-08-01 | 27 | 0.03
2012-09-01 | 169 | 0
2012-10-01
2012-11-01

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Bedford, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | CDD | % Estimated
2010-08-01 | 263 | 0.3
2010-09-01 | 128 | 0
2010-10-01 | 14 | 0.1
2010-11-01 | 0 | 0.07
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0.03
2011-02-01 | 0 | 0.04
2011-03-01 | 0 | 0.03
2011-04-01 | 12 | 0.03
2011-05-01 | 63 | 0
2011-06-01 | 122 | 0
2011-07-01 | 309 | 0.03
2011-08-01 | 202 | 0.1
2011-09-01 | 105 | 0
2011-10-01 | 15 | 0
2011-11-01 | 2 | 0.1
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 23 | 0
2012-04-01 | 26 | 0.03
2012-05-01 | 60 | 0.06
2012-06-01 | 128 | 0.07
2012-07-01 | 291 | 0.1
2012-08-01 | 267 | 0.03
2012-09-01 | 81 | 0

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | Bedford, MA, US (71.29W,42.47N) |  | Predicted (BEopt 1.3) BOSTON
Month | Date | Total | MMBtu |  | Actual CDD | Actual HDD | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD | MMBtu Normalized Natural Gas | MMBtu Normalized Total Site | MMBtu Normalized Source
|  |  | Electricity | Natural Gas | [8 empty] | Projected 12 month using normalized gas but duplicated electricity
[13 empty] | Site | Source
2011-07-11 |  |  |  |  | 309 | 20 |  | 39 | 3
2011-08-11 |  |  |  |  | 202 | 31 |  | 6 | 5 | 0.7374
2011-09-11 |  |  |  |  | 105 | 108 |  | 13 | 66 | 1.6036
2011-10-11 |  |  |  |  | 15 | 418 |  | 36 | 348 | 5.608
2011-11-11 |  |  |  |  | 2 | 563 |  | 87 | 652 | 9.9248
2011-12-11 |  |  |  |  | 0 | 882 |  | 212 | 902 | 13.4748
2012-01-12 |  |  |  |  | 0 | 1053 |  | 389 | 1189 | 17.5502 |  |  | 68.056 | 115.182
2012-02-01 |  |  | 3 | 13.1 | 0 | 895 |  | 472 | 950 | 14.1564 | 17.1564 | 24.8418
2012-03-01 |  |  | 3.2116 | 11.6 | 23 | 652 |  | 533 | 813 | 12.211 | 15.4226 | 23.5118
2012-04-01 |  |  | 2.3277 | 5.6 | 26 | 463 |  | 505 | 537 | 8.2918 | 10.6195 | 16.4559
2012-05-01 |  |  | 2.669 | 3.2 | 60 | 208 |  | 343 | 204 | 3.5632 | 6.2322 | 12.645
2012-06-01 |  |  | 3.2082 | 2.1 | 128 | 121 |  | 118 | 87 | 1.9018 | 5.11 | 12.7066
2012-07-11 |  |  | 4.7407 | 1.9 | 291 | 22 |  | 39 | 3 | 0.709 | 5.4497 | 16.5761
[10 empty] | TOTALS | 59.9904 | 106.7373
56.6572
-5.883%
MIN 6 mo |  |  | 2.3277 | [6 empty] | 0.709 |  | 8.5167
[11 empty] | H/C MMBtu | 55.6369
[11 empty] | % H/C | 52.13%
Note on N7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month