## Pre Retrofit
Belmont Two Family
Brownsberger
Pre retrofit is from BEopt. For NREL 2012, use BEopt 1.3; model is at 04-Energy Analysis_new DER project/BEopt modeling/1_3 Brownsberger.bpj In Individual projects section of National Grid DER
Data from BEOpt
Electricity |  | kwh
8811
Natural Gas |  | therms
309
Oil |  | gallons
3063
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
|  | gal oil to Mbtu |  | 0.13869
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
| heating oil source/site |  |  | 1.01
[18 empty] | Total kwh |  | Total Mbtu
|  | Heating Oil |  |  |  |  | Natural gas |  |  |  |  | Electricity used | source KWH | site Mbtu | source Mbtu
Period |  | Gallons | site Mbtu | source Mbtu | site kwh | source kwh | therms | site Mbtu | Source Mbtu | site kwh | source kwh | site KWH |  |  |  | HDD | CDD | site | source | site | source
BEopt Model |  | 3063 | 424.809 | 429.0571 | 124467.9172 | 125712.5964 | 309 | 30.9 | 32.3523 | 9053.6185 | 9479.1386 | 8811 | 29428.74 | 30.0719 | 100.4403 |  |  | 142332.5357 | 164620.475 | 485.7809 | 561.8497

## Gas
| Belmont Two Family |  |  | https://spreadsheets.google.com/pub?key=0Au4p6kIaKukUdGwxT0t4NUd2NHFjQ0NfT1lCZS1KUXc&hl=en&single=true&gid=2&output=html
| Brownsberger |  | Gas usage from National Grid spreadsheet
Month Starting |  |  | Bedford
|  | therms | HDD |  | 2010-12-01 | 2011-01-03 | 33 | 45 | 2010-12-01 | 2011-01-03 | 33 | 21
2010-12-01 |  | 66 | 1110 |  | 2011-01-03 | 2011-01-31 | 28 | 55 | 2011-01-03 | 2011-01-31 | 28 | 20
2011-01-01 |  | 75 | 1298 |  | 2011-01-31 | 2011-03-01 | 29 | 50 | 2011-01-31 | 2011-03-01 | 29 | 12
2011-02-01 |  | 62 | 1070 |  | 2011-03-01 | 2011-03-31 | 30 | 31 | 2011-03-01 | 2011-03-31 | 30 | 3
2011-03-01 |  | 34 | 885 |  | 2011-03-31 | 2011-05-02 | 32 | 14 | 2011-03-31 | 2011-05-02 | 32 | 0
2011-04-01 |  | 14 | 502 |  | 2011-05-02 | 2011-05-31 | 29 | 3 | 2011-05-02 | 2011-05-31 | 29 | 0
2011-05-01 |  | 3 | 268 |  | 2011-05-31 | 2011-06-30 | 30 | 1 | 2011-05-31 | 2011-06-30 | 30 | 0
2011-06-01 |  | 1 | 113 |  | 2011-06-30 | 2011-08-01 | 32 | 0 | 2011-06-30 | 2011-08-01 | 32 | 0
2011-07-11 |  | 0 | 20 |  | 2011-08-01 | 2011-08-31 | 30 | 1 | 2011-08-01 | 2011-08-31 | 30 | 0
2011-08-11 |  | 1 | 31 |  | 2011-08-31 | 2011-09-29 | 29 | 0 | 2011-08-31 | 2011-09-29 | 29 | 0
2011-09-11 |  | 0 | 108 |  | 2011-09-29 | 2011-10-31 | 32 | 7 | 2011-09-29 | 2011-10-31 | 32 | 1
2011-10-11 |  | 8 | 418 |  | 2011-10-31 | 2011-12-02 | 32 | 13 | 2011-10-31 | 2011-12-02 | 32 | 0
2011-11-11 |  | 13 | 563 |  | 2011-12-02 | 2012-01-03 | 32 | 35 | 2011-12-02 | 2012-01-03 | 32 | 8
2011-12-11 |  | 43 | 882 |  | 2012-01-03 | 2012-01-31 | 28 | 41 | 2012-01-03 | 2012-01-31 | 28 | 14
2012-01-12 |  | 55 | 1053 |  | 2012-01-31 | 2012-02-29 | 29 | 34 | 2012-01-31 | 2012-02-29 | 29 | 10
2012-02-01 |  | 44 | 895 |  | 2012-02-29 | 2012-03-30 | 30 | 20 | 2012-02-29 | 2012-03-30 | 30 | 4
2012-03-01 |  | 24 | 652 |  | 2012-03-30 | 2012-05-01 | 32 | 9 | 2012-03-30 | 2012-05-01 | 32 | 1
2012-04-01 |  | 10 | 463 |  | 2012-05-01 | 2012-06-01 | 31 | 5 | 2012-05-01 | 2012-06-01 | 31 | 0
2012-05-01 |  | 5 | 208 |  | 2012-06-01 | 2012-06-29 | 28 | 1 | 2012-06-01 | 2012-06-29 | 28 | 0
2012-06-01 |  | 1 | 121 |  | 2012-06-29 | 2012-08-01 | 33 | 0 | 2012-06-29 | 2012-08-01 | 33 | 0
2012-07-01 |  | 0 | 22
2012-08-01 |  |  | 0
0

## Elec
118 and 120 are the two apartments at the Brownsberger home
https://spreadsheets.google.com/pub?key=0Au4p6kIaKukUdGwxT0t4NUd2NHFjQ0NfT1lCZS1KUXc&hl=en&single=true&gid=2&output=html
Grid and PV electricity use from spreadsheet
| Electricity used (kwh) |  |  | (negative) |  |  | Electricity used for DHW
| 118 | 120 | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD
Month Starting | Grid | Grid |  |  |  |  | kwh
2011-01-01 | 468 | 262 | 1033 | -303 | 1298 | 0
2011-02-01 | 458 | 109 | 943 | -376 | 1070 | 0
2011-03-01 | 457 | -150 | 897 | -590 | 885 | 0
2011-04-01 | 425 | -66 | 893 | -534 | 502 | 12
2011-05-01 | 382 | -132 | 835 | -585 | 268 | 63
2011-06-01 | 330 | -143 | 758 | -571 | 113 | 122
2011-07-01 | 185 | -18 | 933 | -766 | 20 | 309
2011-08-01 | 155 | -99 | 731 | -675 | 31 | 202
2011-09-01 | 227 | -28 | 682 | -483 | 108 | 105
2011-10-01 | 387 | -21 | 854 | -488 | 418 | 15
2011-11-01 | 442 | 59 | 951 | -450 | 563 | 2
2011-12-01 | 494 | 216 | 1092 | -382 | 882 | 0
2012-01-01 | 490 | 181 | 1088 | -417 | 1053 | 0
2012-02-01 | 508 | -7 | 1037 | -536 | 895 | 0
2012-03-01 | 459 | -127 | 901 | -569 | 652 | 23
2012-04-01 | 359 | -150 | 789 | -580 | 463 | 26
2012-05-01 | 596 | -20 | 1253 | -677 | 208 | 60
2012-06-01 | 262 | -26 | 805 | -569 | 121 | 128
2012-07-01 | 236 | 216 | 1232 | -780 | 22 | 291
2012-08-01 | 367 | -78 | 289
[16 empty] | Monitored | Estimated
[9 empty] | c.f. hot water | [6 empty] | kwh for hot water | solar thermal
[9 empty] | 118 | cu used | 120 | cu used | total cu hot used | Estimated | Estimated | from spreadsheet | contribution
[5 empty] | Water properties |  |  |  | 489 |  | 914 |  |  | MMBtu used | kwh used
[6 empty] | 1 Btu/lb/deg F |  | 2011-01-01 | 590 | 101 | 1064 | 150 | 251 | 1.0961 | 321.1464 | 251 | 70.1464
[5 empty] | delta T F. | 70 |  | 2011-02-01 | 709 | 119 | 1190 | 126 | 245 | 1.0699 | 313.4696 | 251 | 62.4696
[5 empty] | lbs/gal | 8.34 |  | 2011-03-01 | 845 | 136 | 1299 | 109 | 245 | 1.0699 | 313.4696 | 114 | 199.4696
[5 empty] | gal/cu ft | 7.48 |  | 2011-04-01 | 971 | 126 | 1444 | 145 | 271 | 1.1834 | 346.7358 | 110 | 236.7358
[8 empty] | 2011-05-01 | 1068 | 97 | 1588 | 144 | 241 | 1.0524 | 308.3518 | 96 | 212.3518
[5 empty] | kwh to MMBtu | 0.003413 |  | 2011-06-01 | 1148 | 80 | 1735 | 147 | 227 | 0.99127 | 290.4392 | 59 | 231.4392
[5 empty] | MMBtu to kwh | 292.9974 |  | 2011-07-01 | 1176 | 28 | 1872 | 137 | 165 | 0.72053 | 211.1122 | 48 | 163.1122
[8 empty] | 2011-08-01 | 1182 | 6 | 1980 | 108 | 114 | 0.49782 | 145.8593 | 10 | 135.8593
[8 empty] | 2011-09-01 | 1235 | 53 | 2073 | 93 | 146 | 0.63756 | 186.8023 | 49 | 137.8023
[8 empty] | 2011-10-01 | 1342 | 107 | 2190 | 117 | 224 | 0.97817 | 286.6008 | 59 | 227.6008
[8 empty] | 2011-11-01 | 1476 | 134 | 2315 | 125 | 259 | 1.131 | 331.3822 | 99 | 232.3822
[8 empty] | 2011-12-01 | 1648 | 172 | 2460 | 145 | 317 | 1.3843 | 405.5913 | 184 | 221.5913
[8 empty] | 2012-01-01 | 1782 | 134 | 2615 | 155 | 289 | 1.262 | 369.7662 | 176 | 193.7662
[8 empty] | 2012-02-01 | 1934 | 152 | 2748 | 133 | 285 | 1.2445 | 364.6484 | 113 | 251.6484
[8 empty] | 2012-03-01 | 2056 | 122 | 2867 | 119 | 241 | 1.0524 | 308.3518 | 104 | 204.3518
[8 empty] | 2012-04-01 | 2140 | 84 | 2981 | 114 | 198 | 0.86463 | 253.3346 | 46 | 207.3346
[8 empty] | 2012-05-01 | 2307 | 167 | 3167 | 186 | 353 | 1.5415 | 451.6522 | 111 | 340.6522
[8 empty] | 2012-06-01 | 2347 | 40 | 3299 | 132 | 172 | 0.75109 | 220.0685 | 58 | 162.0685
[8 empty] | 2012-07-01 | 2353 | 6 | 3469 | 170 | 176 | 0.76856 | 225.1864 | 29 | 196.1864
[8 empty] | 2012-08-01 | 2408 | 55 | 3564 | 95 | 150 | 0.65502 | 191.9202 | 26 | 165.9202

## Energy Use
| Mbtu to kwh |  | 292.9974
| therm to MBTU |  | 0.1
| kwh to Mbtu |  | 0.003413
grid electricity source/site |  |  | 3.34
natural gas source/site |  |  | 1.047
[20 empty] | Total kwh |  |  | Total Mbtu
Month starting | [6 empty] | Electricity used |  | site KWH |  |  |  | source KWH |  | site Mbtu | source Mbtu
| therms | site Mbtu | source Mbtu | site kwh | source kwh |  | 118 | 120 | Electric Consumption (kWh) | PV Production (kWh) | site kWH excluding gen+used | source kWH excluding gen+used |  | src if no PV |  |  | src no PV | HDD | CDD | site | source | src if no PV | site | source | src if no PV
2011-01-01 | 75 | 7.5 | 7.8525 | 2197.4802 | 2300.7618 | 2011-01-01 | 468 | 262 | 1033 | 303 | 730 | 2438.2 | 2741.2 | 3450.22 | 3.5256 | 9.3557 | 11.7756 | 1298 | 0 | 3230.4802 | 5041.9618 | 5750.9818 | 11.0256 | 17.2082 | 19.6281
2011-02-01 | 62 | 6.2 | 6.4914 | 1816.5837 | 1901.9631 | 2011-02-01 | 458 | 109 | 943 | 376 | 567 | 1893.78 | 2269.78 | 3149.62 | 3.2185 | 7.7468 | 10.7497 | 1070 | 0 | 2759.5837 | 4171.7431 | 5051.5831 | 9.4185 | 14.2382 | 17.2411
2011-03-01 | 34 | 3.4 | 3.5598 | 996.191 | 1043.012 | 2011-03-01 | 457 | -150 | 897 | 590 | 307 | 1025.38 | 1615.38 | 2995.98 | 3.0615 | 5.5133 | 10.2253 | 885 | 0 | 1893.191 | 2658.392 | 4038.992 | 6.4615 | 9.0731 | 13.7851
2011-04-01 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2011-04-01 | 425 | -66 | 893 | 534 | 359 | 1199.06 | 1733.06 | 2982.62 | 3.0478 | 5.9149 | 10.1797 | 502 | 12 | 1303.1963 | 2162.5355 | 3412.0955 | 4.4478 | 7.3807 | 11.6455
2011-05-01 | 3 | 0.3 | 0.3141 | 87.8992 | 92.0305 | 2011-05-01 | 382 | -132 | 835 | 585 | 250 | 835 | 1420 | 2788.9 | 2.8499 | 4.8465 | 9.5185 | 268 | 63 | 922.8992 | 1512.0305 | 2880.9305 | 3.1499 | 5.1606 | 9.8326
2011-06-01 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2011-06-01 | 330 | -143 | 758 | 571 | 187 | 624.58 | 1195.58 | 2531.72 | 2.5871 | 4.0805 | 8.6408 | 113 | 122 | 787.2997 | 1226.2568 | 2562.3968 | 2.6871 | 4.1852 | 8.7455
2011-07-11 | 0 | 0 | 0 | 0 | 0 | 2011-07-01 | 185 | -18 | 933 | 766 | 167 | 557.78 | 1323.78 | 3116.22 | 3.1843 | 4.5181 | 10.6357 | 20 | 309 | 933 | 1323.78 | 3116.22 | 3.1843 | 4.5181 | 10.6357
2011-08-11 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2011-08-01 | 155 | -99 | 731 | 675 | 56 | 187.04 | 862.04 | 2441.54 | 2.4949 | 2.9421 | 8.333 | 31 | 202 | 760.2997 | 892.7168 | 2472.2168 | 2.5949 | 3.0468 | 8.4377
2011-09-11 | 0 | 0 | 0 | 0 | 0 | 2011-09-01 | 227 | -28 | 682 | 483 | 199 | 664.66 | 1147.66 | 2277.88 | 2.3277 | 3.917 | 7.7744 | 108 | 105 | 682 | 1147.66 | 2277.88 | 2.3277 | 3.917 | 7.7744
2011-10-11 | 8 | 0.8 | 0.8376 | 234.3979 | 245.4146 | 2011-10-01 | 387 | -21 | 854 | 488 | 366 | 1222.44 | 1710.44 | 2852.36 | 2.9147 | 5.8377 | 9.7351 | 418 | 15 | 1088.3979 | 1955.8546 | 3097.7746 | 3.7147 | 6.6753 | 10.5727
2011-11-11 | 13 | 1.3 | 1.3611 | 380.8966 | 398.7987 | 2011-11-01 | 442 | 59 | 951 | 450 | 501 | 1673.34 | 2123.34 | 3176.34 | 3.2458 | 7.247 | 10.8408 | 563 | 2 | 1331.8966 | 2522.1387 | 3575.1387 | 4.5458 | 8.6081 | 12.2019
2011-12-11 | 43 | 4.3 | 4.5021 | 1259.8887 | 1319.1034 | 2011-12-01 | 494 | 216 | 1092 | 382 | 710 | 2371.4 | 2753.4 | 3647.28 | 3.727 | 9.3974 | 12.4482 | 882 | 0 | 2351.8887 | 4072.5034 | 4966.3834 | 8.027 | 13.8995 | 16.9503
2012-01-12 | 55 | 5.5 | 5.7585 | 1611.4855 | 1687.2253 | 2012-01-01 | 490 | 181 | 1088 | 417 | 671 | 2241.14 | 2658.14 | 3633.92 | 3.7133 | 9.0722 | 12.4026 | 1053 | 0 | 2699.4855 | 4345.3653 | 5321.1453 | 9.2133 | 14.8307 | 18.1611
2012-02-01 | 44 | 4.4 | 4.6068 | 1289.1884 | 1349.7803 | 2012-02-01 | 508 | -7 | 1037 | 536 | 501 | 1673.34 | 2209.34 | 3463.58 | 3.5393 | 7.5405 | 11.8212 | 895 | 0 | 2326.1884 | 3559.1203 | 4813.3603 | 7.9393 | 12.1473 | 16.428
2012-03-01 | 24 | 2.4 | 2.5128 | 703.1937 | 736.2438 | 2012-03-01 | 459 | -127 | 901 | 569 | 332 | 1108.88 | 1677.88 | 3009.34 | 3.0751 | 5.7266 | 10.2709 | 652 | 23 | 1604.1937 | 2414.1238 | 3745.5838 | 5.4751 | 8.2394 | 12.7837
2012-04-01 | 10 | 1 | 1.047 | 292.9974 | 306.7682 | 2012-04-01 | 359 | -150 | 789 | 580 | 209 | 698.06 | 1278.06 | 2635.26 | 2.6929 | 4.362 | 8.9941 | 463 | 26 | 1081.9974 | 1584.8282 | 2942.0282 | 3.6929 | 5.409 | 10.0411
2012-05-01 | 5 | 0.5 | 0.5235 | 146.4987 | 153.3841 | 2012-05-01 | 596 | -20 | 1253 | 677 | 576 | 1923.84 | 2600.84 | 4185.02 | 4.2765 | 8.8767 | 14.2835 | 208 | 60 | 1399.4987 | 2754.2241 | 4338.4041 | 4.7765 | 9.4002 | 14.807
2012-06-01 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2012-06-01 | 262 | -26 | 805 | 569 | 236 | 788.24 | 1357.24 | 2688.7 | 2.7475 | 4.6323 | 9.1765 | 121 | 128 | 834.2997 | 1387.9168 | 2719.3768 | 2.8475 | 4.737 | 9.2812
2012-07-01 | 0 | 0 | 0 | 0 | 0 | 2012-07-01 | 236 | 216 | 1232 | 780 | 452 | 1509.68 | 2289.68 | 4114.88 | 4.2048 | 7.8147 | 14.0441 | 22 | 291 | 1232 | 2289.68 | 4114.88 | 4.2048 | 7.8147 | 14.0441
| 6 mos | 8.4 | 8.7948 | [5 empty] | 6 mos | 3711 | 4809 | 16062.06 |  | 6 mos | 20.536 | 38.9527 | 68.5903 | [5 empty] | 28.936 | 47.7475
| 12 mos | 20.4 | 21.3588 | [6 empty] | 12.6656 | 2306 | 7702.04 |  | 12 mos | 38.9594 |  | 130.1244 | [5 empty] | 59.3594
MIN USAGE 6 mos
| 0.5 | 0.05 | 0.05235 | [5 empty] | 789 | [5 empty] | 2.6929 | 8.9941 | [6 empty] | 2.7429 |  | 9.0465
MIN USAGE (for 12 mos of data, use 2 lowest months)
| 0.5 | 0.05 | 0.05235 | 14.6499 | 15.3384 |  |  |  | 706.5 |  |  |  |  | 2359.71 | 2.4113 | 8.0537 |  |  |  | 721.1499 |  | 2375.0484 | 2.4613 |  | 8.106
2012-08-01 | 0 | [7 empty] | 682
731
[20 empty] | site kwh | source kwh | src if no PV | site Mbtu | source Mbu | src if no PV
| 84 | [7 empty] | 6017 | [9 empty] | Totals 18 months | 25991.3161 | 41980.87 |  | 88.7084 | 143.2807
| 204 | [7 empty] | 11415
[19 empty] | Totals 12 months | 17392.1462 | 28926.1321 | 44384.1721 | 59.3594 | 98.7249 | 151.4832
12 mos usage |  |  | 21.3588 | [10 empty] | 130.1244
[19 empty] | Totals 6 months | 8478.1778 | 13989.8932 | 22673.6332 | 28.936 | 47.7475 | 77.3851
Note on C32: Cathy: Only non-heating use of gas is for clothesdryer. I averaged out the 4 lowest months
Note on C34: Cathy: Only non-heating use of gas is for clothesdryer. I averaged out the 4 lowest months

## Energy Use w solar thermal
| Mbtu to kwh |  | 292.9974
| therm to MBTU |  | 0.1
| kwh to Mbtu |  | 0.003413
grid electricity source/site |  |  | 3.34
natural gas source/site |  |  | 1.047
[18 empty] | Total kwh |  |  | Total Mbtu
Month starting | [6 empty] | Electricity used |  | site KWH |  |  | source KWH |  | site Mbtu | source Mbtu
| therms | site Mbtu | source Mbtu | site kwh | source kwh |  | 118 | 120 | Electric Consumption (kWh) | PV Production (kWh) |  |  | src if no PV |  |  | HDD | CDD | site | source | src if no PV | site | source | src if no PV
Solar Thermal
2011-01-01 | 75 | 7.5 | 7.8525 | 2197.4802 | 2300.7618 | 2011-01-01 | 468 | 262 | 1033 | 303 | 0 | 2741.2 | 3450.22 | 3.5256 | 9.3557 | 1298 | 0 | 3230.4802 | 5041.9618 | 5750.9818 | 11.0256 | 17.2082 | 19.6281
2011-02-01 | 62 | 6.2 | 6.4914 | 1816.5837 | 1901.9631 | 2011-02-01 | 458 | 109 | 943 | 376 | 0 | 2269.78 | 3149.62 | 3.2185 | 7.7468 | 1070 | 0 | 2759.5837 | 4171.7431 | 5051.5831 | 9.4185 | 14.2382 | 17.2411
2011-03-01 | 34 | 3.4 | 3.5598 | 996.191 | 1043.012 | 2011-03-01 | 457 | -150 | 897 | 590 | 0 | 1615.38 | 2995.98 | 3.0615 | 5.5133 | 885 | 0 | 1893.191 | 2658.392 | 4038.992 | 6.4615 | 9.0731 | 13.7851
2011-04-01 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2011-04-01 | 425 | -66 | 893 | 534 | 0 | 1733.06 | 2982.62 | 3.0478 | 5.9149 | 502 | 12 | 1303.1963 | 2162.5355 | 3412.0955 | 4.4478 | 7.3807 | 11.6455
2011-05-01 | 3 | 0.3 | 0.3141 | 87.8992 | 92.0305 | 2011-05-01 | 382 | -132 | 835 | 585 | 0 | 1420 | 2788.9 | 2.8499 | 4.8465 | 268 | 63 | 922.8992 | 1512.0305 | 2880.9305 | 3.1499 | 5.1606 | 9.8326
2011-06-01 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2011-06-01 | 330 | -143 | 758 | 571 | 0 | 1195.58 | 2531.72 | 2.5871 | 4.0805 | 113 | 122 | 787.2997 | 1226.2568 | 2562.3968 | 2.6871 | 4.1852 | 8.7455
2011-07-11 | 0 | 0 | 0 | 0 | 0 | 2011-07-01 | 185 | -18 | 933 | 766 | 0 | 1323.78 | 3116.22 | 3.1843 | 4.5181 | 20 | 309 | 933 | 1323.78 | 3116.22 | 3.1843 | 4.5181 | 10.6357
2011-08-11 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2011-08-01 | 155 | -99 | 731 | 675 | 0 | 862.04 | 2441.54 | 2.4949 | 2.9421 | 31 | 202 | 760.2997 | 892.7168 | 2472.2168 | 2.5949 | 3.0468 | 8.4377
2011-09-11 | 0 | 0 | 0 | 0 | 0 | 2011-09-01 | 227 | -28 | 682 | 483 | 0 | 1147.66 | 2277.88 | 2.3277 | 3.917 | 108 | 105 | 682 | 1147.66 | 2277.88 | 2.3277 | 3.917 | 7.7744
2011-10-11 | 8 | 0.8 | 0.8376 | 234.3979 | 245.4146 | 2011-10-01 | 387 | -21 | 854 | 488 | 0 | 1710.44 | 2852.36 | 2.9147 | 5.8377 | 418 | 15 | 1088.3979 | 1955.8546 | 3097.7746 | 3.7147 | 6.6753 | 10.5727
2011-11-11 | 13 | 1.3 | 1.3611 | 380.8966 | 398.7987 | 2011-11-01 | 442 | 59 | 951 | 450 | 0 | 2123.34 | 3176.34 | 3.2458 | 7.247 | 563 | 2 | 1331.8966 | 2522.1387 | 3575.1387 | 4.5458 | 8.6081 | 12.2019
2011-12-11 | 43 | 4.3 | 4.5021 | 1259.8887 | 1319.1034 | 2011-12-01 | 494 | 216 | 1092 | 382 | 0 | 2753.4 | 3647.28 | 3.727 | 9.3974 | 882 | 0 | 2351.8887 | 4072.5034 | 4966.3834 | 8.027 | 13.8995 | 16.9503
2012-01-12 | 55 | 5.5 | 5.7585 | 1611.4855 | 1687.2253 | 2012-01-01 | 490 | 181 | 1088 | 417 | 0 | 2658.14 | 3633.92 | 3.7133 | 9.0722 | 1053 | 0 | 2699.4855 | 4345.3653 | 5321.1453 | 9.2133 | 14.8307 | 18.1611
2012-02-01 | 44 | 4.4 | 4.6068 | 1289.1884 | 1349.7803 | 2012-02-01 | 508 | -7 | 1037 | 536 | 0 | 2209.34 | 3463.58 | 3.5393 | 7.5405 | 895 | 0 | 2326.1884 | 3559.1203 | 4813.3603 | 7.9393 | 12.1473 | 16.428
2012-03-01 | 24 | 2.4 | 2.5128 | 703.1937 | 736.2438 | 2012-03-01 | 459 | -127 | 901 | 569 | 0 | 1677.88 | 3009.34 | 3.0751 | 5.7266 | 652 | 23 | 1604.1937 | 2414.1238 | 3745.5838 | 5.4751 | 8.2394 | 12.7837
2012-04-01 | 10 | 1 | 1.047 | 292.9974 | 306.7682 | 2012-04-01 | 359 | -150 | 789 | 580 | 0 | 1278.06 | 2635.26 | 2.6929 | 4.362 | 463 | 26 | 1081.9974 | 1584.8282 | 2942.0282 | 3.6929 | 5.409 | 10.0411
2012-05-01 | 5 | 0.5 | 0.5235 | 146.4987 | 153.3841 | 2012-05-01 | 596 | -20 | 1253 | 677 | 0 | 2600.84 | 4185.02 | 4.2765 | 8.8767 | 208 | 60 | 1399.4987 | 2754.2241 | 4338.4041 | 4.7765 | 9.4002 | 14.807
2012-06-01 | 1 | 0.1 | 0.1047 | 29.2997 | 30.6768 | 2012-06-01 | 262 | -26 | 805 | 569 | 0 | 1357.24 | 2688.7 | 2.7475 | 4.6323 | 121 | 128 | 834.2997 | 1387.9168 | 2719.3768 | 2.8475 | 4.737 | 9.2812
2012-07-01 | 0 | 0 | 0 | 0 | 0 | 2012-07-01 | 236 | 216 | 1232 | 780 | 0 | 2289.68 | 4114.88 | 4.2048 | 7.8147 | 22 | 291 | 1232 | 2289.68 | 4114.88 | 4.2048 | 7.8147 | 14.0441
MIN USAGE (for 12 mos of data, use 2 lowest months)
| 0.5 | 0.05 | 0.05235 | 14.6499 | 15.3384 |  |  |  | 706.5 |  |  |  | 2359.71 | 2.4113 |  |  |  | 721.1499 |  | 2375.0484 | 2.4613 |  | 8.106
682
731
[18 empty] | site kwh | source kwh | src if no PV | site Mbtu | source Mbu | src if no PV
| 84 | [7 empty] | 6017 | [7 empty] | Totals 18 months | 25991.3161 | 41980.87 |  | 88.7084 | 143.2807
| 204 | [7 empty] | 11415
[17 empty] | Totals 12 months | 17392.1462 | 28926.1321 | 44384.1721 | 59.3594 | 98.7249 | 151.4832
[17 empty] | Totals 6 months | 8478.1778 | 13989.8932 | 22673.6332 | 28.936 | 47.7475 | 77.3851
Note on C31: Cathy: Only non-heating use of gas is for clothesdryer. I averaged out the 4 lowest months

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | HDD | % Estimated
2010-07-01 | 22
2010-08-01 | 44
2010-09-01 | 112
2010-10-01 | 442
2010-11-01 | 710
2010-12-01 | 1110
2011-01-01 | 1298
2011-02-01 | 1070
2011-03-01 | 885
2011-04-01 | 502
2011-05-01 | 268
2011-06-01 | 113
2011-07-01 | 20
2011-08-01 | 31
2011-09-01 | 108 | 0
2011-10-01 | 418 | 0
2011-11-01 | 563 | 0.1
2011-12-01 | 882 | 0
2012-01-01 | 1053 | 0
2012-02-01 | 895 | 0.03
2012-03-01 | 652 | 0
2012-04-01 | 463 | 0.03
2012-05-01 | 208 | 0.06
2012-06-01 | 121 | 0.07
2012-07-01 | 22 | 0.1

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | CDD | % Estimated
2010-07-01 | 360
2010-08-01 | 263
2010-09-01 | 128 | 0
2010-10-01 | 14 | 0.3
2010-11-01 | 0 | 0
2010-12-01 | 0 | 0.7
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 0 | 0
2011-04-01 | 12 | 0
2011-05-01 | 63 | 0
2011-06-01 | 122 | 0
2011-07-01 | 309 | 0
2011-08-01 | 202 | 0.5
2011-09-01 | 105 | 0
2011-10-01 | 15 | 0
2011-11-01 | 2 | 0.1
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 23 | 0
2012-04-01 | 26 | 0.03
2012-05-01 | 60 | 0.06
2012-06-01 | 128 | 0.07
2012-07-01 | 291 | 0.1

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual Site Energy |  |  | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N) |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD |  | BEopt 1.3 CDD | BEopt 1.3 HDD
|  | Total | Electricity | Natural Gas | [5 empty] | Normalized | Normalized | Normalized
[10 empty] | Nat Gas | Site | Src
2011-07-11 |  | 0 | 0 | 0 | 309 | 20 |  | 284 | 3
2011-08-11 |  |  | 2.4949 | 0.1 | 202 | 31 |  | 193 | 5 | -0.6245 | 1.8704 | 7.6791
2011-09-11 |  |  | 2.3277 | 0 | 105 | 108 |  | 53 | 66 | -0.3073 | 2.0204 | 7.4527
2011-10-11 |  |  | 2.9147 | 0.8 | 15 | 418 |  | 9 | 348 | 1.1591 | 4.0738 | 10.9487
2011-11-11 |  |  | 3.2458 | 1.3 | 2 | 563 |  | 0 | 652 | 2.7399 | 5.9857 | 13.7095
2011-12-11 |  |  | 3.727 | 4.3 | 0 | 882 |  | 0 | 902 | 4.0399 | 7.7669 | 16.6779
2012-01-12 |  |  | 3.7133 | 5.5 | 0 | 1053 |  | 0 | 1189 | 5.5323 | 9.2456 | 18.1949
2012-02-01 |  |  | 3.5393 | 4.4 | 0 | 895 |  | 0 | 950 | 4.2895 | 7.8288 | 16.3123
2012-03-01 |  |  | 3.0751 | 2.4 | 23 | 652 |  | 0 | 813 | 3.5771 | 6.6522 | 14.0161
2012-04-01 |  |  | 2.6929 | 1 | 26 | 463 |  | 9 | 537 | 2.1419 | 4.8348 | 11.2367
2012-05-01 |  |  | 4.2765 | 0.5 | 60 | 208 |  | 30 | 204 | 0.4103 | 4.6868 | 14.7131
2012-06-01 |  |  | 2.7475 | 0.1 | 128 | 121 |  | 116 | 87 | -0.1981 | 2.5494 | 8.9691
2012-07-01 |  |  | 4.2048 | 0 | 291 | 22 |  | 284 | 3 | -0.6349 | 3.5699 | 13.3793
[11 empty] | 61.0846 | 153.2895
59.3594
-2.906%
Note on M7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month