## Pre-retrofit
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
Electricity data from application probably just for units 2 and 3; may have to use BEopt model for electricity usage
Pre-retrofit Gas Usage from National Grid | [8 empty] | Pre-retrofit Electricity usage from application for Units 2 &3 |  |  |  |  | Aug 9 - Jul 10 grid and Mar 10 - Feb 11 Freewatt |  |  |  |  | 2008-11-18 | 2008-12-17 | 29 | 3 | 2008-11-18 | 2008-12-17 | 29 | 252
| #1 therms | #2 therms | #3therms | total | site Mbtu | src Mbtu | site kWh | src kWh |  | Unit1 | Units 2&3 | Freewatt | Total kwh | site kwh | src kwh | site Mbtu | src Mbtu | HDD | 2008-12-17 | 2009-01-21 | 35 | 4 | 2008-12-17 | 2009-01-21 | 35 | 392
2009-08-01 | 3 | 30 | 3 | 36 | 3.6 | 3.7692 | 1054.7905 | 1104.3657 | 2009-08-01 | 170 | 500 |  | 670 | 706 | 2358.04 | 2.4096 | 8.048 | 0 | 2009-01-21 | 2009-02-19 | 29 | 4 | 2009-01-21 | 2009-02-19 | 29 | 307
2009-09-01 | 4 | 40 | 4 | 48 | 4.8 | 5.0256 | 1406.3873 | 1472.4875 | 2009-09-01 |  | 482 |  | 482 | 539 | 1800.26 | 1.8396 | 6.1443 | 0 | 2009-02-19 | 2009-03-18 | 27 | 3 | 2009-02-19 | 2009-03-18 | 27 | 245
2009-10-01 | 4 | 87 | 4 | 95 | 9.5 | 9.9465 | 2783.4749 | 2914.2983 | 2009-10-01 |  | 362 |  | 362 | 444 | 1482.96 | 1.5154 | 5.0613 | 412 | 2009-03-18 | 2009-04-17 | 30 | 3 | 2009-03-18 | 2009-04-17 | 30 | 186
2009-11-01 | 4 | 127 | 4 | 135 | 13.5 | 14.1345 | 3955.4644 | 4141.3712 | 2009-11-01 |  | 267 |  | 267 | 532 | 1776.88 | 1.8157 | 6.0645 | 485 | 2009-04-17 | 2009-05-20 | 33 | 4 | 2009-04-17 | 2009-05-20 | 33 | 86
2009-12-01 | 3 | 222 | 3 | 228 | 22.8 | 23.8716 | 6680.3399 | 6994.3159 | 2009-12-01 |  | 154 |  | 154 | 766 | 2558.44 | 2.6144 | 8.732 | 988 | 2009-05-20 | 2009-06-18 | 29 | 3 | 2009-05-20 | 2009-06-18 | 29 | 43
2010-01-01 | 5 | 367 | 5 | 377 | 37.7 | 39.4719 | 11046.0006 | 11565.1626 | 2010-01-01 |  | 334 |  | 334 | 1053 | 3517.02 | 3.5939 | 12.0036 | 1096 | 2009-06-18 | 2009-07-22 | 34 | 4 | 2009-06-18 | 2009-07-22 | 34 | 45
2010-02-01 | 3 | 296 | 3 | 302 | 30.2 | 31.6194 | 8848.5204 | 9264.4008 | 2010-02-01 |  | 229 |  | 229 | 799 | 2668.66 | 2.727 | 9.1081 | 901 | 2009-07-22 | 2009-08-19 | 28 | 3 | 2009-07-22 | 2009-08-19 | 28 | 30
2010-03-01 | 4 | 225 | 4 | 233 | 23.3 | 24.3951 | 6826.8386 | 7147.7 | 2010-03-01 |  | 22 | 466 | 22 | 488 | 1629.92 | 1.6655 | 5.5629 | 658 | 2009-08-19 | 2009-09-21 | 33 | 4 | 2009-08-19 | 2009-09-21 | 33 | 40
2010-04-01 | 4 | 134 | 4 | 142 | 14.2 | 14.8674 | 4160.5626 | 4356.109 | 2010-04-01 |  | 102 | 374 | 102 | 476 | 1589.84 | 1.6246 | 5.4261 | 385 | 2009-09-21 | 2009-10-19 | 28 | 4 | 2009-09-21 | 2009-10-19 | 28 | 87
2010-05-01 | 3 | 94 | 3 | 100 | 10 | 10.47 | 2929.9736 | 3067.6824 | 2010-05-01 |  | 217 | 253 | 217 | 470 | 1569.8 | 1.6041 | 5.3577 | 172 | 2009-10-19 | 2009-11-18 | 30 | 4 | 2009-10-19 | 2009-11-18 | 30 | 127
2010-06-01 | 4 | 40 | 4 | 48 | 4.8 | 5.0256 | 1406.3873 | 1472.4875 | 2010-06-01 |  | 317 | 122 | 317 | 439 | 1466.26 | 1.4983 | 5.0043 | 42 | 2009-11-18 | 2009-12-18 | 30 | 3 | 2009-11-18 | 2009-12-18 | 30 | 222
2010-07-01 | 4 | 29 | 4 | 37 | 3.7 | 3.8739 | 1084.0902 | 1135.0425 | 2010-07-01 |  | 429 | 51 | 429 | 480 | 1603.2 | 1.6382 | 5.4717 | 3 | 2009-12-18 | 2010-01-20 | 33 | 5 | 2009-12-18 | 2010-01-20 | 33 | 367
2010-08-01 | 3 | 26 | 3 | 32 | 3.2 | 3.3504 | 937.5916 | 981.6584 | 2010-08-01 |  |  | 36 | [5 empty] | 10 | 2010-01-20 | 2010-02-17 | 28 | 3 | 2010-01-20 | 2010-02-17 | 28 | 296
2010-09-01 | 4 | 39 | 4 | 47 | 4.7 | 4.9209 | 1377.0876 | 1441.8107 | 2010-09-01 |  |  | 57 | [5 empty] | 55 | 2010-02-17 | 2010-03-17 | 28 | 4 | 2010-02-17 | 2010-03-17 | 28 | 225
2010-10-01 | 4 | 55 | 4 | 63 | 6.3 | 6.5961 | 1845.8834 | 1932.6399 | 2010-10-01 |  |  | 82 | [5 empty] | 320 | 2010-03-17 | 2010-04-17 | 31 | 4 | 2010-03-17 | 2010-04-17 | 31 | 134
2010-11-01 | 5 | 173 | 5 | 183 | 18.3 | 19.1601 | 5361.8517 | 5613.8588 | 2010-11-01 |  | -139 | 404 | [5 empty] | 608 | 2010-04-17 | 2010-05-17 | 30 | 3 | 2010-04-17 | 2010-05-17 | 30 | 94
2010-12-01 |  |  |  | 0 |  |  |  |  | 2010-12-01 |  | -36 | 648 | [5 empty] | 1010 | 2010-05-17 | 2010-06-15 | 29 | 4 | 2010-05-17 | 2010-06-15 | 29 | 40
[9 empty] | 2011-01-01 |  |  | 719 | [5 empty] | 1154 | 2010-06-15 | 2010-07-16 | 31 | 4 | 2010-06-15 | 2010-07-16 | 31 | 29
[9 empty] | 2011-02-01 |  |  | 570 | [5 empty] | 964 | 2010-07-16 | 2010-08-16 | 31 | 3 | 2010-07-16 | 2010-08-16 | 31 | 26
[18 empty] | 813 | 2010-08-16 | 2010-09-17 | 32 | 4 | 2010-08-16 | 2010-09-17 | 32 | 39
|  |  |  | 1781 |  | 186.4707 | [7 empty] | 7192 | 24021.28 |  | 81.9846 |  | 2010-09-17 | 2010-10-15 | 28 | 4 | 2010-09-17 | 2010-10-15 | 28 | 55
[19 empty] | 2010-10-15 | 2010-11-15 | 31 | 5 | 2010-10-15 | 2010-11-15 | 31 | 173
PRE-RETROFIT FROM INFORMATION PROVIDED BY CLIENT
|  |  |  | therms (site) |  |  |  | site kwh from gas |  | site kwh from grid
|  | Natural Gas |  | 1781 |  |  | Electricity | 3607 |  | 3585 |  | Total kwh | 7192
[9 empty] | site kwh | src kwh |  | site MBtu | src Mbtu
[7 empty] | Aug 09- Jul 10 |  | 59374.8304 | 78656.7034 |  | 202.6463 | 268.4553
PRE-RETROFIT FROM BEOPT : National Grid/Buhs Jamaica Plain/Testing and Analysis/BEopt modeling/1-3 Buhs I.bpj
NOT USED
|  |  |  | therms (site) |  |  |  | site kwh
|  | Natural Gas |  | 2192 |  |  | Electricity | 10051
WEATHER NORMALIZATION
Predicted (BEopt 1.3) BOSTON
|  | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD
WEATHER NORMALIZED TOTAL IN MMBtus
| Used Oct 09 thru Sep 10 for gas |  |  |  | Normalized |  |  | Normalized | Unnormalized
| HDD's start at Oct 09 |  |  |  | Gas Site | Src |  | Src Gas | Src Elect | Total Normalized Src
| 2009-10-01 |  | 9 | 348 | 12.4619 | 13.0476 |  | 201.4018 | 81.9846 | 283.3864
| 2009-11-01 |  | 0 | 652 | 20.7003 | 21.6732
| 2009-12-01 |  | 0 | 902 | 27.4753 | 28.7666
| 2010-01-01 |  | 0 | 1189 | 35.253 | 36.9099
| 2010-02-01 |  | 0 | 950 | 28.7761 | 30.1286
| 2010-03-01 |  | 0 | 813 | 25.0634 | 26.2414
| 2010-04-01 |  | 9 | 537 | 17.5838 | 18.4102
| 2010-05-01 |  | 30 | 204 | 8.5595 | 8.9618
| 2010-06-01 |  | 116 | 87 | 5.3888 | 5.6421
| 2010-07-01 |  | 284 | 3 | 3.1124 | 3.2587
| 2010-08-01 |  | 193 | 5 | 3.1666 | 3.3154
| 2010-09-01 |  | 53 | 66 | 4.8197 | 5.0462
Note on D10: Cathy: Since no info was given, use same as unit #1 (heating and DHW is part of Unit #2)
Note on M10: Cathy: This is for 3/10 - 2/11, but is only info available - se 61 Hampstead Road usage and Buhs - Thomson freewatt data 2-7-2010 - 2-7-2011
Note on N10: Cathy: This is grid only electricity
Note on O10: Cathy: This combines grid with Freewatt but maps Aug 10 - Feb 11 of Freewatt to Aug 09 - Feb 10
Note on K11: Cathy: Edith Buhs only provided the full year of data for Apt 1: (see 61 Hampstead electricity use)
Note on J55: Cathy: Use total from Pre-retrofit; months do not matter for this calculation

## Gas
Jamaica Plain 3 Family
| Buhs |  |  |  |  | 2010-11-15 | 2010-12-14 | 29 | 3 | 2010-11-15 | 2010-12-14 | 29 | 249 | 2011-12-02 | 2011-12-14 | 12 | 1
Month starting |  |  |  |  | Boston | 2010-12-14 | 2011-01-13 | 30 | 4 | 2010-12-14 | 2011-01-13 | 30 | 358 | 2011-12-14 | 2012-01-17 | 34 | 3
| #1 therms | #2 therms | #3 therms | Total therms | HDD | 2011-01-13 | 2011-02-11 | 29 | 4 | 2011-01-13 | 2011-02-11 | 29 | 366 | 2012-01-17 | 2012-02-13 | 27 | 3
2010-12-01 | 3 | 249 | 3 | 255 | 1154 | 2011-02-11 | 2011-03-15 | 32 | 4 | 2011-02-11 | 2011-03-15 | 32 | 304 | 2012-02-13 | 2012-03-14 | 30 | 3
2011-01-01 | 4 | 358 | 4 | 366 | 964 | 2011-03-15 | 2011-04-14 | 30 | 4 | 2011-03-15 | 2011-04-14 | 30 | 207 | 2012-03-14 | 2012-04-17 | 34 | 2
2011-02-01 | 4 | 366 | 4 | 374 | 813 | 2011-04-14 | 2011-05-16 | 32 | 4 | 2011-04-14 | 2011-05-16 | 32 | 49 | 2012-04-17 | 2012-05-15 | 28 | 3
2011-03-01 | 4 | 304 | 4 | 312 | 468 | 2011-05-16 | 2011-06-14 | 29 | 3 | 2011-05-16 | 2011-06-14 | 29 | 27 | 2012-05-15 | 2012-06-14 | 30 | 2
2011-04-01 | 4 | 207 | 4 | 215 | 255 | 2011-06-14 | 2011-07-18 | 34 | 4 | 2011-06-14 | 2011-07-18 | 34 | 26 | 2012-06-14 | 2012-07-16 | 32 | 2
2011-05-01 | 4 | 49 | 4 | 57 | 75 | 2011-07-18 | 2011-08-16 | 29 | 4 | 2011-07-18 | 2011-08-16 | 29 | 18 | 2012-07-16 | 2012-08-15 | 30 | 1
2011-06-01 | 3 | 27 | 3 | 33 | 0 | 2011-08-16 | 2011-09-16 | 31 | 4 | 2011-08-16 | 2011-09-16 | 31 | 34
2011-07-11 | 4 | 26 | 4 | 34 | 2 | 2011-09-16 | 2011-10-13 | 27 | 4 | 2011-09-16 | 2011-10-13 | 27 | 30
2011-08-11 | 4 | 18 | 4 | 26 | 57 | 2011-10-13 | 2011-11-15 | 33 | 4 | 2011-10-13 | 2011-11-15 | 33 | 57
2011-09-11 | 4 | 34 | 4 | 42 | 267 | 2011-11-15 | 2011-12-14 | 29 | 4 | 2011-11-15 | 2011-12-14 | 29 | 68
2011-10-11 | 4 | 30 | 4 | 38 | 449 | 2011-12-14 | 2012-01-17 | 34 | 4 | 2011-12-14 | 2012-01-17 | 34 | 143
2011-11-11 | 4 | 57 | 4 | 65 | 764 | 2012-01-17 | 2012-02-13 | 27 | 4 | 2012-01-17 | 2012-02-13 | 27 | 103
2011-12-11 | 4 | 68 | 1 | 73 | 959 | 2012-02-13 | 2012-03-14 | 30 | 4 | 2012-02-13 | 2012-03-14 | 30 | 96
2012-01-12 | 4 | 143 | 3 | 150 | 801 | 2012-03-14 | 2012-04-17 | 34 | 4 | 2012-03-14 | 2012-04-17 | 34 | 66
2012-02-01 | 4 | 103 | 3 | 110 | 608 | 2012-04-17 | 2012-05-15 | 28 | 3 | 2012-04-17 | 2012-05-15 | 28 | 43
2012-03-01 | 4 | 96 | 3 | 103 | 398 | 2012-05-15 | 2012-06-14 | 30 | 4 | 2012-05-15 | 2012-06-14 | 30 | 33
2012-04-01 | 4 | 66 | 2 | 72 | 204 | 2012-06-14 | 2012-07-16 | 32 | 4 | 2012-06-14 | 2012-07-16 | 32 | 25
2012-05-01 | 3 | 43 | 3 | 49 | 94 | 2012-07-16 | 2012-08-15 | 30 | 4 | 2012-07-16 | 2012-08-15 | 30 | 26
2012-06-01 | 4 | 33 | 2 | 39 | 2
2012-07-01 | 4 | 25 | 2 | 31 | 2
2012-08-01 | 4 | 26 | 1 | 31 | 0
|  |  |  | 0 | 0
Note on D5: Cathy: For Dec 10 through Nov 11, nothing given so assumed same usage as #3

## Elec
There are three apartments at the Jamaica Plain home
Buhs - Nstar
| Electricity used |  |  | (negative)
| Unit 1 | Units 2&3 | Electric Consumption (kWh) | FreeWatt Production | HDD | CDD
Month Starting
2011-01-01 |  |  | 0 |  | 964 | 0
2011-02-01 |  |  | 0 |  | 813 | 1
2011-03-01 |  |  | 0 |  | 468 | 8
2011-04-01 |  |  | 0 |  | 255 | 50
2011-05-01 |  |  | 0 |  | 75 | 130
2011-06-01 |  |  | 0 |  | 0 | 374
2011-07-07 |  |  | 0 |  | 2 | 260 | Retrofit Completed
2011-08-09 | 18.75 | 514 | 568.75 | -36 | 57 | 115
2011-09-08 | 18.75 | 426 | 501.75 | -57 | 267 | 29
2011-10-07 | 18.75 | 385 | 485.75 | -82 | 449 | 1
2011-11-08 | 18.75 | 177 | 498.99 | -303.24 | 764 | 0
2011-12-08 | 18.75 | -134 | 532.27 | -647.52 | 959 | 0
2012-01-10 | 18.75 | 34 | 651.25 | -598.5 | 801 | 0
2012-02-08 | 18.75 | 30 | 442.05 | -393.3 | 608 | 18
2012-03-09 | 18.75 | 183 | 491.69 | -289.94 | 398 | 25
2012-04-06 | 18.75 | 170 | 478.69 | -289.94 | 204 | 42
2012-05-09 | 18.75 | 282 | 590.69 | -289.94 | 94 | 142
2012-06-08 | 18.75 | 311 | 451.75 | -122 | 2 | 304
2012-07-10 | 18.75 | 390 | 459.75 | -51 | 2 | 293
2012-08-01 |  |  | 0
Freewatt information (2012-09-21 email and Buhs Thomson freewatt data - 2-7-2010 - 2-7-2011
|  |  |  | MCHP Power Output |  |  | 1.2 | kW per hour
|  |  |  | MCHP Power Output Factor |  |  | 0.95
| cum hrs | hrs | kw hours |  |  | per HDD
2011-02-01 | 6173
2011-08-09 |  |  | 36
2011-09-08 |  |  | 57
2011-10-07 | 6499 |  | 82
2011-11-08 | 6765 | 266 | 303.24 |  |  | 0.39691
2011-12-08 | 7333 | 568 | 647.52 |  |  | 0.6752
2012-01-10 | 7858 | 525 | 598.5 |  |  | 0.74719
2012-02-08 | 8203 | 345 | 393.3 |  |  | 0.64687
2012-03-09
2012-04-06
2012-05-09 | 8966 | 763 | 869.82 |  |  | 1.2497
2012-06-08 |  |  | 122
2012-07-10 |  |  | 51
Note on B14: Cathy: Edith was only able to give approx 225 kwh for the yr Jun 10 - May 12; I assumed this was constant and applied it to the current year.
Note on D35: Cathy: Used Freewatt info from 2010 because nothing was provided by client
Note on D36: Cathy: Used Freewatt info from 2010 because nothing was provided by client
Note on D37: Cathy: Used Freewatt info from 2010 because nothing was provided by client
Note on D45: Cathy: Used Freewatt info from 2011 because nothing was provided by client
Note on D46: Cathy: Used info from 2010 because nothing was provided by client

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[20 empty] | Total kwh |  |  | Total Mbtu
|  | Natural Gas | [5 empty] | Electricity used |  | site KWH |  |  | src if no FW | src w FW | site Mbtu | src no FW | src w FW
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | Unit 1 | Units 2&3 | Electric Consumption (kWh) | Freewatt production | site kWh excluding gen + used | kWh |  |  | Mbtu | Mbtu | HDD | CDD | site | src no FW | src w FW | site | src no FW | src w FW
| 2011-01-01 | 366 | 36.6 | 38.3202 | 10723.7035 | 11227.7176 | 2011-01-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 964 | 0 | 10723.7035 | 11227.7176 |  | 36.6 | 38.3202
| 2011-02-01 | 374 | 37.4 | 39.1578 | 10958.1014 | 11473.1321 | 2011-02-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 813 | 1 | 10958.1014 | 11473.1321 |  | 37.4 | 39.1578
| 2011-03-01 | 312 | 31.2 | 32.6664 | 9141.5177 | 9571.1691 | 2011-03-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 468 | 8 | 9141.5177 | 9571.1691 |  | 31.2 | 32.6664
| 2011-04-01 | 215 | 21.5 | 22.5105 | 6299.4433 | 6595.5171 | 2011-04-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 255 | 50 | 6299.4433 | 6595.5171 |  | 21.5 | 22.5105
| 2011-05-01 | 57 | 5.7 | 5.9679 | 1670.085 | 1748.579 | 2011-05-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 75 | 130 | 1670.085 | 1748.579 |  | 5.7 | 5.9679
| 2011-06-01 | 33 | 3.3 | 3.4551 | 966.8913 | 1012.3352 | 2011-06-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 374 | 966.8913 | 1012.3352 |  | 3.3 | 3.4551
| 2011-07-11 | 34 | 3.4 | 3.5598 | 996.191 | 1043.012 | 2011-07-01 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 2 | 260 | 996.191 | 1043.012 |  | 3.4 | 3.5598
| 2011-08-11 | 26 | 2.6 | 2.7222 | 761.7931 | 797.5974 | 2011-08-01 | 18.75 | 514 | 568.75 | 36 | 532.75 | 1899.625 | 1815.385 | 1.9411 | 6.4834 | 6.1959 | 57 | 115 | 1330.5431 | 2697.2224 | 2612.9824 | 4.5411 | 9.2056 | 8.9181
| 2011-09-11 | 42 | 4.2 | 4.3974 | 1230.5889 | 1288.4266 | 2011-09-01 | 18.75 | 426 | 501.75 | 57 | 444.75 | 1675.845 | 1542.465 | 1.7125 | 5.7197 | 5.2644 | 267 | 29 | 1732.3389 | 2964.2716 | 2830.8916 | 5.9125 | 10.1171 | 9.6618
| 2011-10-11 | 38 | 3.8 | 3.9786 | 1113.39 | 1165.7193 | 2011-10-01 | 18.75 | 385 | 485.75 | 82 | 403.75 | 1622.405 | 1430.525 | 1.6579 | 5.5373 | 4.8824 | 449 | 1 | 1599.14 | 2788.1243 | 2596.2443 | 5.4579 | 9.5159 | 8.861
| 2011-11-11 | 65 | 6.5 | 6.8055 | 1904.4829 | 1993.9936 | 2011-11-01 | 18.75 | 177 | 498.99 | 303.24 | 195.75 | 1666.6266 | 957.045 | 1.7031 | 5.6882 | 3.2664 | 764 | 0 | 2403.4729 | 3660.6202 | 2951.0386 | 8.2031 | 12.4937 | 10.0719
| 2011-12-11 | 73 | 7.3 | 7.6431 | 2138.8808 | 2239.4081 | 2011-12-01 | 18.75 | -134 | 532.27 | 647.52 | -115.25 | 1777.7818 | 262.585 | 1.8166 | 6.0676 | 0.8962 | 959 | 0 | 2671.1508 | 4017.1899 | 2501.9931 | 9.1166 | 13.7107 | 8.5393
| 2012-01-12 | 150 | 15 | 15.705 | 4394.9604 | 4601.5236 | 2012-01-01 | 18.75 | 34 | 651.25 | 598.5 | 52.75 | 2175.175 | 774.685 | 2.2227 | 7.4239 | 2.644 | 801 | 0 | 5046.2104 | 6776.6986 | 5376.2086 | 17.2227 | 23.1289 | 18.349
| 2012-02-01 | 110 | 11 | 11.517 | 3222.971 | 3374.4506 | 2012-02-01 | 18.75 | 30 | 442.05 | 393.3 | 48.75 | 1476.447 | 556.125 | 1.5087 | 5.0391 | 1.8981 | 608 | 18 | 3665.021 | 4850.8976 | 3930.5756 | 12.5087 | 16.5561 | 13.4151
| 2012-03-01 | 103 | 10.3 | 10.7841 | 3017.8728 | 3159.7129 | 2012-03-01 | 18.75 | 183 | 491.69 | 289.94 | 201.75 | 1642.2446 | 963.785 | 1.6781 | 5.605 | 3.2894 | 398 | 25 | 3509.5628 | 4801.9575 | 4123.4979 | 11.9781 | 16.3891 | 14.0735
| 2012-04-01 | 72 | 7.2 | 7.5384 | 2109.581 | 2208.7313 | 2012-04-01 | 18.75 | 170 | 478.69 | 289.94 | 188.75 | 1598.8246 | 920.365 | 1.6338 | 5.4568 | 3.1412 | 204 | 42 | 2588.271 | 3807.5559 | 3129.0963 | 8.8338 | 12.9952 | 10.6796
| 2012-05-01 | 49 | 4.9 | 5.1303 | 1435.6871 | 1503.1644 | 2012-05-01 | 18.75 | 282 | 590.69 | 289.94 | 300.75 | 1972.9046 | 1294.445 | 2.016 | 6.7335 | 4.4179 | 94 | 142 | 2026.3771 | 3476.069 | 2797.6094 | 6.916 | 11.8638 | 9.5482
| 2012-06-01 | 39 | 3.9 | 4.0833 | 1142.6897 | 1196.3961 | 2012-06-01 | 18.75 | 311 | 451.75 | 122 | 329.75 | 1508.845 | 1223.365 | 1.5418 | 5.1497 | 4.1753 | 2 | 304 | 1594.4397 | 2705.2411 | 2419.7611 | 5.4418 | 9.233 | 8.2586
| 2012-07-11 | 31 | 3.1 | 3.2457 | 908.2918 | 950.9815 | 2012-07-01 | 18.75 | 390 | 459.75 | 51 | 408.75 | 1535.565 | 1416.225 | 1.5691 | 5.2409 | 4.8336 | 2 | 293 | 1368.0418 | 2486.5465 | 2367.2065 | 4.6691 | 8.4866 | 8.0793
| 2012-08-11 | 31 | [7 empty] | 6 mo | 1436.12 | 2993 |  | 6 mo | 9.9476 | 33.225 | 21.7555
|  | 6 mo | 40.4 | 42.2988 | [6 empty] | 4.9015 | 1478.5 |  | 12 mo | 21.0015 | 70.145
|  | 12 mo | 79.8 | 83.5506
MIN USAGE (6 mos)
|  | 31 | 3.1 | 3.2457 | [5 empty] | 442.05 |  |  | 1476.447 |  | 1.5087 | 5.0391 | [6 empty] | 4.6087 | 8.2848
MIN USAGE (12 mos data so average 2 lowest)
|  | 28.5 | 2.85 | 2.984 | 835.0425 | 874.2895 |  |  |  | 446.9 |  |  | 1492.646 |  | 1.5253 | 5.0944 |  |  |  | 1281.9425 | 2366.9355 |  | 4.3753 | 8.0784
|  | 26 | [7 empty] | 442.05
|  | 31 | [7 empty] | 451.75 | [9 empty] | site kwh | source kwh | src kwh | site Mbtu | source Mbtu | src Mbtu
[21 empty] | no FW | w FW |  | no FW | w FW
|  | 404 | [7 empty] | 2914.62 | [8 empty] | Totals 12 months | 29534.5696 | 45032.3947 | 37637.1055 | 100.8015 | 153.6956 | 128.4554
|  | 798 | [7 empty] | 6153.38
[19 empty] | Totals 6 months | 14751.7135 | 22128.2677 | 18767.7469 | 50.3476 | 75.5238 | 64.0543
12 mo MMBtu |  |  |  | 83.5506 | [8 empty] | 70.145

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | HDD | % Estimated
2009-10-01 | 412 | 0.03
2009-11-01 | 485 | 0
2009-12-01 | 988 | 0
2010-01-01 | 1096 | 0
2010-02-01 | 901 | 0
2010-03-01 | 658 | 0
2010-04-01 | 385 | 0
2010-05-01 | 172 | 0.1
2010-06-01 | 42 | 0
2010-07-01 | 3 | 0.1
2010-08-01 | 10 | 0.2
2010-09-01 | 55 | 0
2010-10-01 | 320 | 0.06
2010-11-01 | 608 | 0.03
2010-12-01 | 1010 | 0.2
2011-01-01 | 1154 | 0
2011-02-01 | 964 | 0
2011-03-01 | 813 | 0
2011-04-01 | 468 | 0.03
2011-05-01 | 255 | 0.03
2011-06-01 | 75 | 0
2011-07-01 | 0 | 0.03
2011-08-01 | 2 | 0
2011-09-01 | 57 | 0.07
2011-10-01 | 267 | 0
2011-11-01 | 449 | 0
2011-12-01 | 764 | 0
2012-01-01 | 959 | 0
2012-02-01 | 801 | 0
2012-03-01 | 608 | 0
2012-04-01 | 398 | 0.03
2012-05-01 | 204 | 0
2012-06-01 | 94 | 0.03
2012-07-01 | 2 | 0.2
2012-08-01 | 2 | 0

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | CDD | % Estimated
2010-08-01 | 263 | 0.2
2010-09-01 | 151 | 0
2010-10-01 | 18 | 0.06
2010-11-01 | 0 | 0.03
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 1 | 0
2011-04-01 | 8 | 0.03
2011-05-01 | 50 | 0.03
2011-06-01 | 130 | 0
2011-07-01 | 374 | 0.03
2011-08-01 | 260 | 0
2011-09-01 | 115 | 0.07
2011-10-01 | 29 | 0
2011-11-01 | 1 | 0
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0
2012-03-01 | 18 | 0
2012-04-01 | 25 | 0.03
2012-05-01 | 42 | 0
2012-06-01 | 142 | 0.03
2012-07-01 | 304 | 0.2
2012-08-01 | 293 | 0

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | Boston, MA, US (71.00W,42.36N) |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD |  | BEopt 1.3 CDD | BEopt 1.3 HDD
|  |  | Electricity | Natural Gas | [5 empty] | Normalized | Normalized | Normalized
[10 empty] | Nat Gas | site | Source
2011-07-11 |  |  | 0 | 3.4 | 374 | 0 |  | 284 | 3
2011-08-11 |  |  | 1.9411 | 2.6 | 260 | 2 |  | 193 | 5 | 2.7078 | 4.6489 | 9.3185
2011-09-11 |  |  | 1.7125 | 4.2 | 115 | 57 |  | 53 | 66 | 3.3422 | 5.0547 | 9.2189
2011-10-11 |  |  | 1.6579 | 3.8 | 29 | 267 |  | 9 | 348 | 6.275 | 7.9329 | 12.1072
2011-11-11 |  |  | 1.7031 | 6.5 | 1 | 449 |  | 0 | 652 | 9.4366 | 11.1397 | 15.5683
2011-12-11 |  |  | 1.8166 | 7.3 | 0 | 764 |  | 0 | 902 | 12.0366 | 13.8532 | 18.6699
2012-01-12 |  |  | 2.2227 | 15 | 0 | 959 |  | 0 | 1189 | 15.0214 | 17.2441 | 23.1513
2012-02-01 |  |  | 1.5087 | 11 | 0 | 801 |  | 0 | 950 | 12.5358 | 14.0445 | 18.1641
2012-03-01 |  |  | 1.6781 | 10.3 | 18 | 608 |  | 0 | 813 | 11.111 | 12.7891 | 17.2382
2012-04-01 |  |  | 1.6338 | 7.2 | 25 | 398 |  | 9 | 537 | 8.2406 | 9.8744 | 14.0847
2012-05-01 |  |  | 2.016 | 4.9 | 42 | 204 |  | 30 | 204 | 4.7774 | 6.7934 | 11.7355
2012-06-01 |  |  | 1.5418 | 3.9 | 142 | 94 |  | 116 | 87 | 3.5606 | 5.1024 | 8.8776
2012-07-11 |  |  | 1.5691 | 3.1 | 304 | 2 |  | 284 | 3 | 2.687 | 4.2561 | 8.0542
[11 empty] | 112.7335 | 166.1884
100.8015
-11.84%
Note on M7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month