## Pre-Retrofit
Clark Propane Deliveries
Del date | # of gals |  | fuel per day before delivery |  |  | Propane use per month pre retrofit -- USE OCT 08-SEP 09 to minimize overlap with construction given the available data | [10 empty] | FOR 2012 REPORT, USE OCT 08 - SEP 09 TO MINIMIZE OVERLAP WITH CONSTRUCTION
2008-09-12 | 18.1 | [15 empty] | Pre retrofit electricity data
2008-12-15 | 24.8 |  | 0.26383 | [13 empty] | Meter read date |  | kwh
2009-02-17 | 40.7 |  | 0.63594 | [13 empty] | From application
2009-04-14 | 32.7 |  | 0.58393 |  |  | 2008-07-31 | [10 empty] | 2008-06-23
2009-06-11 | 30.1 |  | 0.51897 |  |  | 2008-08-31 | [10 empty] | 2008-07-23 |  | 40
2010-01-28 | 79.9 |  | 0.34589 |  |  | 2008-09-30 | [10 empty] | 2008-08-23 |  | 41
2010-03-16 | 102.2 |  | 2.1745 |  |  | 2008-10-31 | 8.1787 | [9 empty] | 2008-09-23 |  | 29
2010-05-19 | 43.7 |  | 0.68281 |  |  | 2008-11-30 | 7.9149 | [9 empty] | 2008-10-23 |  | 36
2010-07-22 | 11.3 |  | 0.17656 |  |  | 2008-12-31 | 14.1324 | [9 empty] | 2008-11-23 |  | 14
2010-10-20 | 34 |  | 0.37778 |  |  | 2009-01-31 | 19.7141 | [9 empty] | 2008-12-23 |  | 54
2010-12-15 | 86 |  | 1.5357 |  |  | 2009-02-28 | 17.2342 | [9 empty] | 2009-01-23 |  | 898
2011-01-18 | 84 |  | 2.4706 |  |  | 2009-03-31 | 18.1018 | [9 empty] | 2009-02-23 |  | 687
2011-02-15 | 65 |  | 2.3214 |  |  | 2009-04-30 | 16.4784 | [9 empty] | 2009-03-25 |  | 93
2011-03-23 | 62.2 |  | 1.7278 |  |  | 2009-05-31 | 16.0879 | [9 empty] | 2009-04-22 |  | 73
2011-05-06 | 38.4 |  | 0.87273 |  |  | 2009-06-30 | 12.2805 | [9 empty] | 2009-05-22 |  | 68
2011-08-02 | 20.6 |  | 0.23409 |  |  | 2009-07-31 | 10.7225 | [9 empty] | 2009-06-24 |  | 46
2011-11-18 | 57.7 |  | 0.53426 |  |  | 2009-08-31 | 10.7225 | [9 empty] | From 2011 National Grid info
2012-01-06 | 88.8 |  | 1.8122 |  |  | 2009-09-30 | 10.3766 |  |  |  | Total gal | 161.9446 |  |  |  |  | 2009-07-31 |  | 43
2012-02-03 | 63.4 |  | 2.2643 |  |  | 2009-10-31 | 10.7225 | [9 empty] | 2009-08-31 |  | 55
2012-02-28 | 49.1 |  | 1.964 |  |  | 2009-11-30 | 10.3766 | [9 empty] | 2009-09-30 |  | 72 | Total kwh | 2139
2012-04-12 | 51.2 |  | 1.1636 |  |  | 2009-12-31 | 10.7225 | [9 empty] | 2009-10-31 |  | 38
2012-07-26 | 23.6 |  | 0.22476 | [13 empty] | 2009-11-30 |  | 510
[17 empty] | 2009-12-31 |  | 581
[17 empty] | 2010-01-22 |  | 1715
[17 empty] | 2010-02-23 |  | 323
103.5
128.3
PRE_RETROFIT
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
|  | propane gal to Mbtu |  | 0.091648
|  | cord wd to Mbtu |  | 24.5 | Taken from 2011 NREL report
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047 |  |  |  |  | Distributed wood use based on HDD
| propane source/site |  |  | 1.01 | [15 empty] | Total kwh |  |  | Total Mbtu
|  | Propane used | [6 empty] | Wood used |  |  |  | Electricity used | source KWH | site Mbtu | source Mbtu
|  | Gallons | site Mbtu | source Mbtu |  | site kwh | source kwh |  | (in cords) | site & source |  |  | site kwh |  |  |  | HDD | CDD |  | site | source |  | site | source
[10 empty] | Mbtu | kwh
| 2008-10-01 | 8.1787 | 0.74956 | 0.75706 |  | 219.6192 | 221.8154 |  | 0 | 0 | 0 | 2008-10-01 | 36 | 120.24 | 0.12287 | 0.41038 | 516 | 7 |  | 255.6192 | 342.0554 |  | 0.87243 | 1.1674
| 2008-11-01 | 7.9149 | 0.72538 | 0.73263 |  | 212.5347 | 214.6601 |  | 0.75 | 18.375 | 5383.8265 | 2008-11-01 | 14 | 46.76 | 0.047782 | 0.15959 | 773 | 0 |  | 5610.3613 | 5645.2466 |  | 19.1482 | 19.2672
| 2008-12-01 | 14.1324 | 1.2952 | 1.3082 |  | 379.4916 | 383.2865 |  | 1.5 | 36.75 | 10767.6531 | 2008-12-01 | 54 | 180.36 | 0.1843 | 0.61557 | 1059 | 0 |  | 11201.1447 | 11331.2996 |  | 38.2295 | 38.6737
| 2009-01-01 | 19.7141 | 1.8067 | 1.8248 |  | 529.372 | 534.6657 |  | 2.5 | 61.25 | 17946.0885 | 2009-01-01 | 898 | 2999.32 | 3.0649 | 10.2367 | 1407 | 0 |  | 19373.4604 | 21480.0742 |  | 66.1216 | 73.3115
| 2009-02-01 | 17.2342 | 1.5795 | 1.5953 |  | 462.7801 | 467.408 |  | 1.5 | 36.75 | 10767.6531 | 2009-02-01 | 687 | 2294.58 | 2.3447 | 7.8314 | 1017 | 0 |  | 11917.4332 | 13529.641 |  | 40.6742 | 46.1767
| 2009-03-01 | 18.1018 | 1.659 | 1.6756 |  | 486.0783 | 490.9391 |  | 0.75 | 18.375 | 5383.8265 | 2009-03-01 | 93 | 310.62 | 0.31741 | 1.0601 | 890 | 0 |  | 5962.9048 | 6185.3856 |  | 20.3514 | 21.1107
| 2009-04-01 | 16.4784 | 1.5102 | 1.5253 |  | 442.4876 | 446.9125 |  | 0 | 0 | 0 | 2009-04-01 | 73 | 243.82 | 0.24915 | 0.83216 | 478 | 40 |  | 515.4876 | 690.7325 |  | 1.7594 | 2.3575
| 2009-05-01 | 16.0879 | 1.4744 | 1.4892 |  | 432.0013 | 436.3213 |  | 0 | 0 | 0 | 2009-05-01 | 68 | 227.12 | 0.23208 | 0.77516 | 260 | 59 |  | 500.0013 | 663.4413 |  | 1.7065 | 2.2643
| 2009-06-01 | 12.2805 | 1.1255 | 1.1367 |  | 329.7617 | 333.0593 |  | 0 | 0 | 0 | 2009-06-01 | 46 | 153.64 | 0.157 | 0.52437 | 95 | 81 |  | 375.7617 | 486.6993 |  | 1.2825 | 1.6611
| 2009-07-01 | 10.7225 | 0.98269 | 0.99252 |  | 287.9263 | 290.8055 |  | 0 | 0 | 0 | 2009-07-01 | 43 | 143.62 | 0.14676 | 0.49018 | 52 | 159 |  | 330.9263 | 434.4255 |  | 1.1295 | 1.4827
| 2009-08-01 | 10.7225 | 0.98269 | 0.99252 |  | 287.9263 | 290.8055 |  | 0 | 0 | 0 | 2009-08-01 | 55 | 183.7 | 0.18771 | 0.62697 | 40 | 236 |  | 342.9263 | 474.5055 |  | 1.1704 | 1.6195
| 2009-09-01 | 10.3766 | 0.95099 | 0.9605 |  | 278.6383 | 281.4247 |  | 0 | 0 | 0 | 2009-09-01 | 72 | 240.48 | 0.24574 | 0.82076 | 200 | 63 |  | 350.6383 | 521.9047 |  | 1.1967 | 1.7813
|  | 161.9446 | 14.8418 | 14.9902 |  |  |  |  | 7 | 171.5 |  |  | 2139 |  | 7.3004 | 24.3834 |  |  |  | 56736.6652 | 61785.4113 |  | 193.6422 | 210.8736
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F | [15 empty] | 6787
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst) | [14 empty] | WEATHER NORMIZATION FOR PRE-RETROFIT
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N)
Station ID: | KBAF
Month starting | CDD | % Estimated
2008-09-01 | 90 | 0
2008-10-01 | 7 | 0
2008-11-01 | 0 | 0
2008-12-01 | 0 | 0
2009-01-01 | 0 | 0
2009-02-01 | 0 | 0
2009-03-01 | 0 | 0
2009-04-01 | 40 | 0.3
2009-05-01 | 59 | 0
2009-06-01 | 81 | 0
2009-07-01 | 159 | 0.5
2009-08-01 | 236 | 0
2009-09-01 | 63 | 2 | [14 empty] | NORMALIZATION ONLY NEEDS TO BE APPLIED TO WOOD AND ONLY FROM OCT - MAR | [7 empty] | WEATHER NORMALIZED PRE_RETROFIT
Predicted (BEopt 1.3) for Westfield Barnes
Description: | Fahrenheit-based heating degree days for a base temperature of 65F | [16 empty] | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD |  | NORMALIZED SITE |  |  | NORMALIZED SOURCE
Source: | www.degreedays.net (using temperature data from www.wunderground.com) | [19 empty] | Normalized |  |  | Normalized
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst) | [19 empty] | MMBtu | Non normalized |  | site total
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N) | [19 empty] | site wood | propane | electricity
Station ID: | KBAF | closest and best data to Belchertown, ma | [14 empty] | Oct |  | 6 | 422 | 0 | 0.74956 | 0.12287 | 0.87243 | 1.1674
[17 empty] | Nov |  | 0 | 757 | 14.6324 | 0.72538 | 0.047782 | 15.4056 | 15.5246
Month starting | HDD | % Estimated | [14 empty] | Dec |  | 0 | 1005 | 32.538 | 1.2952 | 0.1843 | 34.0175 | 34.4617
2008-09-01 | 150 | 0 | [14 empty] | Jan |  | 0 | 1481 | 66.9052 | 1.8067 | 3.0649 | 71.7768 | 78.9667
2008-10-01 | 516 | 0 | [14 empty] | Feb |  | 0 | 1121 | 40.9132 | 1.5795 | 2.3447 | 44.8374 | 50.3399
2008-11-01 | 773 | 0 | [14 empty] | Mar |  | 0 | 749 | 14.0548 | 1.659 | 0.31741 | 16.0312 | 16.7905
2008-12-01 | 1059 | 0 | [14 empty] | Apr |  | 0 | 566 | 0 | 1.5102 | 0.24915 | 1.7594 | 2.3575
2009-01-01 | 1407 | 0 | [14 empty] | May |  | 11 | 237 | 0 | 1.4744 | 0.23208 | 1.7065 | 2.2643
2009-02-01 | 1017 | 0 | [14 empty] | Jun |  | 109 | 82 | 0 | 1.1255 | 0.157 | 1.2825 | 1.6611
2009-03-01 | 890 | 0 | [14 empty] | Jul |  | 95 | 11 | 0 | 0.98269 | 0.14676 | 1.1295 | 1.4827
2009-04-01 | 478 | 0.3 | [14 empty] | Aug |  | 207 | 8 | 0 | 0.98269 | 0.18771 | 1.1704 | 1.6195
2009-05-01 | 260 | 0 | [14 empty] | Sep |  | 72 | 77 | 0 | 0.95099 | 0.24574 | 1.1967 | 1.7813
2009-06-01 | 95 | 0 | [17 empty] | 6516 |  |  |  | 191.1858 | 208.4172
2009-07-01 | 52 | 0.5
2009-08-01 | 40 | 0
2009-09-01 | 200 | 2

## Propane
| Belchertown Single Family |  |  | Propane gal t0 MMBtu |  | 0.091648
| Clark | Calculated by Month below
Westfield
| Gallons | MMBtu | HDD
Month Starting
2009-12-01 | 10.7225 | 0.98269 | 1125
2010-01-01 | 16.2083 | 1.4854 | 1199
2010-02-01 | 60.8851 | 5.58 | 997
2010-03-01 | 45.0337 | 4.1272 | 698
2010-04-01 | 20.4844 | 1.8773 | 404
2010-05-01 | 15.0922 | 1.3832 | 216
2010-06-01 | 5.2969 | 0.48545 | 63
2010-07-01 | 7.2844 | 0.6676 | 20
2010-08-01 | 11.7111 | 1.0733 | 33
2010-09-01 | 11.3333 | 1.0387 | 98
2010-10-01 | 24.4484 | 2.2406 | 407
2010-11-01 | 46.0714 | 4.2223 | 708
2010-12-01 | 62.5651 | 5.7339 | 1130
2011-01-01 | 74.6492 | 6.8414 | 1309
2011-02-01 | 57.2825 | 5.2498 | 1080
2011-03-01 | 46.7207 | 4.2818 | 883
2011-04-01 | 26.1818 | 2.3995 | 471
2011-05-01 | 11.0886 | 1.0162 | 189
2011-06-01 | 7.0227 | 0.64362 | 69
2011-07-01 | 7.2568 | 0.66507 | 16
2011-08-01 | 8.9087 | 0.81646 | 34
2011-09-01 | 10.4682 | 0.95939 | 87
2011-10-01 | 23.5526 | 2.1585 | 429
2011-11-01 | 36.9856 | 3.3896 | 610
2011-12-01 | 56.1796 | 5.1487 | 906
2012-01-01 | 67.4806 | 6.1844 | 1071
2012-02-01 | 57.0565 | 5.2291 | 890
2012-03-01 | 36.0727 | 3.306 | 626
2012-04-01 | 18.0094 | 1.6505 | 441
2012-05-01 | 6.7429 | 0.61797 | 160
2012-06-01 | 6.9676 | 0.63857 | 87
2012-07-01 | 6.9676 | 0.63857 | 15
|  | 0 | 0
0
| Clark Propane Deliveries |  |  | Propane use per month post retrofit
Del date | # of gals |  | fuel per day before delivery
2008-09-12 | 18.1
2008-12-15 | 24.8 |  | 0.26383 | 2009-11-30
2009-02-17 | 40.7 |  | 0.63594 | 2009-12-31 | 10.7225 | MAIN CALCULATION DISTRIBUTES AMOUNT DELIVERED
2009-04-14 | 32.7 |  | 0.58393 | 2010-01-31 | 16.2083 | EVENLY OVER TIME PERIOD FROM PREVIOUS DELIVERY
2009-06-11 | 30.1 |  | 0.51897 | 2010-02-28 | 60.8851
2010-01-28 | 79.9 |  | 0.34589 | 2010-03-31 | 45.0337
2010-03-16 | 102.2 |  | 2.1745 | 2010-04-30 | 20.4844
2010-05-19 | 43.7 |  | 0.68281 | 2010-05-31 | 15.0922
2010-07-22 | 11.3 |  | 0.17656 | 2010-06-30 | 5.2969
2010-10-20 | 34 |  | 0.37778 | 2010-07-31 | 7.2844
2010-12-15 | 86 |  | 1.5357 | 2010-08-31 | 11.7111
2011-01-18 | 84 |  | 2.4706 | 2010-09-30 | 11.3333
2011-02-15 | 65 |  | 2.3214 | 2010-10-31 | 24.4484
2011-03-23 | 62.2 |  | 1.7278 | 2010-11-30 | 46.0714
2011-05-06 | 38.4 |  | 0.87273 | 2010-12-31 | 62.5651
2011-08-02 | 20.6 |  | 0.23409 | 2011-01-31 | 74.6492
2011-11-18 | 57.7 |  | 0.53426 | 2011-02-28 | 57.2825
2012-01-06 | 88.8 |  | 1.8122 | 2011-03-31 | 46.7207
2012-02-03 | 63.4 |  | 2.2643 | 2011-04-30 | 26.1818 | USED ALTERNATE CALCULATION HERE BECAUSE AN EVEN
2012-02-28 | 49.1 |  | 1.964 | 2011-05-31 | 11.0886 | DISTRIBUTION DIDN'T CORRELATE WITH HDD
2012-04-12 | 51.2 |  | 1.1636 | 2011-06-30 | 7.0227 |  | use to distribute Nov delivery |  | DHW/mo | 7.1398
2012-07-26 | 23.6 |  | 0.22476 | 2011-07-31 | 7.2568 |  | HDD's | Gals | Used Jun/Jul average as
|  |  |  | 2011-08-31 | 15.9617 | 8.9087 | 34 | 8.4406 | base load for DHW before
|  |  |  | 2011-09-30 | 16.0278 | 10.4682 | 87 | 10.4682 | distributing based on HDD
|  |  |  | 2011-10-31 | 16.562 | 23.5526 | 429 | 23.5526
| 103.5 |  |  | 2011-11-30 | 31.3636 | 36.9856 | 305 | 15.2386
|  |  |  | 2011-12-31 | 56.1796 |  | Total deg days to distriute
| 128.3 |  |  | 2012-01-31 | 67.4806 |  | 855
|  |  |  | 2012-02-29 | 57.0565
|  |  |  | 2012-03-31 | 36.0727
|  |  |  | 2012-04-30 | 18.0094
|  |  |  | 2012-05-30 | 6.7429
|  |  |  | 2012-06-30 | 6.9676
|  |  |  | 2012-07-31 | 6.9676
Note on B27: Cathy: Used deg days to distribute Nov 11 delivery
Note on B28: Cathy: Used degree days to distribute Nov 11 delivery
Note on B29: Cathy: Used degree days to distribute Nov 11 delivery
Note on B30: Cathy: Used degree days to distribute Nov 11 delivery

## Elec
Belchertown Single Family Home
| Electricity used from NGrid |  |  | (negative)
| Home | 0 | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD | 2009-11-20 | 2009-12-22 | 581
Month Starting | [6 empty] | 2009-12-22 | 2010-01-22 | 1715
[7 empty] | 2010-01-22 | 2010-02-23 | 323
2009-12-01 | 581 |  | 581 | 0 | 1125 | 0 | 2010-02-23 | 2010-03-25 | 144
2010-01-01 | 1715 |  | 1715 | 0 | 1199 | 0 | 2010-03-25 | 2010-04-26 | 153
2010-02-01 | 323 |  | 323 | 0 | 997 | 0 | 2010-04-26 | 2010-05-24 | 129
2010-03-01 | 144 |  | 144 | 0 | 698 | 3 | 2010-05-24 | 2010-06-24 | 118
2010-04-01 | 153 |  | 153 | 0 | 404 | 29 | 2010-06-24 | 2010-07-26 | 119
2010-05-01 | 129 |  | 129 | 0 | 216 | 121 | 2010-07-26 | 2010-08-25 | 117
2010-06-01 | 118 |  | 118 | 0 | 63 | 180 | 2010-08-25 | 2010-09-23 | 146
2010-07-01 | 119 |  | 119 | 0 | 20 | 369 | 2010-09-23 | 2010-10-22 | 192
2010-08-01 | 117 |  | 117 | 0 | 33 | 257 | 2010-10-22 | 2010-11-22 | 263
2010-09-01 | 146 |  | 146 | 0 | 98 | 146 | 2010-11-22 | 2010-12-22 | 265
2010-10-01 | 192 |  | 192 | 0 | 407 | 16 | 2010-12-22 | 2011-01-24 | 311
2010-11-01 | 263 |  | 263 | 0 | 708 | 0 | 2011-01-24 | 2011-02-22 | 282
2010-12-01 | 265 |  | 265 | 0 | 1130 | 0 | 2011-02-22 | 2011-03-23 | 266
2011-01-01 | 311 |  | 311 | 0 | 1309 | 0 | 2011-03-23 | 2011-04-25 | 318
2011-02-01 | 282 |  | 282 | 0 | 1080 | 0 | 2011-04-25 | 2011-05-23 | 266
2011-03-01 | 266 |  | 266 | 0 | 883 | 0 | 2011-05-23 | 2011-06-23 | 169
2011-04-01 | 318 |  | 318 | 0 | 471 | 13 | 2011-06-23 | 2011-07-25 | 147
2011-05-01 | 266 |  | 266 | 0 | 189 | 86 | 2011-07-25 | 2011-08-23 | 119
2011-06-01 | 169 |  | 169 | 0 | 69 | 157 | 2011-08-23 | 2011-09-21 | 128
2011-07-01 | 147 |  | 147 | 0 | 16 | 329 | 2011-09-21 | 2011-10-21 | 149
2011-08-01 | 119 |  | 119 | 0 | 34 | 215 | 2011-10-21 | 2011-11-22 | 171
2011-09-01 | 128 |  | 128 | 0 | 87 | 115 | 2011-11-22 | 2011-12-21 | 166
2011-10-01 | 149 |  | 149 | 0 | 429 | 17 | 2011-12-21 | 2012-01-24 | 255
2011-11-01 | 171 |  | 171 | 0 | 610 | 1 | 2012-01-24 | 2012-02-22 | 176
2011-12-01 | 166 |  | 166 | 0 | 906 | 0 | 2012-02-22 | 2012-03-23 | 160
2012-01-01 | 255 |  | 255 | 0 | 1071 | 0 | 2012-03-23 | 2012-04-24 | 158
2012-02-01 | 176 |  | 176 | 0 | 890 | 0 | 2012-04-24 | 2012-05-23 | 120
2012-03-01 | 160 |  | 160 | 0 | 626 | 22 | 2012-05-23 | 2012-06-22 | 126
2012-04-01 | 158 |  | 158 | 0 | 441 | 27 | 2012-06-22 | 2012-07-24 | 145
2012-05-01 | 120 |  | 120 | 0 | 160 | 104 | 2012-07-24 | 2012-08-23 | 134
2012-06-01 | 126 |  | 126 | 0 | 87 | 162
2012-07-01 | 145 |  | 145 | 0 | 15 | 333
2012-08-01 | 134 |  | 134 |  |  | 0

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
|  | propane gal to Mbtu |  | 0.091648
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
| propane source/site |  |  | 1.01 | [11 empty] | Total kwh |  | Total Mbtu
|  | Propane used | [6 empty] | Electricity used | source KWH |  | site Mbtu | source Mbtu
|  | Gallons | site Mbtu | source Mbtu |  | site kwh | source kwh |  | Home |  |  |  |  | HDD | CDD | site | source | site | source
| 2009-12-01 | 10.7225 | 0.98269 | 0.99252 |  | 287.9263 | 290.8055 | 2009-12-01 | 581 | 1940.54 |  | 1.983 | 6.6231 | 40 | 236 | 868.9263 | 2231.3455 | 2.9656 | 7.6156
| 2010-01-01 | 16.2083 | 1.4854 | 1.5003 |  | 435.2322 | 439.5845 | 2010-01-01 | 1715 | 5728.1 |  | 5.8533 | 19.55 | 200 | 63 | 2150.2322 | 6167.6845 | 7.3387 | 21.0503
| 2010-02-01 | 60.8851 | 5.58 | 5.6358 |  | 1634.9176 | 1651.2668 | 2010-02-01 | 323 | 1078.82 |  | 1.1024 | 3.682 | 524 | 2 | 1957.9176 | 2730.0868 | 6.6824 | 9.3178
| 2010-03-01 | 45.0337 | 4.1272 | 4.1685 |  | 1209.267 | 1221.3597 | 2010-03-01 | 144 | 480.96 |  | 0.49147 | 1.6415 | 596 | 1 | 1353.267 | 1702.3197 | 4.6187 | 5.81
| 2010-04-01 | 20.4844 | 1.8773 | 1.8961 |  | 550.0568 | 555.5574 | 2010-04-01 | 153 | 511.02 |  | 0.52219 | 1.7441 | 1125 | 0 | 703.0568 | 1066.5774 | 2.3995 | 3.6402
| 2010-05-01 | 15.0922 | 1.3832 | 1.397 |  | 405.263 | 409.3157 | 2010-05-01 | 129 | 430.86 |  | 0.44028 | 1.4705 | 1199 | 0 | 534.263 | 840.1757 | 1.8234 | 2.8675
| 2010-06-01 | 5.2969 | 0.48545 | 0.4903 |  | 142.2344 | 143.6567 | 2010-06-01 | 118 | 394.12 |  | 0.40273 | 1.3451 | 997 | 0 | 260.2344 | 537.7767 | 0.88818 | 1.8354
| 2010-07-11 | 7.2844 | 0.6676 | 0.67427 |  | 195.6037 | 197.5598 | 2010-07-11 | 119 | 397.46 |  | 0.40615 | 1.3565 | 698 | 3 | 314.6037 | 595.0198 | 1.0737 | 2.0308
| 2010-08-11 | 11.7111 | 1.0733 | 1.084 |  | 314.4727 | 317.6174 | 2010-08-11 | 117 | 390.78 |  | 0.39932 | 1.3337 | 404 | 29 | 431.4727 | 708.3974 | 1.4726 | 2.4178
| 2010-09-11 | 11.3333 | 1.0387 | 1.0491 |  | 304.3284 | 307.3717 | 2010-09-11 | 146 | 487.64 |  | 0.4983 | 1.6643 | 216 | 121 | 450.3284 | 795.0117 | 1.537 | 2.7134
| 2010-10-11 | 24.4484 | 2.2406 | 2.263 |  | 656.5011 | 663.0661 | 2010-10-11 | 192 | 641.28 |  | 0.6553 | 2.1887 | 63 | 180 | 848.5011 | 1304.3461 | 2.8959 | 4.4517
| 2010-11-11 | 46.0714 | 4.2223 | 4.2646 |  | 1237.1333 | 1249.5046 | 2010-11-11 | 263 | 878.42 |  | 0.89762 | 2.998 | 20 | 369 | 1500.1333 | 2127.9246 | 5.12 | 7.2626
| 2010-12-11 | 62.5651 | 5.7339 | 5.7913 |  | 1680.0304 | 1696.8307 | 2010-12-11 | 265 | 885.1 |  | 0.90444 | 3.0208 | 33 | 257 | 1945.0304 | 2581.9307 | 6.6384 | 8.8121
| 2011-01-01 | 74.6492 | 6.8414 | 6.9098 |  | 2004.5169 | 2024.5621 | 2011-01-01 | 311 | 1038.74 |  | 1.0614 | 3.5452 | 98 | 146 | 2315.5169 | 3063.3021 | 7.9029 | 10.4551
| 2011-02-01 | 57.2825 | 5.2498 | 5.3023 |  | 1538.1797 | 1553.5615 | 2011-02-01 | 282 | 941.88 |  | 0.96247 | 3.2146 | 407 | 16 | 1820.1797 | 2495.4415 | 6.2123 | 8.5169
| 2011-03-01 | 46.7207 | 4.2818 | 4.3247 |  | 1254.568 | 1267.1137 | 2011-03-01 | 266 | 888.44 |  | 0.90786 | 3.0322 | 708 | 0 | 1520.568 | 2155.5537 | 5.1897 | 7.3569
| 2011-04-01 | 26.1818 | 2.3995 | 2.4235 |  | 703.0474 | 710.0779 | 2011-04-01 | 318 | 1062.12 |  | 1.0853 | 3.625 | 1130 | 0 | 1021.0474 | 1772.1979 | 3.4848 | 6.0485
| 2011-05-01 | 11.0886 | 1.0162 | 1.0264 |  | 297.7577 | 300.7352 | 2011-05-01 | 266 | 888.44 |  | 0.90786 | 3.0322 | 1309 | 0 | 563.7577 | 1189.1752 | 1.9241 | 4.0587
| 2011-06-01 | 7.0227 | 0.64362 | 0.65005 |  | 188.5778 | 190.4636 | 2011-06-01 | 169 | 564.46 |  | 0.5768 | 1.9265 | 1080 | 0 | 357.5778 | 754.9236 | 1.2204 | 2.5766
| 2011-07-11 | 7.2568 | 0.66507 | 0.67172 |  | 194.8637 | 196.8124 | 2011-07-01 | 147 | 490.98 |  | 0.50171 | 1.6757 | 883 | 0 | 341.8637 | 687.7924 | 1.1668 | 2.3474
| 2011-08-11 | 8.9087 | 0.81646 | 0.82463 |  | 239.2218 | 241.6141 | 2011-08-01 | 119 | 397.46 |  | 0.40615 | 1.3565 | 471 | 13 | 358.2218 | 639.0741 | 1.2226 | 2.1812
| 2011-09-11 | 10.4682 | 0.95939 | 0.96898 |  | 281.0985 | 283.9094 | 2011-09-01 | 128 | 427.52 |  | 0.43686 | 1.4591 | 189 | 86 | 409.0985 | 711.4294 | 1.3963 | 2.4281
| 2011-10-11 | 23.5526 | 2.1585 | 2.1801 |  | 632.4452 | 638.7696 | 2011-10-01 | 149 | 497.66 |  | 0.50854 | 1.6985 | 69 | 157 | 781.4452 | 1136.4296 | 2.6671 | 3.8786
| 2011-11-11 | 36.9856 | 3.3896 | 3.4235 |  | 993.1557 | 1003.0873 | 2011-11-01 | 171 | 571.14 |  | 0.58362 | 1.9493 | 16 | 329 | 1164.1557 | 1574.2273 | 3.9733 | 5.3728
| 2011-12-11 | 56.1796 | 5.1487 | 5.2002 |  | 1508.5628 | 1523.6484 | 2011-12-01 | 166 | 554.44 |  | 0.56656 | 1.8923 | 34 | 215 | 1674.5628 | 2078.0884 | 5.7153 | 7.0925
| 2012-01-12 | 67.4806 | 6.1844 | 6.2463 |  | 1812.0235 | 1830.1437 | 2012-01-01 | 255 | 851.7 |  | 0.87031 | 2.9069 | 87 | 115 | 2067.0235 | 2681.8437 | 7.0548 | 9.1531
| 2012-02-01 | 57.0565 | 5.2291 | 5.2814 |  | 1532.1098 | 1547.4309 | 2012-02-01 | 176 | 587.84 |  | 0.60069 | 2.0063 | 429 | 17 | 1708.1098 | 2135.2709 | 5.8298 | 7.2877
| 2012-03-01 | 36.0727 | 3.306 | 3.339 |  | 968.6431 | 978.3295 | 2012-03-01 | 160 | 534.4 |  | 0.54608 | 1.8239 | 610 | 1 | 1128.6431 | 1512.7295 | 3.8521 | 5.1629
| 2012-04-01 | 18.0094 | 1.6505 | 1.667 |  | 483.5962 | 488.4321 | 2012-04-01 | 158 | 527.72 |  | 0.53925 | 1.8011 | 906 | 0 | 641.5962 | 1016.1521 | 2.1898 | 3.4681
| 2012-05-01 | 6.7429 | 0.61797 | 0.62415 |  | 181.0626 | 182.8732 | 2012-05-01 | 120 | 400.8 |  | 0.40956 | 1.3679 | 1071 | 0 | 301.0626 | 583.6732 | 1.0275 | 1.9921
| 2012-06-01 | 6.9676 | 0.63857 | 0.64495 |  | 187.098 | 188.969 | 2012-06-01 | 126 | 420.84 |  | 0.43004 | 1.4363 | 890 | 0 | 313.098 | 609.809 | 1.0686 | 2.0813
| 2012-07-11 | 6.9676 | 0.63857 | 0.64495 |  | 187.098 | 188.969 | 2012-07-01 | 145 | 484.3 |  | 0.49488 | 1.6529 | 626 | 22 | 332.098 | 673.269 | 1.1335 | 2.2979
|  | 6 mos | 12.0807 | 12.2015 | [6 empty] | 6 mos | 3.0205 | 10.0885 |  |  |  |  | 15.1012
|  | 12 mos | 30.7379 | 31.0452 | [6 empty] | 12 mos | 6.3925 | 21.3511 |  |  |  |  | 37.1304
MIN USAGE 6 mo
|  | 6.7429 | 0.61797 | 0.62415 |  |  |  |  | 120 |  |  | 0.40956 | 1.3679 |  |  |  |  | 1.0275 | 1.9921
MIN USAGE (w 12 mos data, use average of 2 lowest)
|  | 6.8552 | 0.62827 | 0.63455 |  | 184.0803 | 185.9211 |  | 119.5 |  |  | 0.40785 | 1.3622 |  |  |  |  | 1.0361 | 1.9968
|  | 6.7429 | [6 empty] | 119
|  | 6.9676 | [6 empty] | 120 | [5 empty] | Post Retrofit | site kwh | source kwh | site Mbtu | source Mbtu
[15 empty] | 24 month totals | 23995.0923 | 34987.9932 | 81.8953 | 119.414
|  | 131.8167 | [6 empty] | 885
|  | 335.392 |  |  | 6.3925 |  |  |  | 1873 | [5 empty] | 18 month totals | 16504.1095 | 24407.0806 | 56.3285 | 83.3014
12 mo totals |  |  |  | 31.0452 | [8 empty] | 21.3511 |  | 12 month totals | 10879.1152 | 15351.9963 | 37.1304 | 52.3964
[15 empty] | 6 month totals | 4424.6077 | 6530.9038 | 15.1012 | 22.29

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N)
Station ID: | KBAF
Month starting | HDD | % Estimated
2009-08-01 | 40 | 0
2009-09-01 | 200 | 0.9
2009-10-01 | 524 | 0.03
2009-11-01 | 596 | 0.1
2009-12-01 | 1125 | 0.03
2010-01-01 | 1199 | 0
2010-02-01 | 997 | 0
2010-03-01 | 698 | 0.03
2010-04-01 | 404 | 0
2010-05-01 | 216 | 0.2
2010-06-01 | 63 | 0
2010-07-01 | 20 | 0.06
2010-08-01 | 33 | 0.2
2010-09-01 | 98 | 0
2010-10-01 | 407 | 0.2
2010-11-01 | 708 | 0.03
2010-12-01 | 1130 | 0.2
2011-01-01 | 1309 | 0.6
2011-02-01 | 1080 | 0
2011-03-01 | 883 | 0
2011-04-01 | 471 | 0.03
2011-05-01 | 189 | 0.03
2011-06-01 | 69 | 0
2011-07-01 | 16 | 0
2011-08-01 | 34 | 0
2011-09-01 | 87 | 0.03
2011-10-01 | 429 | 7
2011-11-01 | 610 | 3
2011-12-01 | 906 | 0.03
2012-01-01 | 1071 | 0
2012-02-01 | 890 | 0.03
2012-03-01 | 626 | 2
2012-04-01 | 441 | 2
2012-05-01 | 160 | 0.06
2012-06-01 | 87 | 0.03
2012-07-01 | 15 | 0.2

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N)
Station ID: | KBAF
Month starting | CDD | % Estimated
2009-08-01 | 236 | 0
2009-09-01 | 63 | 0.9
2009-10-01 | 2 | 0.03
2009-11-01 | 1 | 0.1
2009-12-01 | 0 | 0.03
2010-01-01 | 0 | 0
2010-02-01 | 0 | 0
2010-03-01 | 3 | 0.03
2010-04-01 | 29 | 0
2010-05-01 | 121 | 0.2
2010-06-01 | 180 | 0
2010-07-01 | 369 | 0.06
2010-08-01 | 257 | 0.2
2010-09-01 | 146 | 0
2010-10-01 | 16 | 0.2
2010-11-01 | 0 | 0.03
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0.6
2011-02-01 | 0 | 0
2011-03-01 | 0 | 0
2011-04-01 | 13 | 0.03
2011-05-01 | 86 | 0.03
2011-06-01 | 157 | 0
2011-07-01 | 329 | 0
2011-08-01 | 215 | 0
2011-09-01 | 115 | 0.03
2011-10-01 | 17 | 7
2011-11-01 | 1 | 3
2011-12-01 | 0 | 0.03
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 22 | 2
2012-04-01 | 27 | 2
2012-05-01 | 104 | 0.06
2012-06-01 | 162 | 0.03
2012-07-01 | 333 | 0.2

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N) |  | Predicted (BEopt 1.3)
Month | Date |  |  |  | Actual CDD | Actual HDD | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD | Electricity | Normalized Propane | MMBtu Normalized Site | MMBtu Normalized Source
|  |  | Electricity | Propane
2011-07-11 |  |  |  |  | 369 | 20 |  | 95 | 11
2011-08-11 |  |  | 0.40615 | 0.81646 | 257 | 33 |  | 207 | 8 | 0.40615 | 0.3414 | 0.74755 | 1.7013
2011-09-11 |  |  | 0.43686 | 0.95939 | 146 | 98 |  | 72 | 77 | 0.43686 | 0.6312 | 1.0681 | 2.0966
2011-10-11 |  |  | 0.50854 | 2.1585 | 16 | 407 |  | 6 | 422 | 0.50854 | 2.0802 | 2.5887 | 3.7995
2011-11-11 |  |  | 0.58362 | 3.3896 | 0 | 708 |  | 0 | 757 | 0.58362 | 3.4872 | 4.0708 | 5.4714
2011-12-11 |  |  | 0.56656 | 5.1487 | 0 | 1130 |  | 0 | 1005 | 0.56656 | 4.5288 | 5.0954 | 6.4664
2012-01-12 |  |  | 0.87031 | 6.1844 | 0 | 1309 |  | 0 | 1481 | 0.87031 | 6.528 | 7.3983 | 9.5001
2012-02-01 |  |  | 0.60069 | 5.2291 | 0 | 1080 |  | 0 | 1121 | 0.60069 | 5.016 | 5.6167 | 7.0725
2012-03-01 |  |  | 0.54608 | 3.306 | 0 | 883 |  | 0 | 749 | 0.54608 | 3.4536 | 3.9997 | 5.312
2012-04-01 |  |  | 0.53925 | 1.6505 | 13 | 471 |  | 0 | 566 | 0.53925 | 2.685 | 3.2243 | 4.513
2012-05-01 |  |  | 0.40956 | 0.61797 | 86 | 189 |  | 11 | 237 | 0.40956 | 1.3032 | 1.7128 | 2.6842
2012-06-01 |  |  | 0.43004 | 0.63857 | 157 | 69 |  | 109 | 82 | 0.43004 | 0.6522 | 1.0822 | 2.095
2012-07-11 |  |  | 0.49488 | 0.63857 | 329 | 16 |  | 95 | 11 | 0.49488 | 0.354 | 0.84889 | 2.0105
|  |  | 6.3925 | 30.7379 |  |  |  |  | 6516 | 6.3925 | 31.0608 | 37.4533 | 52.7225
37.1304
-0.8697%
Note on N8: Cathy: Used best fit equation fof propane substituting predicted HDD