## Pre-Retrofit
Quincy Single Family
Pre-retrofit information from Application
| Pre-retrofit electricity usage from application | [8 empty] | 2012 Pre-retrofit FUEL OIL
| Month starting |  | kwh |  |  |  | Pre-retrofit Oil usage from application; this is not adequate because it doesn't cover a year
Read date | [11 empty] | Heating fuel oil gallons to MMBtu |  |  | 0.13869
2009-01-01 | 2008-12-01 |  | 1441 |  |  |  | From application; this is inadequate
2009-02-01 | 2009-01-01 |  | 1095 |  |  |  | Del date | gal
2009-03-01 | 2009-02-01 |  | 1011 | [7 empty] | Use Beopt 1.3 projection of gal for pre-retrofit year: |  |  |  | 1301
2009-04-01 | 2009-03-01 |  | 1114 |  |  |  | 2008-02-08 | 106 |  |  | 04 - Energy Analysis_Hall/F - BEOPT parametric modeling/
2009-05-01 | 2009-04-01 |  | 834 |  |  |  | 2009-02-10 | 170 |  |  | 1-3 Hall AsBuilt.bpj in Individual project section of NGrid DER
2009-06-01 | 2009-05-01 |  | 801 |  |  |  | 2009-10-19 | 136
2009-07-01 | 2009-06-01 |  | 1043 |  |  |  | 2010-01-19 | 139
2009-08-01 | 2009-07-01 |  | 1257
2009-09-01 | 2009-08-01 |  | 838
2009-10-01 | 2009-09-01 |  | 1015
2009-11-01 | 2009-10-01 |  | 941
2009-12-01 | 2009-11-01 |  | 1167 | 12557 | kwh for year
2010-01-01 | 2009-12-01 |  | 1131
2010-02-01 | 2010-01-01 |  | 1258
2010-03-01 | 2010-02-01 |  | 1171
PRE_RETROFIT
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
|  | gal oil to Mbtu |  | 0.13869
| 40 lb pellet bag to Mbtu |  |  | 0.31
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
| heating oil source/site |  |  | 1.01
| pellet source/site |  |  | 1
Electricity used
[9 empty] | site | source | site | source | Total Mbtu |  |  | Total kwh
Period |  | oil used | site Mbtu | source Mbtu |  | site kwh | source kwh |  | kwh | kwh | Mbtu | Mbtu | site | source |  | site | source
Jan 09 - Dec 09 |  | 1301 | 180.4363 | 182.2407 |  | 52867.372 | 53396.0457 |  | 12557 | 41940.38 | 42.857 | 143.1425 | 223.2934 | 325.3832 |  | 65424.372 | 95336.4257

## Gas
Quincy Single Family Gas Usage
| Hall | First several months of data not aligned with month so calculated below |  |  |  | 2010-12-07 | 2011-01-17 | 41 | 182
| Therms | HDD | CDD |  |  | 2011-01-17 | 2011-02-15 | 29 | 102
Month starting | [5 empty] | 2011-02-15 | 2011-03-16 | 29 | 67
2010-10-01 | 0 | 320 | 18 |  |  | 2011-03-16 | 2011-03-28 | 12 | 24
2010-11-01 | 0 | 608 | 0 |  |  | 2011-03-28 | 2011-04-29 | 32 | 37
2010-12-01 | 0 | 1010 | 0 | Retrofit Completed |  | 2011-04-29 | 2011-05-27 | 28 | 17
2011-01-01 | 124.7048 | 1154 | 0 |  |  | 2011-05-27 | 2011-06-27 | 31 | 12
2011-02-01 | 82.7931 | 964 | 0 |  |  | 2011-06-27 | 2011-07-27 | 30 | 9
2011-03-01 | 60.9655 | 813 | 1 |  |  | 2011-07-27 | 2011-08-26 | 30 | 8
2011-04-01 | 37 | 468 | 8 |  |  | 2011-08-26 | 2011-09-26 | 31 | 9
2011-05-01 | 17 | 255 | 50 |  |  | 2011-09-26 | 2011-10-28 | 32 | 12
2011-06-01 | 12 | 75 | 130 |  |  | 2011-10-28 | 2011-11-29 | 32 | 24
2011-07-01 | 9 | 0 | 374 |  |  | 2011-11-29 | 2011-12-29 | 30 | 34
2011-08-01 | 8 | 2 | 260 |  |  | 2011-12-29 | 2012-01-27 | 29 | 47
2011-09-01 | 9 | 57 | 115 |  |  | 2012-01-27 | 2012-02-24 | 28 | 41
2011-10-01 | 12 | 267 | 29 |  |  | 2012-02-24 | 2012-03-28 | 33 | 39
2011-11-01 | 24 | 449 | 1 |  |  | 2012-03-28 | 2012-04-26 | 29 | 19
2011-12-01 | 34 | 764 | 0 |  |  | 2012-04-26 | 2012-05-31 | 35 | 15
2012-01-01 | 47 | 959 | 0 |  |  | 2012-05-31 | 2012-06-28 | 28 | 8
2012-02-01 | 41 | 801 | 0 |  |  | 2012-06-28 | 2012-07-31 | 33 | 6
2012-03-01 | 39 | 608 | 18 |  |  | 2012-07-31 | 2012-08-28 | 28 | 6
2012-04-01 | 19 | 398 | 25
2012-05-01 | 15 | 204 | 42
2012-06-01 | 8 | 94 | 142
2012-07-01 | 6 | 2 | 304
2012-08-01 | 6
|  |  |  | Month ends | therms
Read Date | therms | therms/day
2010-12-07 |  |  |  | 2010-12-31
2011-01-17 | 182 | 4.439 |  | 2011-01-31 | 124.7048
2011-02-15 | 102 | 3.5172 |  | 2011-02-28 | 82.7931
2011-03-16 | 67 | 2.3103 |  | 2011-03-31 | 60.9655
2011-03-28 | 24 | 2 |  | 2011-04-30

## Elec
[9 empty] | 2009-05-29 | 2009-06-30 | 1043
|  |  |  | Hall: From Emonitor website |  |  |  |  | 2009-06-30 | 2009-07-30 | 1257
| Hall Electricity used |  |  | (negative) kwh |  |  | Solar thermal |  | 2009-07-30 | 2009-08-28 | 838
| House |  | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD | production |  | 2009-08-28 | 2009-09-28 | 1015
Month starting | Grid | buyback (email) | Total |  |  |  | from Solarwave |  | 2009-09-28 | 2009-10-28 | 941
2010-10-01 | 77 |  | 77 |  | 320 | 18 |  |  | 2009-10-28 | 2009-11-30 | 1167
2010-11-01 | 307 |  | 307 |  | 608 | 0 |  |  | 2009-11-30 | 2009-12-28 | 1131
2010-12-01 | 1137 |  | 1137 |  | 1010 | 0 |  |  | 2009-12-28 | 2010-01-28 | 1258
2011-01-01 | 875 |  | 875 |  | 1154 | 0 |  |  | 2010-01-28 | 2010-03-01 | 1171
2011-02-01 | 374 |  | 686 | -312 | 964 | 0 |  |  | 2010-03-01 | 2010-03-30 | 1037
2011-03-01 | 36 |  | 801 | -765 | 813 | 1 |  |  | 2010-03-30 | 2010-04-29 | 897
2011-04-01 | 45 |  | 712 | -667 | 468 | 8 |  |  | 2010-04-29 | 2010-05-28 | 896
2011-05-01 | 104 |  | 825 | -721 | 255 | 50 |  |  | 2010-05-28 | 2010-06-30 | 255
2011-06-01 | 90 |  | 885 | -795 | 75 | 130 |  |  | 2010-06-30 | 2010-07-30 | 75
2011-07-01 | 226 |  | 1112 | -886 | 0 | 374 | 393 |  | 2010-07-30 | 2010-08-27 | 30
2011-08-01 | 153 |  | 953 | -800 | 2 | 260 | 347 |  | 2010-08-27 | 2010-09-29 | 101
2011-09-01 | 93 |  | 804 | -711 | 57 | 115 | 287 |  | 2010-09-29 | 2010-10-28 | 77
2011-10-01 | 65 |  | 710 | -645 | 267 | 29 | 254 |  | 2010-10-28 | 2010-11-26 | 307
2011-11-01 | 178 |  | 731 | -553 | 449 | 1 | 232 |  | 2010-11-26 | 2010-12-29 | 1137
2011-12-01 | 491 |  | 899 | -408 | 764 | 0 | 131 |  | 2010-12-29 | 2011-01-28 | 875
2012-01-01 | 340 |  | 854 | -514 | 959 | 0 | 153 |  | 2011-01-28 | 2011-02-25 | 374
2012-02-01 | 1 |  | 652 | -651 | 801 | 0 | 214 |  | 2011-02-25 | 2011-03-29 | 36
2012-03-01 | 0 | -68 | 651 | -719 | 608 | 18 | 315 |  | 2011-03-29 | 2011-04-29 | 45
2012-04-01 | 0 | -239 | 655 | -894 | 398 | 25 | 414 |  | 2011-04-29 | 2011-05-27 | 104
2012-05-01 | 0 |  | 696 | -696 | 204 | 42 | 320 |  | 2011-05-27 | 2011-06-27 | 90
2012-06-01 | 101 |  | 883 | -782 | 94 | 142 | 376 |  | 2011-06-27 | 2011-07-27 | 226
2012-07-01 | 556 |  | 1406 | -850 | 2 | 304 | 431 |  | 2011-07-27 | 2011-08-26 | 153
2012-08-01 | 576 |  | 1450 | -874 |  |  |  |  | 2011-08-26 | 2011-09-26 | 93
[9 empty] | 2011-09-26 | 2011-10-26 | 65
[7 empty] | Month starting | Usage from Emonitor | 2011-10-26 | 2011-11-29 | 178
[7 empty] | 2011-01-01 | 70 | 2011-11-29 | 2011-12-29 | 491
[7 empty] | 2011-02-01 | 575 | 2011-12-29 | 2012-01-27 | 340
[7 empty] | 2011-03-01 | 741 | 2012-01-27 | 2012-02-24 | 1
[7 empty] | 2011-04-01 | 730 | 2012-02-24 | 2012-03-27 | 0
[7 empty] | 2011-05-01 | 841 | 2012-03-27 | 2012-04-27 | 0
[7 empty] | 2011-06-01 | 878 | 2012-04-27 | 2012-05-31 | 0
[7 empty] | 2011-07-01 | 1102 | 2012-05-31 | 2012-06-28 | 101
[7 empty] | 2011-08-01 | 997 | 2012-06-28 | 2012-07-31 | 556
[7 empty] | 2011-09-01 | 803 | 2012-07-31 | 2012-08-28 | 576
[7 empty] | 2011-10-01 | 721
[7 empty] | 2011-11-01 | 710
[7 empty] | 2011-12-01 | 933
[7 empty] | 2012-01-01 | 824
[7 empty] | 2012-02-01 | 645
[7 empty] | 2012-03-01 | 660
[7 empty] | 2012-04-01 | 604
[7 empty] | 2012-05-01 | 762
[7 empty] | 2012-06-01 | 930
[7 empty] | 2012-07-01 | 1412
[7 empty] | 2012-08-01 | 1487

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | Gal of oil to MBTU |  | 0.13869
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
| oil source/site |  |  | 1.01 | [16 empty] | Total kwh |  |  | Total Mbtu
[8 empty] | Electricity used |  | site KWH |  |  |  | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | House | buyback | Electric Consumption (kWh) | PV Production (kWh) |  | site kWh excluding gen + used | with 1.0 conversion for site gen + used | src if no PV |  | with 1.0 conversion for site gen + used | if no PV | HDD | CDD | site | source | src if no PV | site | source | src if no PV
PV used
| 2010-10-01 | 0 | 0 | 0 | 0 | 0 | 2010-10-01 | 77 | 0 | 77 | 0 | 0 | 77 | 257.18 | 257.18 | 0.2628 | 0.87776 | 0.87776 | 320 | 18 | 77 | 257.18 | 257.18 | 0.2628 | 0.87776 | 0.87776
| 2010-11-01 | 0 | 0 | 0 | 0 | 0 | 2010-11-01 | 307 | 0 | 307 | 0 | 0 | 307 | 1025.38 | 1025.38 | 1.0478 | 3.4996 | 3.4996 | 608 | 0 | 307 | 1025.38 | 1025.38 | 1.0478 | 3.4996 | 3.4996
| 2010-12-01 | 0 | 0 | 0 | 0 | 0 | 2010-12-01 | 1137 | 0 | 1137 | 0 | 0 | 1137 | 3797.58 | 3797.58 | 3.8806 | 12.9611 | 12.9611 | 1010 | 0 | 1137 | 3797.58 | 3797.58 | 3.8806 | 12.9611 | 12.9611
| 2011-01-01 | 124.7048 | 12.4705 | 13.0566 | 3653.8176 | 3825.547 | 2011-01-01 | 875 | 0 | 875 | 0 | 0 | 875 | 2922.5 | 2922.5 | 2.9864 | 9.9745 | 9.9745 | 1154 | 0 | 4528.8176 | 6748.047 | 6748.047 | 15.4569 | 23.0311 | 23.0311
| 2011-02-01 | 82.7931 | 8.2793 | 8.6684 | 2425.8161 | 2539.8295 | 2011-02-01 | 374 | 0 | 686 | 312 | 312 | 374 | 1561.16 | 2291.24 | 2.3413 | 5.3282 | 7.82 | 964 | 0 | 3111.8161 | 4100.9895 | 4831.0695 | 10.6206 | 13.9967 | 16.4884
| 2011-03-01 | 60.9655 | 6.0966 | 6.3831 | 1786.2736 | 1870.2284 | 2011-03-01 | 36 | 0 | 801 | 765 | 765 | 36 | 885.24 | 2675.34 | 2.7338 | 3.0213 | 9.1309 | 813 | 1 | 2587.2736 | 2755.4684 | 4545.5684 | 8.8304 | 9.4044 | 15.514
| 2011-04-01 | 37 | 3.7 | 3.8739 | 1084.0902 | 1135.0425 | 2011-04-01 | 45 | 0 | 712 | 667 | 667 | 45 | 817.3 | 2378.08 | 2.4301 | 2.7894 | 8.1164 | 468 | 8 | 1796.0902 | 1952.3425 | 3513.1225 | 6.1301 | 6.6633 | 11.9903
| 2011-05-01 | 17 | 1.7 | 1.7799 | 498.0955 | 521.506 | 2011-05-01 | 104 | 0 | 825 | 721 | 721 | 104 | 1068.36 | 2755.5 | 2.8157 | 3.6463 | 9.4045 | 255 | 50 | 1323.0955 | 1589.866 | 3277.006 | 4.5157 | 5.4262 | 11.1844
| 2011-06-01 | 12 | 1.2 | 1.2564 | 351.5968 | 368.1219 | 2011-06-01 | 90 | 0 | 885 | 795 | 795 | 90 | 1095.6 | 2955.9 | 3.0205 | 3.7393 | 10.0885 | 75 | 130 | 1236.5968 | 1463.7219 | 3324.0219 | 4.2205 | 4.9957 | 11.3449
| 2011-07-11 | 9 | 0.9 | 0.9423 | 263.6976 | 276.0914 | 2011-07-01 | 226 | 0 | 1112 | 886 | 886 | 226 | 1640.84 | 3714.08 | 3.7953 | 5.6002 | 12.6762 | 0 | 374 | 1375.6976 | 1916.9314 | 3990.1714 | 4.6953 | 6.5425 | 13.6185
| 2011-08-11 | 8 | 0.8 | 0.8376 | 234.3979 | 245.4146 | 2011-08-01 | 153 | 0 | 953 | 800 | 800 | 153 | 1311.02 | 3183.02 | 3.2526 | 4.4745 | 10.8636 | 2 | 260 | 1187.3979 | 1556.4346 | 3428.4346 | 4.0526 | 5.3121 | 11.7012
| 2011-09-11 | 9 | 0.9 | 0.9423 | 263.6976 | 276.0914 | 2011-09-01 | 93 | 0 | 804 | 711 | 711 | 93 | 1021.62 | 2685.36 | 2.7441 | 3.4868 | 9.1651 | 57 | 115 | 1067.6976 | 1297.7114 | 2961.4514 | 3.6441 | 4.4291 | 10.1074
| 2011-10-11 | 12 | 1.2 | 1.2564 | 351.5968 | 368.1219 | 2011-10-01 | 65 | 0 | 710 | 645 | 645 | 65 | 862.1 | 2371.4 | 2.4232 | 2.9423 | 8.0936 | 267 | 29 | 1061.5968 | 1230.2219 | 2739.5219 | 3.6232 | 4.1987 | 9.35
| 2011-11-11 | 24 | 2.4 | 2.5128 | 703.1937 | 736.2438 | 2011-11-01 | 178 | 0 | 731 | 553 | 553 | 178 | 1147.52 | 2441.54 | 2.4949 | 3.9165 | 8.333 | 449 | 1 | 1434.1937 | 1883.7638 | 3177.7838 | 4.8949 | 6.4293 | 10.8458
| 2011-12-11 | 34 | 3.4 | 3.5598 | 996.191 | 1043.012 | 2011-12-01 | 491 | 0 | 899 | 408 | 408 | 491 | 2047.94 | 3002.66 | 3.0683 | 6.9896 | 10.2481 | 764 | 0 | 1895.191 | 3090.952 | 4045.672 | 6.4683 | 10.5494 | 13.8079
| 2012-01-12 | 47 | 4.7 | 4.9209 | 1377.0876 | 1441.8107 | 2012-01-01 | 340 | 0 | 854 | 514 | 514 | 340 | 1649.6 | 2852.36 | 2.9147 | 5.6301 | 9.7351 | 959 | 0 | 2231.0876 | 3091.4107 | 4294.1707 | 7.6147 | 10.551 | 14.656
| 2012-02-01 | 41 | 4.1 | 4.2927 | 1201.2892 | 1257.7498 | 2012-02-01 | 1 | 0 | 652 | 651 | 651 | 1 | 654.34 | 2177.68 | 2.2253 | 2.2333 | 7.4324 | 801 | 0 | 1853.2892 | 1912.0898 | 3435.4298 | 6.3253 | 6.526 | 11.7251
| 2012-03-01 | 39 | 3.9 | 4.0833 | 1142.6897 | 1196.3961 | 2012-03-01 | 0 | -68 | 651 | 719 | 651 | -68 | 423.88 | 2174.34 | 2.2219 | 1.4467 | 7.421 | 608 | 18 | 1793.6897 | 1620.2761 | 3370.7361 | 6.1219 | 5.53 | 11.5043
| 2012-04-01 | 19 | 1.9 | 1.9893 | 556.695 | 582.8597 | 2012-04-01 | 0 | -239 | 655 | 894 | 655 | -239 | -143.26 | 2187.7 | 2.2355 | -0.48895 | 7.4666 | 398 | 25 | 1211.695 | 439.5997 | 2770.5597 | 4.1355 | 1.5004 | 9.4559
| 2012-05-01 | 15 | 1.5 | 1.5705 | 439.496 | 460.1524 | 2012-05-01 | 0 | 0 | 696 | 696 | 696 | 0 | 696 | 2324.64 | 2.3754 | 2.3754 | 7.934 | 204 | 42 | 1135.496 | 1156.1524 | 2784.7924 | 3.8754 | 3.9459 | 9.5045
| 2012-06-01 | 8 | 0.8 | 0.8376 | 234.3979 | 245.4146 | 2012-06-01 | 101 | 0 | 883 | 782 | 782 | 101 | 1119.34 | 2949.22 | 3.0137 | 3.8203 | 10.0657 | 94 | 142 | 1117.3979 | 1364.7546 | 3194.6346 | 3.8137 | 4.6579 | 10.9033
| 2012-07-11 | 6 | 0.6 | 0.6282 | 175.7984 | 184.0609 | 2012-07-01 | 556 | 0 | 1406 | 850 | 850 | 556 | 2707.04 | 4696.04 | 4.7987 | 9.2391 | 16.0276 | 2 | 304 | 1581.7984 | 2891.1009 | 4880.1009 | 5.3987 | 9.8673 | 16.6558
| 2012-08-11 | 6 | 0.6 | 0.6282 | [8 empty] | 1671
|  |  |  | 0 |  | Note: Electric CC does not capture thermal solar energy so neither do totals | [6 empty] | 351
|  | 6 mo | 12.8 | 13.4016 | [6 empty] | 6 mo | 4285 |  |  | 6 mo | 16.8705 | 18.6259 | 56.3473
|  | 12 mo | 26.2 | 27.4314 | [10 empty] | 12 mo | 33.7682 |  | 112.7859
MIN USAGE 6 mos | [11 empty] | 14.6247
|  | 6 | 0.6 | 0.6282 | [5 empty] | 651 | [5 empty] | 2.2219 | 7.421 | [6 empty] | 2.8219 |  | 8.0492
MIN USAGE IN 12 MOS (avg of 2 lowest months)
|  | 7 | 0.7 | 0.7329 | [5 empty] | 651.5 | [5 empty] | 2.2236 | 7.4267 | [6 empty] | 2.9236 |  | 8.1596
|  | 6 | [7 empty] | 651
|  | 8 | [7 empty] | 652 | [5 empty] | 33.7682 |  |  | Post Retrofit |  | site kwh | source kwh | src if no PV | site Mbtu | source Mbtu | src if no PV
|  | 128 | [7 empty] | 4943 | [9 empty] | Totals 18 months | 29001.1008 | 35313.7875 |  | 98.9808 | 120.526
|  | 262 | [7 empty] | 9894
[20 empty] | Totals 12 months | 17570.5309 | 21534.4679 | 41083.2879 | 59.9682 | 73.4971 | 140.2173
12 mo MMBtu |  |  |  | 27.4314 | [10 empty] | 112.7859
[20 empty] | Totals 6 months | 8693.3662 | 9383.9735 | 20436.2535 | 29.6705 | 32.0275 | 69.7489

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | HDD | % Estimated
2010-07-01 | 3 | 0.1
2010-08-01 | 10 | 0.2
2010-09-01 | 55 | 0
2010-10-01 | 320 | 0.06
2010-11-01 | 608 | 0.03
2010-12-01 | 1010 | 0.2
2011-01-01 | 1154 | 0
2011-02-01 | 964 | 0
2011-03-01 | 813 | 0
2011-04-01 | 468 | 0.03
2011-05-01 | 255 | 0.03
2011-06-01 | 75 | 0
2011-07-01 | 0 | 0.03
2011-08-01 | 2 | 0
2011-09-01 | 57 | 0.07
2011-10-01 | 267 | 0
2011-11-01 | 449 | 0
2011-12-01 | 764 | 0
2012-01-01 | 959 | 0
2012-02-01 | 801 | 0
2012-03-01 | 608 | 0
2012-04-01 | 398 | 0.03
2012-05-01 | 204 | 0
2012-06-01 | 94 | 0.03
2012-07-01 | 2 | 0.2

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | Boston, MA, US (71.00W,42.36N)
Station ID: | KBOS
Month starting | CDD | % Estimated
2010-07-01 | 365 | 0.1
2010-08-01 | 263 | 0.2
2010-09-01 | 151 | 0
2010-10-01 | 18 | 0.06
2010-11-01 | 0 | 0.03
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 1 | 0
2011-04-01 | 8 | 0.03
2011-05-01 | 50 | 0.03
2011-06-01 | 130 | 0
2011-07-01 | 374 | 0.03
2011-08-01 | 260 | 0
2011-09-01 | 115 | 0.07
2011-10-01 | 29 | 0
2011-11-01 | 1 | 0
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0
2012-03-01 | 18 | 0
2012-04-01 | 25 | 0.03
2012-05-01 | 42 | 0
2012-06-01 | 142 | 0.03
2012-07-01 | 304 | 0.2

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | Boston, MA, US (71.00W,42.36N) |  |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD | Comments | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD
|  |  | Electricity | Natural Gas | [6 empty] | Normalized | Normalized | Normalized
[11 empty] | gas | site | Source
2011-07-11 |  |  | 3.7953 | 0.9 | 374 | 0 |  |  | 284 | 3
2011-08-11 |  |  | 3.2526 | 0.8 | 260 | 2 |  |  | 193 | 5 | 0.556 | 3.8086 | 11.4458
2011-09-11 |  |  | 2.7441 | 0.9 | 115 | 57 |  |  | 53 | 66 | 0.8183 | 3.5624 | 10.0219
2011-10-11 |  |  | 2.4232 | 1.2 | 29 | 267 |  |  | 9 | 348 | 2.0309 | 4.4541 | 10.2199
2011-11-11 |  |  | 2.4949 | 2.4 | 1 | 449 |  |  | 0 | 652 | 3.3381 | 5.833 | 11.828
2011-12-11 |  |  | 3.0683 | 3.4 | 0 | 764 |  |  | 0 | 902 | 4.4131 | 7.4814 | 14.8686
2012-01-12 |  |  | 2.9147 | 4.7 | 0 | 959 |  |  | 0 | 1189 | 5.6472 | 8.5619 | 15.6477
2012-02-01 |  |  | 2.2253 | 4.1 | 0 | 801 |  |  | 0 | 950 | 4.6195 | 6.8448 | 12.269
2012-03-01 |  |  | 2.2219 | 3.9 | 18 | 608 |  |  | 0 | 813 | 4.0304 | 6.2523 | 11.6409
2012-04-01 |  |  | 2.2355 | 1.9 | 25 | 398 |  |  | 9 | 537 | 2.8436 | 5.0791 | 10.4439
2012-05-01 |  |  | 2.3754 | 1.5 | 42 | 204 |  |  | 30 | 204 | 1.4117 | 3.7871 | 9.412
2012-06-01 |  |  | 3.0137 | 0.8 | 142 | 94 |  |  | 116 | 87 | 0.9086 | 3.9223 | 11.017
2012-07-11 |  |  | 4.7987 | 0.6 | 304 | 2 |  |  | 284 | 3 | 0.5474 | 5.3461 | 16.6007
|  |  | 33.7682 | 26.2 | 936 |  |  |  | 694 |  |  | 64.933 | 145.4154
59.9682
-8.279%
Note on M7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month