## Pre-Retrofit
Newton Single Family Pre-Retrofit from Application
| Lavine | gas usage | [5 empty] | Lavine | electricity usage
Read date | [6 empty] | Read date
|  | therms | [6 empty] | kwh
2009-09-09 |  | 17 |  |  |  |  | 2009-09-15 |  | 961
2009-10-09 |  | 46 |  |  |  |  | 2009-10-15 |  | 535
2009-11-09 |  | 113 |  |  |  |  | 2009-11-16 |  | 541
2009-12-09 |  | 133 |  |  |  |  | 2009-12-15 |  | 489
2010-01-10 |  | 251 |  |  |  |  | 2010-01-15 |  | 720
2010-02-10 |  | 235 |  |  |  |  | 2010-02-16 |  | 419
2010-03-10 |  | 169 |  |  |  |  | 2010-03-17 |  | 334
2010-04-10 |  | 109 |  |  |  |  | 2010-04-15 |  | 367
2010-05-10 |  | 89 |  |  |  |  | 2010-05-17 |  | 438
2010-06-10 |  | 26 |  |  |  |  | 2010-06-16 |  | 672
2010-07-10 |  | 18 |  |  |  |  | 2010-07-19 |  | 1276
2010-08-10 |  | 17 | 1223 |  |  |  | 2010-08-16 |  | 1016 | 7768
2010-09-10 |  | 16 | 1222 |  |  |  | 2010-09-15 |  | 832 | 7639
2010-10-10 |  | 30 | 1206 |  |  |  | 2010-10-19 |  | 561 | 7665
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
|  | Natural Gas usage | [6 empty] | Electricity used |  | source KWH | site Mbtu | source Mbtu |  |  | Totals
|  | Therms | site Mbtu | source Mbtu |  | site kwh | source kwh |  | site kwh |  |  |  |  | HDD | CDD | site kwh | source kwh | site Mbtu | source Mbtu
| 2009-09-01 | 17 | 1.7 | 1.7799 |  | 498.0955 | 521.506 |  | 961 |  | 3209.74 | 3.2799 | 10.9548 | 0 | 0 | 1459.0955 | 3731.246 | 4.9799 | 12.7347
| 2009-10-01 | 46 | 4.6 | 4.8162 |  | 1347.7879 | 1411.1339 |  | 535 |  | 1786.9 | 1.826 | 6.0987 | 500 | 0 | 1882.7879 | 3198.0339 | 6.426 | 10.9149
| 2009-11-01 | 113 | 11.3 | 11.8311 |  | 3310.8702 | 3466.4811 |  | 541 |  | 1806.94 | 1.8464 | 6.1671 | 592 | 0 | 3851.8702 | 5273.4211 | 13.1464 | 17.9982
| 2009-12-01 | 133 | 13.3 | 13.9251 |  | 3896.8649 | 4080.0176 |  | 489 |  | 1633.26 | 1.669 | 5.5743 | 1086 | 40087 | 4385.8649 | 5713.2776 | 14.969 | 19.4994
| 2010-01-01 | 251 | 25.1 | 26.2797 |  | 7354.2338 | 7699.8828 |  | 720 |  | 2404.8 | 2.4574 | 8.2076 | 1191 | 40118 | 8074.2338 | 10104.6828 | 27.5574 | 34.4873
| 2010-02-01 | 235 | 23.5 | 24.6045 |  | 6885.438 | 7209.0536 |  | 419 |  | 1399.46 | 1.43 | 4.7764 | 964 | 40148 | 7304.438 | 8608.5136 | 24.93 | 29.3809
| 2010-03-10 | 169 | 16.9 | 17.6943 |  | 4951.6554 | 5184.3832 |  | 334 |  | 1115.56 | 1.1399 | 3.8074 | 706 | 40179 | 5285.6554 | 6299.9432 | 18.0399 | 21.5017
| 2010-04-01 | 109 | 10.9 | 11.4123 |  | 3193.6713 | 3343.7738 |  | 367 |  | 1225.78 | 1.2526 | 4.1836 | 427 | 40210 | 3560.6713 | 4569.5538 | 12.1526 | 15.5959
| 2010-05-01 | 89 | 8.9 | 9.3183 |  | 2607.6765 | 2730.2373 |  | 438 |  | 1462.92 | 1.4949 | 4.9929 | 209 | 40247 | 3045.6765 | 4193.1573 | 10.3949 | 14.3112
| 2010-06-01 | 26 | 2.6 | 2.7222 |  | 761.7931 | 797.5974 |  | 672 |  | 2244.48 | 2.2935 | 7.6604 | 65 | 40269 | 1433.7931 | 3042.0774 | 4.8935 | 10.3826
| 2010-07-01 | 18 | 1.8 | 1.8846 |  | 527.3953 | 552.1828 |  | 1276 |  | 4261.84 | 4.355 | 14.5457 | 22 | 40299 | 1803.3953 | 4814.0228 | 6.155 | 16.4303
| 2010-08-01 | 17 | 1.7 | 1.7799 |  | 498.0955 | 521.506 |  | 1016 |  | 3393.44 | 3.4676 | 11.5818 | 44 | 40330 | 1514.0955 | 3914.946 | 5.1676 | 13.3617
| 2010-09-01 | 16 | 1.6 | 1.6752 |  | 468.7958 | 490.8292 |  | 832 |  | 2778.88 | 2.8396 | 9.4843 | 112 | 40360 | 1300.7958 | 3269.7092 | 4.4396 | 11.1595
| 2010-10-01 | 30 | 3 | 3.141 |  | 878.9921 | 920.3047 |  | 561 |  | 1873.74 | 1.9147 | 6.3951 | 0 | 40391 | 1439.9921 | 2794.0447 | 4.9147 | 9.5361
|  | 1222 |  | 127.9434 |  |  |  |  | 7639 |  |  |  | 87.0802
[16 empty] | site kwh | source kwh | site Mbtu | source Mbtu
[15 empty] | Sep 09 - Aug 10 Totals | 43601.5775 | 63462.8756 | 148.8122 | 216.5988
[15 empty] | Oct 09 - Sep 10 Totals | 43443.2778 | 63001.3388 | 148.2719 | 215.0236
[15 empty] | Nov 09 - Oct 10 Totals | 43000.482 | 62597.3496 | 146.7606 | 213.6448
WEATHER NORMALIZATION
Predicted (BEopt 1.3) BOSTON
|  | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD
[5 empty] | Normalized | Normalized |  | Normalized
[5 empty] | Natural Gas | Site Energy |  | Src Energy
MMBtu
| 2009-10-01 |  | 9 | 348 | 7.6482 | 9.4742 |  | 14.1064
| 2009-11-01 |  | 0 | 652 | 13.029 | 14.8754 |  | 19.8084
| 2009-12-01 |  | 0 | 902 | 17.454 | 19.123 |  | 23.8487
| 2010-01-01 |  | 0 | 1189 | 22.5339 | 24.9913 |  | 31.8006
| 2010-02-01 |  | 0 | 950 | 18.3036 | 19.7336 |  | 23.9402
| 2010-03-10 |  | 0 | 813 | 15.8787 | 17.0186 |  | 20.4324
| 2010-04-01 |  | 9 | 537 | 10.9935 | 12.2461 |  | 15.6938
| 2010-05-01 |  | 30 | 204 | 5.0994 | 6.5943 |  | 10.332
| 2010-06-01 |  | 116 | 87 | 3.0285 | 5.322 |  | 10.8312
| 2010-07-01 |  | 284 | 3 | 1.5417 | 5.8967 |  | 16.1598
| 2010-08-01 |  | 193 | 5 | 1.5771 | 5.0447 |  | 13.233
| 2010-09-01 |  | 53 | 66 | 2.6568 | 5.4964 |  | 12.266
212.4526

## Gas
Newton Single Family
Lavine
Month starting |  |  | Bedford | 2010-08-11 | 2010-09-13 | 33 | 16
|  | therms | HDD | 2010-09-13 | 2010-10-11 | 28 | 30
2010-10-01 |  | 101 | 442 | 2010-10-11 | 2010-11-08 | 28 | 101
2010-11-01 |  | 173 | 710 | 2010-11-08 | 2010-12-09 | 31 | 173
2010-12-01 |  | 246 | 1110 | 2010-12-09 | 2011-01-10 | 32 | 246
2011-01-01 |  | 295 | 1298 | 2011-01-10 | 2011-02-08 | 29 | 295
2011-02-01 |  | 157 | 1070 | 2011-02-08 | 2011-03-10 | 30 | 157
2011-03-01 |  | 91 | 885 | 2011-03-10 | 2011-04-08 | 29 | 91
2011-04-01 |  | 48 | 502 | 2011-04-08 | 2011-05-09 | 31 | 48
2011-05-01 |  | 19 | 268 | 2011-05-09 | 2011-06-09 | 31 | 19
2011-06-01 |  | 15 | 113 | 2011-06-09 | 2011-07-08 | 29 | 15
2011-07-11 |  | 12 | 20 | 2011-07-08 | 2011-08-10 | 33 | 12
2011-08-11 |  | 15 | 31 | 2011-08-10 | 2011-09-09 | 30 | 15
2011-09-11 |  | 16 | 108 | 2011-09-09 | 2011-10-11 | 32 | 16
2011-10-11 |  | 30 | 418 | 2011-10-11 | 2011-11-08 | 28 | 30
2011-11-11 |  | 45 | 563 | 2011-11-08 | 2011-12-12 | 34 | 45
2011-12-11 |  | 68 | 882 | 2011-12-12 | 2012-01-12 | 31 | 68
2012-01-12 |  | 72 | 1053 | 2012-01-12 | 2012-02-09 | 28 | 72
2012-02-01 |  | 70 | 895 | 2012-02-09 | 2012-03-12 | 32 | 70
2012-03-01 |  | 39 | 652 | 2012-03-12 | 2012-04-10 | 29 | 39
2012-04-01 |  | 24 | 463 | 2012-04-10 | 2012-05-11 | 31 | 24
2012-05-01 |  | 17 | 208 | 2012-05-11 | 2012-06-12 | 32 | 17
2012-06-01 |  | 12 | 121 | 2012-06-12 | 2012-07-11 | 29 | 12
2012-07-01 |  | 9 | 22 | 2012-07-11 | 2012-08-08 | 28 | 9
2012-08-01 |  |  | 0
0

## Elec
Lavine email with Nstar data given by month
(negative)
| Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD
Month starting
2010-10-01 | 561 |  | 442 | 14
2010-11-01 | 540 |  | 710 | 0
2010-12-01 | 531 |  | 1110 | 0
2011-01-01 | 892 |  | 1298 | 0
2011-02-01 | 921 |  | 1070 | 0
2011-03-01 | 891 |  | 885 | 0
2011-04-01 | 673 |  | 502 | 12
2011-05-01 | 690 |  | 268 | 63
2011-06-01 | 698 |  | 113 | 122 | Retrofit Completed
2011-07-01 | 724 |  | 20 | 309
2011-08-01 | 867 |  | 31 | 202
2011-09-01 | 767 |  | 108 | 105
2011-10-01 | 705 |  | 418 | 15
2011-11-01 | 503 |  | 563 | 2
2011-12-01 | 465 |  | 882 | 0
2012-01-01 | 569 |  | 1053 | 0
2012-02-01 | 478 |  | 895 | 0
2012-03-01 | 455 |  | 652 | 23
2012-04-01 | 449 |  | 463 | 26
2012-05-01 | 461 |  | 208 | 60
2012-06-01 | 624 |  | 121 | 128
2012-07-01 | 824 |  | 22 | 291
2012-08-01

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[8 empty] | Electricity used | [7 empty] | Total kwh |  | Total Mbtu
[8 empty] | site KWH |  | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | Electric Consumption (kWh) | PV Production (kWh) |  |  |  |  | HDD | CDD | site | source | site | source
Month starting
| 2010-10-01 | 101 | 10.1 | 10.5747 | 2959.2734 | 3098.3592 | 2010-10-01 | 561 | 0 | 1873.74 |  | 1.9147 | 6.3951 | 442 | 14 | 3520.2734 | 4972.0992 | 12.0147 | 16.9698
| 2010-11-01 | 173 | 17.3 | 18.1131 | 5068.8544 | 5307.0905 | 2010-11-01 | 540 | 0 | 1803.6 |  | 1.843 | 6.1557 | 710 | 0 | 5608.8544 | 7110.6905 | 19.143 | 24.2688
| 2010-12-01 | 246 | 24.6 | 25.7562 | 7207.7351 | 7546.4987 | 2010-12-01 | 531 | 0 | 1773.54 |  | 1.8123 | 6.0531 | 1110 | 0 | 7738.7351 | 9320.0387 | 26.4123 | 31.8093
| 2011-01-01 | 295 | 29.5 | 30.8865 | 8643.4222 | 9049.6631 | 2011-01-01 | 892 | 0 | 2979.28 |  | 3.0444 | 10.1683 | 1298 | 0 | 9535.4222 | 12028.9431 | 32.5444 | 41.0548
| 2011-02-01 | 157 | 15.7 | 16.4379 | 4600.0586 | 4816.2614 | 2011-02-01 | 921 | 0 | 3076.14 |  | 3.1434 | 10.4989 | 1070 | 0 | 5521.0586 | 7892.4014 | 18.8434 | 26.9368
| 2011-03-01 | 91 | 9.1 | 9.5277 | 2666.276 | 2791.591 | 2011-03-01 | 891 | 0 | 2975.94 |  | 3.041 | 10.1569 | 885 | 0 | 3557.276 | 5767.531 | 12.141 | 19.6846
| 2011-04-01 | 48 | 4.8 | 5.0256 | 1406.3873 | 1472.4875 | 2011-04-01 | 673 | 0 | 2247.82 |  | 2.2969 | 7.6718 | 502 | 12 | 2079.3873 | 3720.3075 | 7.0969 | 12.6974
| 2011-05-01 | 19 | 1.9 | 1.9893 | 556.695 | 582.8597 | 2011-05-01 | 690 | 0 | 2304.6 |  | 2.355 | 7.8656 | 268 | 63 | 1246.695 | 2887.4597 | 4.255 | 9.8549
| 2011-06-01 | 15 | 1.5 | 1.5705 | 439.496 | 460.1524 | 2011-06-01 | 698 | 0 | 2331.32 |  | 2.3823 | 7.9568 | 113 | 122 | 1137.496 | 2791.4724 | 3.8823 | 9.5273
| 2011-07-11 | 12 | 1.2 | 1.2564 | 351.5968 | 368.1219 | 2011-07-01 | 724 | 0 | 2418.16 |  | 2.471 | 8.2532 | 20 | 309 | 1075.5968 | 2786.2819 | 3.671 | 9.5096
| 2011-08-11 | 15 | 1.5 | 1.5705 | 439.496 | 460.1524 | 2011-08-01 | 867 | 0 | 2895.78 |  | 2.9591 | 9.8833 | 31 | 202 | 1306.496 | 3355.9324 | 4.4591 | 11.4538
| 2011-09-11 | 16 | 1.6 | 1.6752 | 468.7958 | 490.8292 | 2011-09-01 | 767 | 0 | 2561.78 |  | 2.6178 | 8.7434 | 108 | 105 | 1235.7958 | 3052.6092 | 4.2178 | 10.4186
| 2011-10-11 | 30 | 3 | 3.141 | 878.9921 | 920.3047 | 2011-10-01 | 705 | 0 | 2354.7 |  | 2.4062 | 8.0366 | 418 | 15 | 1583.9921 | 3275.0047 | 5.4062 | 11.1776
| 2011-11-11 | 45 | 4.5 | 4.7115 | 1318.4881 | 1380.4571 | 2011-11-01 | 503 | 0 | 1680.02 |  | 1.7167 | 5.7339 | 563 | 2 | 1821.4881 | 3060.4771 | 6.2167 | 10.4454
| 2011-12-11 | 68 | 6.8 | 7.1196 | 1992.3821 | 2086.024 | 2011-12-01 | 465 | 0 | 1553.1 |  | 1.587 | 5.3007 | 882 | 0 | 2457.3821 | 3639.124 | 8.387 | 12.4203
| 2012-01-12 | 72 | 7.2 | 7.5384 | 2109.581 | 2208.7313 | 2012-01-01 | 569 | 0 | 1900.46 |  | 1.942 | 6.4863 | 1053 | 0 | 2678.581 | 4109.1913 | 9.142 | 14.0247
| 2012-02-01 | 70 | 7 | 7.329 | 2050.9815 | 2147.3777 | 2012-02-01 | 478 | 0 | 1596.52 |  | 1.6314 | 5.4489 | 895 | 0 | 2528.9815 | 3743.8977 | 8.6314 | 12.7779
| 2012-03-01 | 39 | 3.9 | 4.0833 | 1142.6897 | 1196.3961 | 2012-03-01 | 455 | 0 | 1519.7 |  | 1.5529 | 5.1867 | 652 | 23 | 1597.6897 | 2716.0961 | 5.4529 | 9.27
| 2012-04-01 | 24 | 2.4 | 2.5128 | 703.1937 | 736.2438 | 2012-04-01 | 449 | 0 | 1499.66 |  | 1.5324 | 5.1183 | 463 | 26 | 1152.1937 | 2235.9038 | 3.9324 | 7.6311
| 2012-05-01 | 17 | 1.7 | 1.7799 | 498.0955 | 521.506 | 2012-05-01 | 461 | 0 | 1539.74 |  | 1.5734 | 5.2551 | 208 | 60 | 959.0955 | 2061.246 | 3.2734 | 7.035
| 2012-06-01 | 12 | 1.2 | 1.2564 | 351.5968 | 368.1219 | 2012-06-01 | 624 | 0 | 2084.16 |  | 2.1297 | 7.1132 | 121 | 128 | 975.5968 | 2452.2819 | 3.3297 | 8.3696
| 2012-07-11 | 9 | 0.9 | 0.9423 | 263.6976 | 276.0914 | 2012-07-01 | 824 | 0 | 2752.16 |  | 2.8123 | 9.3931 | 22 | 291 | 1087.6976 | 3028.2514 | 3.7123 | 10.3354
| 2012-08-11 | 0 | [8 empty] | 6 mo | 11.2322 | 37.5155
|  | 6 mo | 17.1 | 17.9037 | [6 empty] | 12 mo | 24.461 | 81.6996
|  | 12 mo | 41.7 | 43.6599
MIN USAGE 6 mos
|  | 9 | 0.9 | 0.9423 |  |  |  | 449 |  |  |  | 1.5324 | 5.1183 |  |  |  |  | 2.4324 | 6.0606
MIN USAGE (with 12 mos data average 2 lowest)
|  | 10.5 | 1.05 | 1.0994 |  |  |  | 452 |  |  |  | 1.5427 | 5.1525 |  |  |  |  | 2.5927 | 6.2519
|  | 9 | [5 empty] | 449
|  | 12 | [5 empty] | 455 | [7 empty] | site kwh | source kwh | site Mbtu | source Mbtu
[15 empty] | Totals 12 months | 19384.99 | 36730.0156 | 66.161 | 125.3595
|  | 171 | [5 empty] | 3291
|  | 417 | [5 empty] | 7167 | [6 empty] | Totals 6 months | 8301.2549 | 16237.6769 | 28.3322 | 55.4192
12 mo MMBtu |  |  |  | 43.6599 | [8 empty] | 81.6996

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | HDD | % Estimated
2009-10-01 | 500 | 0.06
2009-11-01 | 592 | 0.03
2009-12-01 | 1086 | 0.2
2010-01-01 | 1191 | 0.1
2010-02-01 | 964 | 0.1
2010-03-01 | 706 | 0.1
2010-04-01 | 427 | 0.3
2010-05-01 | 209 | 0.5
2010-06-01 | 65 | 0.2
2010-07-01 | 22
2010-08-01 | 44
2010-09-01 | 112
2010-10-01 | 442
2010-11-01 | 710
2010-12-01 | 1110
2011-01-01 | 1298
2011-02-01 | 1070
2011-03-01 | 885
2011-04-01 | 502
2011-05-01 | 268
2011-06-01 | 113
2011-07-01 | 20
2011-08-01 | 31
2011-09-01 | 108 | 0
2011-10-01 | 418 | 0
2011-11-01 | 563 | 0.1
2011-12-01 | 882 | 0
2012-01-01 | 1053 | 0
2012-02-01 | 895 | 0.03
2012-03-01 | 652 | 0
2012-04-01 | 463 | 0.03
2012-05-01 | 208 | 0.06
2012-06-01 | 121 | 0.07
2012-07-01 | 22 | 0.1

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | CDD | % Estimated
2010-07-01 | 360
2010-08-01 | 263
2010-09-01 | 128 | 0
2010-10-01 | 14 | 0.3
2010-11-01 | 0 | 0
2010-12-01 | 0 | 0.7
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 0 | 0
2011-04-01 | 12 | 0
2011-05-01 | 63 | 0
2011-06-01 | 122 | 0
2011-07-01 | 309 | 0
2011-08-01 | 202 | 0.5
2011-09-01 | 105 | 0
2011-10-01 | 15 | 0
2011-11-01 | 2 | 0.1
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 23 | 0
2012-04-01 | 26 | 0.03
2012-05-01 | 60 | 0.06
2012-06-01 | 128 | 0.07
2012-07-01 | 291 | 0.1

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N) |  |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD | Comments |  | BEopt 1.3 CDD | BEopt 1.3 HDD
|  |  | Electricity | Natural Gas | [6 empty] | Normalized | Normalized | Normalized
[11 empty] | Natural Gas | Total Site | Total Src
2011-07-11 |  |  | 2.471 | 1.2 | 309 | 20 |  |  | 284 | 3 |  | MMBtu | MMBtu
2011-08-11 |  |  | 2.9591 | 1.5 | 202 | 31 |  |  | 193 | 5 | 0.6335 | 3.5926 | 10.5466
2011-09-11 |  |  | 2.6178 | 1.6 | 105 | 108 |  |  | 53 | 66 | 1.0239 | 3.6417 | 9.8154
2011-10-11 |  |  | 2.4062 | 3 | 15 | 418 |  |  | 9 | 348 | 2.8287 | 5.2349 | 10.9982
2011-11-11 |  |  | 1.7167 | 4.5 | 2 | 563 |  |  | 0 | 652 | 4.7743 | 6.491 | 10.7326
2011-12-11 |  |  | 1.587 | 6.8 | 0 | 882 |  |  | 0 | 902 | 6.3743 | 7.9613 | 11.9746
2012-01-12 |  |  | 1.942 | 7.2 | 0 | 1053 |  |  | 0 | 1189 | 8.2111 | 10.1531 | 15.0833
2012-02-01 |  |  | 1.6314 | 7 | 0 | 895 |  |  | 0 | 950 | 6.6815 | 8.3129 | 12.4445
2012-03-01 |  |  | 1.5529 | 3.9 | 23 | 652 |  |  | 0 | 813 | 5.8047 | 7.3576 | 11.2643
2012-04-01 |  |  | 1.5324 | 2.4 | 26 | 463 |  |  | 9 | 537 | 4.0383 | 5.5707 | 9.3464
2012-05-01 |  |  | 1.5734 | 1.7 | 60 | 208 |  |  | 30 | 204 | 1.9071 | 3.4805 | 7.2519
2012-06-01 |  |  | 2.1297 | 1.2 | 128 | 121 |  |  | 116 | 87 | 1.1583 | 3.288 | 8.326
2012-07-11 |  |  | 2.8123 | 0.9 | 291 | 22 |  |  | 284 | 3 | 0.6207 | 3.433 | 10.043
[12 empty] | 68.5174 | 127.8267
66.161
-3.562%
Note on M7: Cathy: Used best fit equation with BEopt generated HDD