## Pre-retrofit
| Pre-retrofit Gas Usage from National Grid | [7 empty] | Electricity data from application is not 1 year's worth and its unclear if it is both units
|  | Unit 1 | therms | Unit 2 | therms |  | total |  | House was purchased in Sept 2009 and construction started in Jul 2010 so there is not 1 year available
| 2009-09-01 |  | 57 |  |  |  | 57 |  | It is also unclear whether the house was occupied during that time.
| 2009-10-01 |  | 96 |  | 51 |  | 147 |  | Therefore using BEopt 1.3 for pre-retrofit usage.
| 2009-11-01 |  | 176 |  | 165 |  | 341 |  |  |  |  | BEopt 1.3 model in 04 - Energy Analysis_new DER/E - BEopt modeling/1-3 Venable Hwang Opt and AsBuilt.bpj
| 2009-12-01 |  | 194 |  | 148 |  | 342 | [7 empty] | Original bldg |  | Hypothetical retrofit of larger bldg
| 2010-01-01 |  | 213 |  | 115 |  | 328 |  |  |  |  | Total electricity in kwh
| 2010-02-01 |  | 122 |  | 32 |  | 154 | [7 empty] | 8866 |  | 10180
| 2010-03-01 |  | 63 |  | 21 |  | 84
| 2010-04-01 |  | 35 |  | 18 |  | 53 |  |  |  |  | Total natural gas in therms
| 2010-05-01 |  | 14 |  | 22 |  | 36 | [7 empty] | 3599 |  | 4605
| 2010-06-01 |  | 8 |  | 17 |  | 25
| 2010-07-01 |  | 7 |  | 11 | Construction begins | 18 |  |  |  |  | Total oil in gallons
| 2010-08-01 |  | 1 |  | 1 |  | 2 | 1587 | therms for year |  |  |  | 0
| 2010-09-01 |  | 8 |  | 8 |  | 16
| 2010-10-01 |  | 1 |  | 50 |  | 51
| 2010-11-01 |  | 0 |  | 77 |  | 77
| 2010-12-01 |  | 67 |  | 77 |  | 144
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[16 empty] | Total kwh |  | Total Mbtu
[9 empty] | site KWH | source KWH | site Mbtu | source Mbtu
Period |  | therms | site Mbtu | source Mbtu |  | site kwh | source kwh |  | Electric Consumption (kWh) |  |  |  | HDD | CDD |  | site | source | site | source
BEOpt orig |  | 3599 | 359.9 | 376.8153 |  | 105449.751 | 110405.8892 |  | 8866 | 29612.44 | 30.2597 | 101.0673 | 0 | 0 |  | 114315.751 | 140018.3292 | 390.1597 | 477.8826
BEOpt retrof |  | 4605 | 460.5 | 482.1435 |  | 134925.2857 | 141266.7741 |  | 10180 | 34001.2 | 34.7443 | 116.0461 | 0 | 0 |  | 145105.2857 | 175267.9741 | 495.2443 | 598.1896

## Gas
Arlington Two Family
Venable Hwang
Month starting |  |  |  | Bedford | 2010-11-24 | 2010-12-27 | 33 | 0
| #1 therms | #2 therms | Total therms | HDD | 2010-12-27 | 2011-01-26 | 30 | 67
2010-12-01 | 0 | 77 | 77 | 1110 | 2011-01-26 | 2011-02-24 | 29 | 35
2011-01-01 | 67 | 77 | 144 | 1298 | 2011-02-24 | 2011-03-28 | 32 | 27
2011-02-01 | 35 | 52 | 87 | 1070 | 2011-03-28 | 2011-04-27 | 30 | 11
2011-03-01 | 27 | 49 | 76 | 885 | 2011-04-27 | 2011-05-25 | 28 | 11
2011-04-01 | 11 | 33 | 44 | 502 | 2011-05-25 | 2011-06-27 | 33 | 8
2011-05-01 | 11 | 20 | 31 | 268 | 2011-06-27 | 2011-07-28 | 31 | 7
2011-06-01 | 8 | 14 | 22 | 113 | 2011-07-28 | 2011-08-29 | 32 | 9
2011-07-11 | 7 | 7 | 14 | 20 | 2011-08-29 | 2011-09-26 | 28 | 8
2011-08-11 | 9 | 7 | 16 | 31 | 2011-09-26 | 2011-10-26 | 30 | 10
2011-09-11 | 8 | 6 | 14 | 108 | 2011-10-26 | 2011-11-29 | 34 | 16
2011-10-11 | 10 | 14 | 24 | 418 | 2011-11-29 | 2011-12-28 | 29 | 23
2011-11-11 | 16 | 42 | 58 | 563 | 2011-12-28 | 2012-01-26 | 29 | 31
2011-12-11 | 23 | 45 | 68 | 882 | 2012-01-26 | 2012-02-27 | 32 | 31
2012-01-12 | 31 | 65 | 96 | 1053 | 2012-02-27 | 2012-03-27 | 29 | 20
2012-02-01 | 31 | 62 | 93 | 895 | 2012-03-27 | 2012-04-27 | 31 | 14
2012-03-01 | 20 | 37 | 57 | 652 | 2012-04-27 | 2012-05-29 | 32 | 11
2012-04-01 | 14 | 27 | 41 | 463 | 2012-05-29 | 2012-06-26 | 28 | 8
2012-05-01 | 11 | 17 | 28 | 208 | 2012-06-26 | 2012-07-27 | 31 | 8
2012-06-01 | 8 | 7 | 15 | 121 | 2012-07-27 | 2012-08-28 | 32 | 7
2012-07-01 | 8 | 5 | 13 | 22
2012-08-01 | 7 | 6 | 13 | 0 | 2010-11-24 | 2010-12-27 | 33 | 77
|  |  | 0 | 0 | 2010-12-27 | 2011-01-26 | 30 | 77
[5 empty] | 2011-01-26 | 2011-02-24 | 29 | 52
[5 empty] | 2011-02-24 | 2011-03-28 | 32 | 49
[5 empty] | 2011-03-28 | 2011-04-27 | 30 | 33
[5 empty] | 2011-04-27 | 2011-05-25 | 28 | 20
[5 empty] | 2011-05-25 | 2011-06-27 | 33 | 14
[5 empty] | 2011-06-27 | 2011-08-29 | 63 | 14
[5 empty] | 2011-08-29 | 2011-09-26 | 28 | 6
[5 empty] | 2011-09-26 | 2011-10-26 | 30 | 14
[5 empty] | 2011-10-26 | 2011-11-29 | 34 | 42
[5 empty] | 2011-11-29 | 2011-12-27 | 28 | 45
[5 empty] | 2011-12-27 | 2012-01-26 | 30 | 65
[5 empty] | 2012-01-26 | 2012-02-27 | 32 | 62
[5 empty] | 2012-02-27 | 2012-03-27 | 29 | 37
[5 empty] | 2012-03-27 | 2012-04-27 | 31 | 27
[5 empty] | 2012-04-27 | 2012-05-29 | 32 | 17
[5 empty] | 2012-05-29 | 2012-06-26 | 28 | 7
[5 empty] | 2012-06-26 | 2012-07-27 | 31 | 5
[5 empty] | 2012-07-27 | 2012-08-28 | 32 | 6

## Elec
There are two apartments at the Arlington home
Veneable Hwang - Nstar
| Electricity used |  |  | (negative)
| Apt 1 | Apt 2 | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD
Month Starting
2011-01-01 |  |  | 0 |  | 1298 | 0
2011-02-01 |  |  | 0 |  | 1070 | 0
2011-03-01 |  |  | 0 |  | 885 | 0 | Retrofit Completed
2011-04-01 |  |  | 0 |  | 502 | 12
2011-05-01 |  |  | 0 |  | 268 | 63
2011-06-01 |  |  | 0 |  | 113 | 122
2011-07-07 | 329 | 703 | 1032 |  | 20 | 309
2011-08-09 | 410 | 1815 | 2225 |  | 31 | 202
2011-09-08 | 323 | 1506 | 1829 |  | 108 | 105
2011-10-07 | 335 | 969 | 1304 |  | 418 | 15
2011-11-08 | 362 | 692 | 1054 |  | 563 | 2
2011-12-08 | 329 | 541 | 870 |  | 882 | 0
2012-01-10 | 358 | 779 | 1137 |  | 1053 | 0
2012-02-08 | 314 | 609 | 923 |  | 895 | 0
2012-03-09 | 292 | 536 | 828 |  | 652 | 23
2012-04-06 | 301 | 511 | 812 |  | 463 | 26
2012-05-09 | 338 | 540 | 878 |  | 208 | 60
2012-06-08 | 285 | 661 | 946 |  | 121 | 128 | AC installed in Unit 2
2012-07-10 | 302 | 1088 | 1390 |  | 22 | 291
2012-08-01 |  |  | #REF!

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
[17 empty] | Total kwh |  | Total Mbtu
[8 empty] | Electricity used |  | site KWH | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | Apt 1 | Apt 2 | Electric Consumption (kWh) |  |  |  |  | HDD | CDD | site | source | site | source
| 2011-01-01 | 144 | 14.4 | 15.0768 | 4219.162 | 4417.4626 | 2011-01-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1298 | 0 | 4219.162 | 4417.4626 | 14.4 | 15.0768
| 2011-02-01 | 87 | 8.7 | 9.1089 | 2549.0771 | 2668.8837 | 2011-02-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1070 | 0 | 2549.0771 | 2668.8837 | 8.7 | 9.1089
| 2011-03-01 | 76 | 7.6 | 7.9572 | 2226.78 | 2331.4386 | 2011-03-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 885 | 0 | 2226.78 | 2331.4386 | 7.6 | 7.9572
| 2011-04-01 | 44 | 4.4 | 4.6068 | 1289.1884 | 1349.7803 | 2011-04-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 502 | 12 | 1289.1884 | 1349.7803 | 4.4 | 4.6068
| 2011-05-01 | 31 | 3.1 | 3.2457 | 908.2918 | 950.9815 | 2011-05-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 268 | 63 | 908.2918 | 950.9815 | 3.1 | 3.2457
| 2011-06-01 | 22 | 2.2 | 2.3034 | 644.5942 | 674.8901 | 2011-06-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 113 | 122 | 644.5942 | 674.8901 | 2.2 | 2.3034
| 2011-07-11 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2011-07-01 | 329 | 703 | 1032 | 3446.88 |  | 3.5222 | 11.7642 | 20 | 309 | 1442.1963 | 3876.3555 | 4.9222 | 13.23
| 2011-08-11 | 16 | 1.6 | 1.6752 | 468.7958 | 490.8292 | 2011-08-01 | 410 | 1815 | 2225 | 7431.5 |  | 7.5939 | 25.3637 | 31 | 202 | 2693.7958 | 7922.3292 | 9.1939 | 27.0389
| 2011-09-11 | 14 | 1.4 | 1.4658 | 410.1963 | 429.4755 | 2011-09-01 | 323 | 1506 | 1829 | 6108.86 |  | 6.2424 | 20.8495 | 108 | 105 | 2239.1963 | 6538.3355 | 7.6424 | 22.3153
| 2011-10-11 | 24 | 2.4 | 2.5128 | 703.1937 | 736.2438 | 2011-10-01 | 335 | 969 | 1304 | 4355.36 |  | 4.4506 | 14.8648 | 418 | 15 | 2007.1937 | 5091.6038 | 6.8506 | 17.3776
| 2011-11-11 | 58 | 5.8 | 6.0726 | 1699.3847 | 1779.2558 | 2011-11-01 | 362 | 692 | 1054 | 3520.36 |  | 3.5973 | 12.015 | 563 | 2 | 2753.3847 | 5299.6158 | 9.3973 | 18.0876
| 2011-12-11 | 68 | 6.8 | 7.1196 | 1992.3821 | 2086.024 | 2011-12-01 | 329 | 541 | 870 | 2905.8 |  | 2.9693 | 9.9175 | 882 | 0 | 2862.3821 | 4991.824 | 9.7693 | 17.0371
| 2012-01-12 | 96 | 9.6 | 10.0512 | 2812.7747 | 2944.9751 | 2012-01-01 | 358 | 779 | 1137 | 3797.58 |  | 3.8806 | 12.9611 | 1053 | 0 | 3949.7747 | 6742.5551 | 13.4806 | 23.0123
| 2012-02-01 | 93 | 9.3 | 9.7371 | 2724.8755 | 2852.9446 | 2012-02-01 | 314 | 609 | 923 | 3082.82 |  | 3.1502 | 10.5217 | 895 | 0 | 3647.8755 | 5935.7646 | 12.4502 | 20.2588
| 2012-03-01 | 57 | 5.7 | 5.9679 | 1670.085 | 1748.579 | 2012-03-01 | 292 | 536 | 828 | 2765.52 |  | 2.826 | 9.4387 | 652 | 23 | 2498.085 | 4514.099 | 8.526 | 15.4066
| 2012-04-01 | 41 | 4.1 | 4.2927 | 1201.2892 | 1257.7498 | 2012-04-01 | 301 | 511 | 812 | 2712.08 |  | 2.7714 | 9.2563 | 463 | 26 | 2013.2892 | 3969.8298 | 6.8714 | 13.549
| 2012-05-01 | 28 | 2.8 | 2.9316 | 820.3926 | 858.9511 | 2012-05-01 | 338 | 540 | 878 | 2932.52 |  | 2.9966 | 10.0087 | 208 | 60 | 1698.3926 | 3791.4711 | 5.7966 | 12.9403
| 2012-06-01 | 15 | 1.5 | 1.5705 | 439.496 | 460.1524 | 2012-06-01 | 285 | 661 | 946 | 3159.64 |  | 3.2287 | 10.7839 | 121 | 128 | 1385.496 | 3619.7924 | 4.7287 | 12.3544
| 2012-07-11 | 13 | 1.3 | 1.3611 | 380.8966 | 398.7987 | 2012-07-01 | 302 | 1088 | 1390 | 4642.6 |  | 4.7441 | 15.8452 | 22 | 291 | 1770.8966 | 5041.3987 | 6.0441 | 17.2063
| 2012-08-11 | 13 | [9 empty] | 6 mos | 19.7169 | 65.8544
|  | 6 mo | 24.7 | 25.8609 | [7 empty] | 12 mos | 48.4509 | 161.8262
|  | 12 mo | 52.3 | 54.7581
MIN USAGE 6 mos
|  | 13 | 1.3 | 1.3611 | [5 empty] | 812 |  |  | 2.7714 | 9.2563 |  |  |  |  | 4.0714 | 10.6174
MIN USAGE (with 12 mos data average 2 lowest)
|  | 13.5 | 1.35 | 1.4135 | [5 empty] | 820 |  |  | 2.7987 | 9.3475 |  |  |  |  | 4.1487 | 10.761
|  | 13 | [7 empty] | 812
|  | 14 | [7 empty] | 828 | [5 empty] | Post Retrofit
[17 empty] | site kwh | source kwh | site Mbtu | source Mbtu
|  | 247 | [7 empty] | 5777 | [5 empty] | 12 month totals | 29519.7621 | 63458.6189 | 100.7509 | 216.5843
|  | 523 | [7 empty] | 14196
[16 empty] | 6 month totals | 13014.0349 | 26872.3555 | 44.4169 | 91.7153
12 mo MMBtu |  |  |  | 54.7581 | [9 empty] | 161.8262

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | HDD | % Estimated
2010-07-01 | 22
2010-08-01 | 44
2010-09-01 | 112
2010-10-01 | 442
2010-11-01 | 710
2010-12-01 | 1110
2011-01-01 | 1298
2011-02-01 | 1070
2011-03-01 | 885
2011-04-01 | 502
2011-05-01 | 268
2011-06-01 | 113
2011-07-01 | 20
2011-08-01 | 31
2011-09-01 | 108 | 0
2011-10-01 | 418 | 0
2011-11-01 | 563 | 0.1
2011-12-01 | 882 | 0
2012-01-01 | 1053 | 0
2012-02-01 | 895 | 0.03
2012-03-01 | 652 | 0
2012-04-01 | 463 | 0.03
2012-05-01 | 208 | 0.06
2012-06-01 | 121 | 0.07
2012-07-01 | 22 | 0.1

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N)
Station ID: | KBED
Month starting | CDD | % Estimated
2010-07-01 | 360
2010-08-01 | 263
2010-09-01 | 128 | 0
2010-10-01 | 14 | 0.3
2010-11-01 | 0 | 0
2010-12-01 | 0 | 0.7
2011-01-01 | 0 | 0
2011-02-01 | 0 | 0
2011-03-01 | 0 | 0
2011-04-01 | 12 | 0
2011-05-01 | 63 | 0
2011-06-01 | 122 | 0
2011-07-01 | 309 | 0
2011-08-01 | 202 | 0.5
2011-09-01 | 105 | 0
2011-10-01 | 15 | 0
2011-11-01 | 2 | 0.1
2011-12-01 | 0 | 0
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 23 | 0
2012-04-01 | 26 | 0.03
2012-05-01 | 60 | 0.06
2012-06-01 | 128 | 0.07
2012-07-01 | 291 | 0.1

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual site energy |  |  | BEDFORD HANSCOM FIELD, MA, US (71.29W,42.47N) |  |  | Predicted (BEopt 1.3) BOSTON
Month | Date | MMBtu |  |  | Actual CDD | Actual HDD | Comments |  | BEopt 1.3 CDD | BEopt 1.3 HDD | Normalized Gas MMBtu | Normalized Site | Normalized Src
|  |  | Electricity | Natural Gas
2011-07-11 |  |  | 3.5222 | 1.4 | 309 | 20 |  |  | 284 | 3
2011-08-11 |  |  | 7.5939 | 1.6 | 202 | 31 |  |  | 193 | 5 | 0.7452 | 8.3391 | 26.1439
2011-09-11 |  |  | 6.2424 | 1.4 | 105 | 108 |  |  | 53 | 66 | 1.2393 | 7.4817 | 22.1471
2011-10-11 |  |  | 4.4506 | 2.4 | 15 | 418 |  |  | 9 | 348 | 3.5235 | 7.9741 | 18.5539
2011-11-11 |  |  | 3.5973 | 5.8 | 2 | 563 |  |  | 0 | 652 | 5.9859 | 9.5832 | 18.2822
2011-12-11 |  |  | 2.9693 | 6.8 | 0 | 882 |  |  | 0 | 902 | 8.0109 | 10.9802 | 18.3049
2012-01-12 |  |  | 3.8806 | 9.6 | 0 | 1053 |  |  | 0 | 1189 | 10.3356 | 14.2162 | 23.7825
2012-02-01 |  |  | 3.1502 | 9.3 | 0 | 895 |  |  | 0 | 950 | 8.3997 | 11.5499 | 19.3162
2012-03-01 |  |  | 2.826 | 5.7 | 23 | 652 |  |  | 0 | 813 | 7.29 | 10.116 | 17.0713
2012-04-01 |  |  | 2.7714 | 4.1 | 26 | 463 |  |  | 9 | 537 | 5.0544 | 7.8258 | 14.5483
2012-05-01 |  |  | 2.9966 | 2.8 | 60 | 208 |  |  | 30 | 204 | 2.3571 | 5.3537 | 12.4766
2012-06-01 |  |  | 3.2287 | 1.5 | 128 | 121 |  |  | 116 | 87 | 1.4094 | 4.6381 | 12.2595
2012-07-11 |  |  | 4.7441 | 1.3 | 291 | 22 |  |  | 284 | 3 | 0.729 | 5.4731 | 16.6085
[12 empty] | 103.5309 | 219.4949
100.7509
-2.759%
Note on M7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month