## Pre-Retrofit
Wick Pre-retrofit information from Application
Pre-retrofit electricity usage from application | [7 empty] | Pre-retrofit natural gas from application
Read date |  | kwh | [5 empty] | Read date | therms
2009-01-26 |  | 523 | [5 empty] | 2009-01-15 | 238
2009-02-24 |  | 353 | [5 empty] | 2009-02-13 | 218
2009-03-26 |  | 374 | [5 empty] | 2009-03-16 | 171
2009-04-27 |  | 330 | [5 empty] | 2009-04-14 | 106
2009-05-26 |  | 300 | [5 empty] | 2009-05-14 | 47
2009-06-25 |  | 317 | [5 empty] | 2009-06-15 | 34
2009-07-27 |  | 343 | [5 empty] | 2009-07-16 | 18
2009-08-25 |  | 406 | [5 empty] | 2009-08-14 | 15
2009-09-24 |  | 352 | [5 empty] | 2009-09-15 | 20
2009-10-22 |  | 306 | [5 empty] | 2009-10-15 | 48
2009-11-22 |  | 387 | [5 empty] | 2009-11-13 | 102
2009-12-23 |  | 452 | 4443 | Jan 09 - Dec 09 |  |  |  | 2009-12-14 | 147 | 1164 | Jan 09 - Dec 09
2010-01-26 |  | 528 | [5 empty] | 2010-01-15 | 283
2010-02-24 |  | 414 | 4509 | Mar 09-Feb10 |  |  |  | 2010-02-12 | 214 | 1205 | Mar 09 - Feb 10
2010-03-26 |  | 334 | [5 empty] | 2010-03-15 | 163
2010-04-27 |  | 343 | [5 empty] | 2010-04-14 | 71
2010-05-25 |  | 316 | [5 empty] | 2010-05-14 | 54
2010-06-25 |  | 398 | [5 empty] | 2010-06-15 | 22
| Mbtu to kwh |  | 292.9974
| therm to MBTU |  | 0.1
| kwh to Mbtu |  | 0.003413
grid electricity source/site |  |  | 3.34
natural gas source/site |  |  | 1.047
| Natural Gas usage | [6 empty] | Electricity used | source KWH |  | site Mbtu | source Mbtu |  |  | Totals
| Therms | site Mbtu | source Mbtu |  | site kwh | source kwh |  | site kwh |  |  |  |  | HDD | CDD | site kwh | source kwh | site Mbtu | source Mbtu
2009-01-26 | 238 | 23.8 | 24.9186 |  | 6973.3372 | 7301.0841 |  | 523 | 1746.82 |  | 1.785 | 5.9619 | 1407 | 0 | 7496.3372 | 9047.9041 | 25.585 | 30.8805
2009-02-24 | 218 | 21.8 | 22.8246 |  | 6387.3425 | 6687.5476 |  | 353 | 1179.02 |  | 1.2048 | 4.024 | 1017 | 0 | 6740.3425 | 7866.5676 | 23.0048 | 26.8486
2009-03-26 | 171 | 17.1 | 17.9037 |  | 5010.2549 | 5245.7369 |  | 374 | 1249.16 |  | 1.2765 | 4.2634 | 890 | 0 | 5384.2549 | 6494.8969 | 18.3765 | 22.1671
2009-04-27 | 106 | 10.6 | 11.0982 |  | 3105.772 | 3251.7433 |  | 330 | 1102.2 |  | 1.1263 | 3.7618 | 478 | 0 | 3435.772 | 4353.9433 | 11.7263 | 14.86
2009-05-26 | 47 | 4.7 | 4.9209 |  | 1377.0876 | 1441.8107 |  | 300 | 1002 |  | 1.0239 | 3.4198 | 260 | 0 | 1677.0876 | 2443.8107 | 5.7239 | 8.3407
2009-06-25 | 34 | 3.4 | 3.5598 |  | 996.191 | 1043.012 |  | 317 | 1058.78 |  | 1.0819 | 3.6136 | 95 | 0 | 1313.191 | 2101.792 | 4.4819 | 7.1734
2009-07-27 | 18 | 1.8 | 1.8846 |  | 527.3953 | 552.1828 |  | 343 | 1145.62 |  | 1.1707 | 3.91 | 52 | 0 | 870.3953 | 1697.8028 | 2.9707 | 5.7946
2009-08-25 | 15 | 1.5 | 1.5705 |  | 439.496 | 460.1524 |  | 406 | 1356.04 |  | 1.3857 | 4.6282 | 40 | 0 | 845.496 | 1816.1924 | 2.8857 | 6.1987
2009-09-24 | 20 | 2 | 2.094 |  | 585.9947 | 613.5365 |  | 352 | 1175.68 |  | 1.2014 | 4.0126 | 200 | 0 | 937.9947 | 1789.2165 | 3.2014 | 6.1066
2009-10-22 | 48 | 4.8 | 5.0256 |  | 1406.3873 | 1472.4875 |  | 306 | 1022.04 |  | 1.0444 | 3.4882 | 524 | 0 | 1712.3873 | 2494.5275 | 5.8444 | 8.5138
2009-11-22 | 102 | 10.2 | 10.6794 |  | 2988.5731 | 3129.036 |  | 387 | 1292.58 |  | 1.3208 | 4.4116 | 596 | 0 | 3375.5731 | 4421.616 | 11.5208 | 15.091
2009-12-23 | 147 | 14.7 | 15.3909 |  | 4307.0612 | 4509.4931 |  | 452 | 1509.68 |  | 1.5427 | 5.1525 | 1125 | 0 | 4759.0612 | 6019.1731 | 16.2427 | 20.5434
2010-01-26 | 283 | 28.3 | 29.6301 |  | 8291.8254 | 8681.5412 |  | 528 | 1763.52 |  | 1.8021 | 6.0189 | 1199 | 0 | 8819.8254 | 10445.0612 | 30.1021 | 35.649
2010-02-24 | 214 | 21.4 | 22.4058 |  | 6270.1436 | 6564.8403 |  | 414 | 1382.76 |  | 1.413 | 4.7194 | 997 | 0 | 6684.1436 | 7947.6003 | 22.813 | 27.1252
| 1164 |  | 121.8708 |  |  |  |  | 4443 |  |  |  | 50.6476
| Predicted (BEopt 1.3) | [13 empty] | site kwh | source kwh | site Mbtu | source Mbtu
|  | BEopt 1.3 CDD | BEopt 1.3 HDD | Normalized | Normalized |  | Normalized | [6 empty] | Jan09 - Dec 09 | 38547.8931 | 50547.443 | 131.564 | 172.5184
|  |  |  | Nat Gas | Site energy |  | Src Energy | [6 empty] | Mar 09 - Feb 10 | 39815.1822 | 52025.6328 | 135.8892 | 177.5635
MMBtu
2009-01-26 |  | 0 | 1481 | 24.9631 | 26.7481 |  | 32.0983
2009-02-24 |  | 0 | 1121 | 19.0231 | 20.2279 |  | 23.9412
2009-03-26 |  | 0 | 749 | 12.8851 | 14.1616 |  | 17.7541
2009-04-27 |  | 0 | 566 | 9.8656 | 10.9919 |  | 14.0911
2009-05-26 |  | 11 | 237 | 4.4371 | 5.461 |  | 8.0655
2009-06-25 |  | 109 | 82 | 1.8796 | 2.9615 |  | 5.5816
2009-07-27 |  | 95 | 11 | 0.7081 | 1.8788 |  | 4.6514
2009-08-25 |  | 207 | 8 | 0.6586 | 2.0443 |  | 5.3177
2009-09-24 |  | 72 | 77 | 1.7971 | 2.9985 |  | 5.8942
2009-10-22 |  | 6 | 422 | 7.4896 | 8.534 |  | 11.3298
2009-11-22 |  | 0 | 757 | 13.0171 | 14.3379 |  | 18.0405
2009-12-23 |  | 0 | 1005 | 17.1091 | 18.6518 |  | 23.0658
[5 empty] | 128.9972 |  | 169.831

## Gas
RETROFIT RESULTED IN ALL ELECTRIC HOUSE
Northampton Single Family Gas Usage
| Wick | First several months of data not aligned with month so calculated below
| Therms | HDD | CDD
Month starting
2010-10-01 |  | 708 | 0
2010-11-01 |  | 1130 | 0
2010-12-01 |  | 1309 | 0 | Retrofit Completed
2011-01-01 |  | 1080 | 0
2011-02-01 |  | 883 | 0
2011-03-01 |  | 471 | 13
2011-04-01 |  | 189 | 86
2011-05-01 |  | 69 | 157
2011-06-01 |  | 16 | 329
2011-07-01 | 0 | 34 | 215
2011-08-01 | 0 | 87 | 115
2011-09-01 | 0 | 429 | 17
2011-10-01 | 0 | 610 | 1
2011-11-01 | 0 | 906 | 0
2011-12-01 | 0 | 1071 | 0
2012-01-01 | 0 | 890 | 0
2012-02-01 | 0 | 626 | 22
2012-03-01 | 0 | 441 | 27
2012-04-01 | 0 | 160 | 104
2012-05-01 | 0 | 87 | 162
2012-06-01 | 0 | 15 | 333
2012-07-01 | 0 | 36 | 266
2012-08-01 | 0

## Elec
Northampton: From email
| Northampton Electricity used |  |  | (negative) kwh
| NGrid |  | Electric Consumption (kWh) | PV Production (kWh) | HDD | CDD
Month starting | Grid | buyback | Total
2010-10-01 |  |  | 0 |  | 407 | 16
2010-11-01 |  |  | 0 |  | 708 | 0
2010-12-01 |  |  | 0 |  | 1130 | 0
2011-01-01 |  |  | 0 |  | 1309 | 0
2011-02-01 |  |  | 0 |  | 1080 | 0
2011-03-01 |  |  | 0 |  | 883 | 0
2011-04-01 |  |  | 0 |  | 471 | 13
2011-05-01 |  |  | 0 |  | 189 | 86
2011-06-01 |  |  | 0 |  | 69 | 157
2011-07-01 | 223 |  | 846 | -623 | 16 | 329 | Retrofit Completed
2011-08-01 | 42 |  | 651 | -609 | 34 | 215
2011-09-01 | 0 |  | 452 | -452 | 87 | 115
2011-10-01 | 123 |  | 499 | -376 | 429 | 17
2011-11-01 | 272 |  | 686 | -414 | 610 | 1
2011-12-01 | 442 |  | 747 | -305 | 906 | 0
2012-01-01 | 665 |  | 1035 | -370 | 1071 | 0
2012-02-01 | 269 |  | 660 | -391 | 890 | 0
2012-03-01 | 160 |  | 843 | -683 | 626 | 22
2012-04-01 | 0 | -115 | 515 | -630 | 441 | 27
2012-05-01 | 0 | -128 | 491 | -619 | 160 | 104
2012-06-01 | 0 | -77 | 622 | -699 | 87 | 162
2012-07-01 | 0 | -211 | 496 | -707 | 15 | 333
2012-08-01 | 0 | -201 | 509 | -710 | 36 | 266

## Energy Use
|  | Mbtu to kwh |  | 292.9974
|  | therm to MBTU |  | 0.1
|  | Gal of oil to MBTU |  | 0.13869
|  | kwh to Mbtu |  | 0.003413
| grid electricity source/site |  |  | 3.34
| natural gas source/site |  |  | 1.047
| oil source/site |  |  | 1.01 | [16 empty] | Total kwh |  |  | Total Mbtu
[8 empty] | Electricity used |  | site KWH |  |  |  | source KWH |  | site Mbtu | source Mbtu
|  | therms | site Mbtu | source Mbtu | site kwh | source kwh |  | NGrid | buyback | Electric Consumption (kWh) | PV Production (kWh) |  | site kWh excluding gen + used | Using 1.0 conv for site gen + used | src if no PV |  | Using 1.0 conv for site gen + used | Src if no PV | HDD | CDD | site | source | src if no PV | site | source | src if no PV
PV used
| 2010-10-01 | 0 | 0 | 0 | 0 | 0 | 2010-10-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 708 | 0 | 0 | 0 |  | 0 | 0
| 2010-11-01 | 0 | 0 | 0 | 0 | 0 | 2010-11-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1130 | 0 | 0 | 0 |  | 0 | 0
| 2010-12-01 | 0 | 0 | 0 | 0 | 0 | 2010-12-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1309 | 0 | 0 | 0 |  | 0 | 0
| 2011-01-01 | 0 | 0 | 0 | 0 | 0 | 2011-01-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 1080 | 0 | 0 | 0 |  | 0 | 0
| 2011-02-01 | 0 | 0 | 0 | 0 | 0 | 2011-02-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 883 | 0 | 0 | 0 |  | 0 | 0
| 2011-03-01 | 0 | 0 | 0 | 0 | 0 | 2011-03-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 471 | 13 | 0 | 0 |  | 0 | 0
| 2011-04-01 | 0 | 0 | 0 | 0 | 0 | 2011-04-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 189 | 86 | 0 | 0 |  | 0 | 0
| 2011-05-01 | 0 | 0 | 0 | 0 | 0 | 2011-05-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 69 | 157 | 0 | 0 |  | 0 | 0
| 2011-06-01 | 0 | 0 | 0 | 0 | 0 | 2011-06-01 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 16 | 329 | 0 | 0 |  | 0 | 0
| 2011-07-11 | 0 | 0 | 0 | 0 | 0 | 2011-07-01 | 223 | 0 | 846 | 623 | 623 | 223 | 1367.82 | 2825.64 | 2.8874 | 4.6684 | 9.6439 | 34 | 215 | 846 | 1367.82 | 2825.64 | 2.8874 | 4.6684 | 9.6439
| 2011-08-11 | 0 | 0 | 0 | 0 | 0 | 2011-08-01 | 42 | 0 | 651 | 609 | 609 | 42 | 749.28 | 2174.34 | 2.2219 | 2.5573 | 7.421 | 87 | 115 | 651 | 749.28 | 2174.34 | 2.2219 | 2.5573 | 7.421
| 2011-09-11 | 0 | 0 | 0 | 0 | 0 | 2011-09-01 | 0 | 0 | 452 | 452 | 452 | 0 | 452 | 1509.68 | 1.5427 | 1.5427 | 5.1525 | 429 | 17 | 452 | 452 | 1509.68 | 1.5427 | 1.5427 | 5.1525
| 2011-10-11 | 0 | 0 | 0 | 0 | 0 | 2011-10-01 | 123 | 0 | 499 | 376 | 376 | 123 | 786.82 | 1666.66 | 1.7031 | 2.6854 | 5.6883 | 610 | 1 | 499 | 786.82 | 1666.66 | 1.7031 | 2.6854 | 5.6883
| 2011-11-11 | 0 | 0 | 0 | 0 | 0 | 2011-11-01 | 272 | 0 | 686 | 414 | 414 | 272 | 1322.48 | 2291.24 | 2.3413 | 4.5136 | 7.82 | 906 | 0 | 686 | 1322.48 | 2291.24 | 2.3413 | 4.5136 | 7.82
| 2011-12-11 | 0 | 0 | 0 | 0 | 0 | 2011-12-01 | 442 | 0 | 747 | 305 | 305 | 442 | 1781.28 | 2494.98 | 2.5495 | 6.0795 | 8.5154 | 1071 | 0 | 747 | 1781.28 | 2494.98 | 2.5495 | 6.0795 | 8.5154
| 2012-01-12 | 0 | 0 | 0 | 0 | 0 | 2012-01-01 | 665 | 0 | 1035 | 370 | 370 | 665 | 2591.1 | 3456.9 | 3.5325 | 8.8434 | 11.7984 | 890 | 0 | 1035 | 2591.1 | 3456.9 | 3.5325 | 8.8434 | 11.7984
| 2012-02-01 | 0 | 0 | 0 | 0 | 0 | 2012-02-01 | 269 | 0 | 660 | 391 | 391 | 269 | 1289.46 | 2204.4 | 2.2526 | 4.4009 | 7.5236 | 626 | 22 | 660 | 1289.46 | 2204.4 | 2.2526 | 4.4009 | 7.5236
| 2012-03-01 | 0 | 0 | 0 | 0 | 0 | 2012-03-01 | 160 | 0 | 843 | 683 | 683 | 160 | 1217.4 | 2815.62 | 2.8772 | 4.155 | 9.6097 | 441 | 27 | 843 | 1217.4 | 2815.62 | 2.8772 | 4.155 | 9.6097
| 2012-04-01 | 0 | 0 | 0 | 0 | 0 | 2012-04-01 | 0 | -115 | 515 | 630 | 515 | 0 | 515 | 1720.1 | 1.7577 | 1.7577 | 5.8707 | 160 | 104 | 515 | 515 | 1720.1 | 1.7577 | 1.7577 | 5.8707
| 2012-05-01 | 0 | 0 | 0 | 0 | 0 | 2012-05-01 | 0 | -128 | 491 | 619 | 491 | 0 | 491 | 1639.94 | 1.6758 | 1.6758 | 5.5971 | 87 | 162 | 491 | 491 | 1639.94 | 1.6758 | 1.6758 | 5.5971
| 2012-06-01 | 0 | 0 | 0 | 0 | 0 | 2012-06-01 | 0 | -77 | 622 | 699 | 622 | 0 | 622 | 2077.48 | 2.1229 | 2.1229 | 7.0904 | 15 | 333 | 622 | 622 | 2077.48 | 2.1229 | 2.1229 | 7.0904
| 2012-07-11 | 0 | 0 | 0 | 0 | 0 | 2012-07-01 | 0 | -211 | 496 | 707 | 496 | 0 | 496 | 1656.64 | 1.6928 | 1.6928 | 5.6541 | 36 | 266 | 496 | 496 | 1656.64 | 1.6928 | 1.6928 | 5.6541
| 2012-08-11 | 0 | 0 | 0 | [6 empty] | 6 mo | 3198 | 1973 |  | 6 mo | 12.379 | 15.8051 | 41.3457 | [5 empty] | 12.379
[12 empty] | 10.9148 | 429 |  | 12 mo | 26.2699 |  | 87.7413
MIN USAGE 6 mos
[10 empty] | 491 | [5 empty] | 1.6758 | 5.5971 | [6 empty] | 1.6758 |  | 5.5971
MIN USAGE (w 12 mos data, average the 2 lowest)
|  | 0 | 0 | 0 | 0 | 0 |  |  |  | 471.5 | [5 empty] | 1.6092 | 5.3748 | [6 empty] | 1.6092 |  | 5.3748
452
[10 empty] | 491 | [10 empty] | site kwh | source kwh | src if no PV | site Mbtu | source Mbtu | src if no PV
[10 empty] | 3627 | [9 empty] | Totals 12 months | 7697 | 12313.82 | 25707.98 | 26.2699 | 42.0271 | 87.7413
7697
[20 empty] | Totals 6 months | 3627 | 4630.86 | 12114.18 | 12.379 | 15.8051 | 41.3457
12 mo MMBtu | [14 empty] | 87.7413

## HDD
Description: | Fahrenheit-based heating degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N)
Station ID: | KBAF
Month starting | HDD | % Estimated
2009-01-01 | 1407 | 0
2009-02-01 | 1017 | 0
2009-03-01 | 890 | 0
2009-04-01 | 478 | 0.3
2009-05-01 | 260 | 0
2009-06-01 | 95 | 0
2009-07-01 | 52 | 0.5
2009-08-01 | 40 | 0
2009-09-01 | 200 | 2
2009-10-01 | 524 | 0.1
2009-11-01 | 596 | 0
2009-12-01 | 1125 | 0
2010-01-01 | 1199 | 0
2010-02-01 | 997 | 0
2010-03-01 | 698 | 0
2010-04-01 | 404 | 0
2010-05-01 | 216 | 0.1
2010-06-01 | 63 | 0
2010-07-01 | 20 | 0
2010-08-01 | 33 | 0.2
2010-09-01 | 98 | 0
2010-10-01 | 407 | 0.2
2010-11-01 | 708 | 0.03
2010-12-01 | 1130 | 0.2
2011-01-01 | 1309 | 0.6
2011-02-01 | 1080 | 0
2011-03-01 | 883 | 0
2011-04-01 | 471 | 0.03
2011-05-01 | 189 | 0.03
2011-06-01 | 69 | 0
2011-07-01 | 16 | 0
2011-08-01 | 34 | 0
2011-09-01 | 87 | 0.03
2011-10-01 | 429 | 7
2011-11-01 | 610 | 3
2011-12-01 | 906 | 0.03
2012-01-01 | 1071 | 0
2012-02-01 | 890 | 0.03
2012-03-01 | 626 | 2
2012-04-01 | 441 | 2
2012-05-01 | 160 | 0.06
2012-06-01 | 87 | 0.03
2012-07-01 | 15 | 0.2
2012-08-01 | 36 | 0.03

## CDD
Description: | Fahrenheit-based cooling degree days for a base temperature of 65F
Source: | www.degreedays.net (using temperature data from www.wunderground.com)
Accuracy: | Estimates were made to account for missing data: the "% Estimated" column shows how much each figure was affected (0% is best, 100% is worst)
Station: | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N)
Station ID: | KBAF
Month starting | CDD | % Estimated
2010-08-01 | 257 | 0.2
2010-09-01 | 146 | 0
2010-10-01 | 16 | 0.2
2010-11-01 | 0 | 0.03
2010-12-01 | 0 | 0.2
2011-01-01 | 0 | 0.6
2011-02-01 | 0 | 0
2011-03-01 | 0 | 0
2011-04-01 | 13 | 0.03
2011-05-01 | 86 | 0.03
2011-06-01 | 157 | 0
2011-07-01 | 329 | 0
2011-08-01 | 215 | 0
2011-09-01 | 115 | 0.03
2011-10-01 | 17 | 7
2011-11-01 | 1 | 3
2011-12-01 | 0 | 0.03
2012-01-01 | 0 | 0
2012-02-01 | 0 | 0.03
2012-03-01 | 22 | 2
2012-04-01 | 27 | 2
2012-05-01 | 104 | 0.06
2012-06-01 | 162 | 0.03
2012-07-01 | 333 | 0.2
2012-08-01 | 266 | 0.03

## Weather Lin Regr Analysis
Linear Regression on Post Retrofit data
|  | Actual | WESTFIELD BARNES MUNICIPAL, MA, US (72.72W,42.16N) |  |  | Predicted (BEopt 1.3)
Month | Date | Actual MMBtu | Actual CDD | Actual HDD | Comments | BEopt 1.3 kWh | BEopt 1.3 CDD | BEopt 1.3 HDD
[9 empty] | Normalized | Normalized
[9 empty] | site MMBtu | Source MMBtu
2011-07-11 |  | 2.8874 | 329 | 16 |  |  | 95 | 11
2011-08-11 |  | 2.2219 | 215 | 34 |  |  | 207 | 8 | 1.683 | 5.6212
2011-09-11 |  | 1.5427 | 115 | 87 |  |  | 72 | 77 | 1.7658 | 5.8978
2011-10-11 |  | 1.7031 | 17 | 429 |  |  | 6 | 422 | 2.1798 | 7.2805
2011-11-11 |  | 2.3413 | 1 | 610 |  |  | 0 | 757 | 2.5818 | 8.6232
2011-12-11 |  | 2.5495 | 0 | 906 |  |  | 0 | 1005 | 2.8794 | 9.6172
2012-01-12 |  | 3.5325 | 0 | 1071 |  |  | 0 | 1481 | 3.4506 | 11.525 | 48.5649
2012-02-01 |  | 2.2526 | 0 | 890 |  |  | 0 | 1121 | 3.0186 | 10.0821
2012-03-01 |  | 2.8772 | 22 | 626 |  |  | 0 | 749 | 2.5722 | 8.5911
2012-04-01 |  | 1.7577 | 27 | 441 |  |  | 0 | 566 | 2.3526 | 7.8577
2012-05-01 |  | 1.6758 | 104 | 160 |  |  | 11 | 237 | 1.9578 | 6.5391
2012-06-01 |  | 2.1229 | 162 | 87 |  |  | 109 | 82 | 1.7718 | 5.9178
2012-07-11 |  | 1.6928 | 333 | 15 |  |  | 95 | 11 | 1.6866 | 5.6332 | 44.6211
[9 empty] | 27.9 | 93.186
26.2699
-6.205%
Note on K7: Rosi: Use "actual" best fit equation but put in TMY3 CDD for the value of X to get new energy use by month