## Miscellaneous
Scratch Work
DC Testing
Email airtightness data--Dave Bell?
3 shower caps--bring for 3 blower doors
Will duct blasters work correctly with controller? | [6 empty] | To Ship
Does Entellis have the right controllers? | [6 empty] | Protecto Super Stick Building Tape
Masking protocol/checklist--what to tape, garage door open or closed | [6 empty] | 3M tape
dP to cavity over garage?
Ladders access--attic hatch?
Booties
dP to garage testing
Camera protocol--what unit?
Extra USB to Serial connectors | [6 empty] | Equipment List: General
USB to Serial x4 rig | [6 empty] | Walkie-Talkies
White board--tracking | [6 empty] | Spare BD controller?
Hose--lots of tubing
Wires
Connectors for common pressure port
Working with Entellis
DG700s--need serial cables, other parts?
Don't forget frames and shrouds for duct blaster, if using it
Duct blaster controller the right kind?
By address and who?
Address | Fan | Shroud | Frame | DG-700 | Controller | Serial Cable
Lot 73 Jefferson | BD-Entellis | Entellis | Entellis | Entellis | Entellis | BSC
Lot 74 Adams | DB-BSC | BSC | BSC | BSC | BSC | BSC
Lot 75 Adams | DB-BSC | BSC | BSC | BSC | BSC | BSC
Lot 76 Adams | DB-BSC | BSC | BSC | BSC | BSC | BSC
Lot 77 Jefferson | BD-Entellis | Entellis | Entellis | Entellis | Entellis | BSC
BD=Minneapolis Blower door; DB = Energy Conservatory Duct Blaster
ecomfort.com Mitsubishi pricing
Outdoor Units
1651.02 | Mitsubishi M-Series - 20,000 BTU - Dual Zone - Mini Split Outdoor Condenser - Heat Pump - 18 SEER
2171.15 | Mitsubishi M-Series - 24,000 BTU - Dual/Tri Zone - Mini Split Outdoor Condenser - Heat Pump - 17.5 SEER
2398.24 | Mitsubishi M-Series - 30,000 BTU - Dual/Tri Zone - Mini Split Outdoor Condenser - Heat Pump - 17.5 SEER
2680 | Mitsubishi M-Series - 36,000 BTU - Dual/Tri/Quad Zone - Mini Split Outdoor Condenser - Heat Pump - 18 SEER
3680 | Mitsubishi M-Series - 42,000 BTU - Dual/Tri/Quad/Five Zone - Mini Split Outdoor Condenser - Heat Pump - 18.4 SEER
3892.74 | Mitsubishi M-Series - 48,000 BTU - Up to 8 Zones - Mini Split Outdoor Condenser - Heat Pump - 15 SEER
Wall Mount Units
429.05 | Mitsubishi M-Series - 6,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump
469.79 | Mitsubishi M-Series - 9,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump
551.28 | Mitsubishi M-Series - 12,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump
663.33 | Mitsubishi M-Series - 15,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump
712.64 | Mitsubishi M-Series - 18,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump
Δ$ non Hyper Heating
525.77 | Mitsubishi M-Series - Hyper-Heating - 9,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump | [6 empty] | 55.98
592.03 | Mitsubishi M-Series - Hyper-Heating - 12,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump | [6 empty] | 40.75
768.58 | Mitsubishi M-Series - Hyper-Heating - 18,000 BTU - Mini Split Indoor Unit - Wall Mounted - Heat Pump | [6 empty] | 55.94 |  | 2399
470
Recessed Units | [7 empty] | Δ$ vs. wall mount |  | 841
840.87 | Mitsubishi M-Series - 9,000 BTU - Mini Split Indoor Unit - Concealed Duct - Heat Pump | [6 empty] | 371.08 | 179% | 895
894.59 | Mitsubishi M-Series - 12,000 BTU - Mini Split Indoor Unit - Concealed Duct - Heat Pump | [6 empty] | 343.31 | 162.3%
1017.64 | Mitsubishi M-Series - 15,000 BTU - Mini Split Indoor Unit - Concealed Duct - Heat Pump | [6 empty] | 354.31 | 153.4%
1227.64 | Mitsubishi M-Series - 18,000 BTU - Mini Split Indoor Unit - Concealed Duct - Heat Pump | [6 empty] | 515 | 172.3%
1753.19 | Mitsubishi P-Series - 24,000 BTU - Mini Split Indoor Unit - Concealed Duct - Heat Pump
4603.49 | Typical package price
Goodman Outdoor Condensers; site had 2.5 and 3 tons
735.62 | Goodman GSX13 - 1.5 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
798 | Goodman GSX13 - 2.5 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
812.99 | Goodman GSX13 - 2 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
878.73 | Goodman GSX13 - 3 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
947.55 | Goodman GSX13 - 3.5 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
1015.91 | Goodman GSX13 - 4 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
1161.18 | Goodman GSX13 - 5 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
1248.64 | Goodman GSX13 - 5 Ton - Air Conditioning Condenser - 13 SEER - Single-Stage - R-410A Refrigerant
Goodman Indoor coils; site had 1824 units
202.89 | Goodman CAPF - 1.5-2 Ton - Upflow/Downflow Coil - Cased
282.68 | Goodman CAPF - 2.5 Ton - Upflow/Downflow Coil - Cased
304.63 | Goodman CAPF - 3 Ton - Upflow/Downflow Coil - Cased
316.83 | Goodman CAPF - 3 Ton - Upflow/Downflow Coil - Cased
425 | Goodman CAPF - 3-3.5 Ton - Upflow/Downflow Coil - Cased
435 | Goodman CAPF - 4-5 Ton - Upflow/Downflow Coil - Cased
Goodman furnaces
727.06 | Goodman GKS90 - 45,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
749.41 | Goodman GKS90 - 70,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
781.18 | Goodman GKS90 - 70,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
849.99 | Goodman GKS90 - 90,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
883.53 | Goodman GKS90 - 90,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
934.12 | Goodman GKS91 - 115,000 BTU - Gas-Fired Furnace - NG - 92.1% AFUE - Single-Stage - Upflow - Multi-Speed
1910.82 | System cost for Goodman HVAC
Dane Kelly at 240-508-3271
Tim Brickey at 240-375-4327
Kohta & Joe;
Any equipment that needs to be delivered for your testing can be done so to;
6710 Funderburg Drive
Capital Heights, Maryland 20743
(This is the community Model)
Happy New Year Joe!
Our construction manager is projecting the week of 2/10/14.
The week of the 17th works. However we do have a Pre-Settlement Orientation on lot 75 on the 20th at 10am. No one should be in this home at this time.
Masco: Tim McHenry <Tim.McHenry@mascohs.com>
Jim Hoffner
Implementation Project Manager
K. Hovnanian Companies, LLC
Corporate Operations
Quality | Home Production | Building Science
110 West Front Street, Red Bank, NJ 07701
Office 732-383-2637
FAX 732-383-2937
Mobile 609-313-0058
Pepper Mill
K. Hovnanian Homes
6710 Funderburg Dr
Capitol Heights Md 20743
http://www.khov.com/villagesatpeppermill
Transit from Gaithersburg:
Shady Grove Metro Station
SubwayRed Subway towards Glenmont
4:19pm - 4:55pm (36 mins, 14 stops)
Metro Center Metro Station
SubwayBlue Subway towards Largo Town Ctr
5:03pm - 5:23pm (20 mins, 10 stops)
Addison Road (?) NOT Capitol Heights Metro Station

## Area Takeoffs
TO5 2014 2.1 Multifamily Airtightness BA Project
Adams Rear Garage Plan (Inside Unit)
Nominal square ft | 1694.3 |  |  | # floors (Single or Multi) | m |  |  | Envelope area | 4349.8278
(First Floor) | 680 |  |  | # bedrooms (include Master) | 3 |  |  | Volume cubic ft | 14375.5917
(Second Floor) | 720 |  |  | # bathrooms | 2.5 |  |  | CFM 50 Goal @ 3 ACH 50 | 718.7796
(Attic) | 0 |  |  | # returns | 0 |  |  | CFM/sf enclosure | 0.16524
(Ground Floor) | 294.3
| 1988.6 | [10 empty] | Adams Rear Garage Plan
[8 empty] | Target at 0.25 CFM 50/sf enclosure | 1087.4569 |  |  | Ground | 294.3 | 8.0833 | 2378.925
62.2 P Rate | 46.943 | 23.4715 | (Watts) |  |  |  |  | ACH 50 at above target | 4.5388 |  |  | First | 680 | 9.0833 | 6176.6667 | Changed to 9 foot plates for first floor 2014-02
[12 empty] | Second | 720 | 8.0833 | 5820
Volume calcs | area(sf) | height | volume | [8 empty] | Total |  |  | 14375.5917
First floor | 680 | 9.0833 | 6176.6667
Second floor | 720 | 8.0833 | 5820 | [8 empty] | 3 ACH 50 |  |  | 718.7796
Ground Floor | 294.3 | 8.0833 | 2378.925
Vault cutout |  |  |  |  | Overhangs | 425.6389 | [5 empty] | Duct blaster maximum |  |  | 1350
|  |  | 14375.5917 |  | Over garage | 385.6389 | Over garage |  |  |  |  | In ACH |  |  | 5.6346 | maximum ACH blowable
[5 empty] | Cantilevers | 40 | Second floor overhang
Ceilings | sf
Main roof | 720 | [10 empty] | Jefferson Rear Garage Plan
Total | 720 | [10 empty] | Ground | 355.7 | 8.0833 | 2875.2417
[12 empty] | First | 824.3 | 9.0833 | 7487.3917 | Changed to 9 foot plates for first floor 2014-02
Ground Floor | exp. Peri | gar. peri | total | height | expos | garage | total |  |  |  |  | Second | 824.3 | 8.0833 | 6663.0917
Ground Floor | 75.8333 | 23.9167 | 99.75 | 8.0833 | 612.9861 | 193.3264 | 806.3125 |  |  |  |  | Total |  |  | 17025.725
[5 empty] | 612.9861 | 193.3264 | 806.3125
[12 empty] | 3 ACH 50 |  |  | 851.2862
Wall areas | exp. Peri | gar. peri | total | height | expos | garage | total
First floor | 108 | 23.9167 | 131.9167 | 9.0833 | 981 | 217.2431 | 1198.2431 |  |  |  |  | Duct blaster maximum |  |  | 1350
Second floor | 112 |  | 112 | 8.0833 | 905.3333 |  | 905.3333 |  |  |  |  | In ACH |  |  | 4.7575 | maximum ACH blowable
|  |  |  | Above Grade Area | 1886.3333 | 217.2431 | 2103.5764
Jefferson Rear Garage Plan (End Unit)
Nominal square ft | 2004.3 |  |  | # floors (Single or Multi) | m |  |  | Envelope area | 4864.8471 |  |  | Hill (2005) work
(First Floor) | 824.3 |  |  | # bedrooms (include Master) | 3 |  |  | Volume cubic ft | 17025.725
(Second Floor) | 824.3 |  |  | # bathrooms | 2.5 |  |  | CFM 50 Goal @ 3 ACH 50 | 851.2862 |  |  | 1.25
(Attic) | 0 |  |  | # returns | 0 |  |  | CFM/sf enclosure | 0.17499 |  |  | 2.52
(Ground Floor) | 355.7 | [10 empty] | 3.12
| 2360 | [10 empty] | 1.19
[8 empty] | Target at 0.25 CFM 50/sf enclosure | 1216.2118 |  |  | 3.16
62.2 P Rate | 50.043 | 25.0215 | (Watts) |  |  |  |  | ACH 50 at above target | 4.286 |  |  | 2.62
2.13
Volume calcs | area(sf) | height | volume | [8 empty] | 2.46
First floor | 824.3 | 9.0833 | 7487.3917 | [8 empty] | 1.44
Second floor | 824.3 | 8.0833 | 6663.0917
Ground Floor | 355.7 | 8.0833 | 2875.2417 | [8 empty] | 2.21
Vault cutout |  |  |  |  | Overhangs | 474.7638 | [5 empty] | 2.46
|  |  | 17025.725 |  | Over garage | 468.6638 | Over garage |  |  |  |  | 0.75982
[5 empty] | Cantilevers | 6.1 | Second floor overhang
Ceilings | sf
Main roof | 824.3 | [10 empty] | Finch (2009) work
Total | 824.3
Ground Floor | exp. Peri | gar. peri | total | height | expos | garage | total
Ground Floor | 86 | 28.8333 | 114.8333 | 8.0833 | 695.1667 | 233.0694 | 928.2361
[5 empty] | 695.1667 | 233.0694 | 928.2361
Wall areas | exp. Peri | gar. peri | total | height | expos | garage | total
First floor | 117.6667 | 28.8333 | 146.5 | 9.0833 | 1068.8056 | 261.9028 | 1330.7083
Second floor | 117.6667 |  | 117.6667 | 8.0833 | 951.1389 |  | 951.1389
|  |  |  | Above Grade Area | 2019.9444 | 261.9028 | 2281.8472
Imaginary 2000 sf box house
Nominal square ft | 3000 |  |  | # floors (Single or Multi) | m |  |  | Envelope area | 5089.5714
(First Floor) | 1000 |  |  | # bedrooms (include Master) | 3 |  |  | Volume cubic ft | 24300
(Second Floor) | 1000 |  |  | # bathrooms | 2.5 |  |  | CFM 50 Goal @ 3 ACH 50 | 1215
(Attic) | 0 |  |  | # returns | 0 |  |  | CFM/sf enclosure | 0.23872 |  |  | 13.8 | 11.1 | 2.7
(Ground Floor) | 1000 | [10 empty] | 4 | 3.1 | 0.9
| 4000 | [10 empty] | 6.2 | 2.2 | 4
[12 empty] | 4.1 | 1.4 | 2.7
62.2 P Rate | 60 | 30 | (Watts) | [8 empty] | 2.6 | 0.9 | 1.7
[12 empty] | 9.7 | 6.5 | 3.2
Volume calcs | area(sf) | height | volume
First floor | 1000 | 8.1 | 8100 | [8 empty] | 6.7333
Second floor | 1000 | 8.1 | 8100 | [8 empty] | 4.2547
Ground Floor | 1000 | 8.1 | 8100
Vault cutout |  |  |  |  | Overhangs | 0
|  |  | 24300 |  | Over garage | 0 | Over garage
[5 empty] | Cantilevers | 0 | Second floor overhang |  |  | 35 | wide
Ceilings | sf | [8 empty] | 28.5714 | deep
Main roof | 1000 | [8 empty] | 1000 | sf
Total | 1000
Ground Floor | exp. Peri | gar. peri | total | height | expos | garage | total
Ground Floor | 127.1429 |  | 127.1429 | 8.1 | 1029.8571 | 0 | 1029.8571
[5 empty] | 1029.8571 | 0 | 1029.8571
Wall areas | exp. Peri | gar. peri | total | height | expos | garage | total
First floor | 127.1429 |  | 127.1429 | 8.1 | 1029.8571 | 0 | 1029.8571
Second floor | 127.1429 |  | 127.1429 | 8.1 | 1029.8571 |  | 1029.8571
|  |  |  | Above Grade Area | 2059.7143 | 0 | 2059.7143

## Previous BD Tests
Previous Blower Door Tests
Bldg/Lot | ACH | CFM 50 | Area | Volume | Recheck ACH 50 | CFM 50/sf enclosure
14078 | 4.76 | 1177 | 4864.8471 | 17025.725 | 4.1478 | 0.24194
14079 | 4.27 | 1055 | 4349.8278 | 14375.5917 | 4.4033 | 0.24254
14080 | 4.54 | 1123 | 4349.8278 | 14375.5917 | 4.6871 | 0.25817
14081 | 5.51 | 1362 | 4864.8471 | 17025.725 | 4.7998 | 0.27997
15082 | 4.44 | 1336 | 4864.8471 | 17025.725 | 4.7082 | 0.27462
15083 | 5.34 | 1320 | 4349.8278 | 14375.5917 | 5.5093 | 0.30346
15084 | 5.71 | 1396 | 4349.8278 | 14375.5917 | 5.8265 | 0.32093
15085 | 4.63 | 1329 | 4864.8471 | 17025.725 | 4.6835 | 0.27318
Average | 4.9 | 1262.25 |  |  | 4.8457 | 0.27435
StDev | 0.54148 | 125.7432 |  |  | 0.55519 | 0.027709
Duct blaster maximum |  |  | 1350
From: Matt Chesnick <Matt.Chesnick@nationscapitalenergysolutions.com> Date: January 14, 2014 at 12:03:34 PM EST To: Brian Hamilton <Brian.Hamilton Cc: Brendon Roark <Brendon.Roark@nationscapitalenergysolutions.com> Subject: Peppermill B/D Results Brian,
Here are the Blower Door results for the last two buildings. These units are exactly like the ones they will be testing. Let me know if there is anything you need.
Matt Chesnick
HERS Rater
Nations Capital Energy Solutions
4463 Beech Rd
Temple Hills MD 20748
Cell 301-343-5688
Building 14 and 15 are Identical. Rear load same product.

## BSC BD Tests-Summary
2014-02-19 BSC Blower Door Tests
Duct blaster maximum |  |  | 1350
Initial Solo Testing
Unit | Surface Area | Volume | CFM 50 | ACH 50 | CFM 50/sf enclosure |  | % difference between two plans
6700 | 4864.8471 | 17025.725 | 1115 | 3.9293 | 0.2292 |  | area | volume
6702 | 4349.8278 | 14375.5917 | 1408 | 5.8766 | 0.32369 |  | 111.8% | 118.4%
6704 | 4349.8278 | 14375.5917 | 1271 | 5.3048 | 0.2922
6706 | 4349.8278 | 14375.5917 | 1307 | 5.4551 | 0.30047
6708 | 4864.8471 | 17025.725 | 1117 | 3.9364 | 0.22961
Retest with Parallel Fans, Individually-Outside Air Taped Off
Unit | Surface Area | Volume | CFM 50 | ACH 50 | CFM 50/sf enclosure | ΔCFM 50 | ΔCFM 50 %
6700 | 4864.8471 | 17025.725 | 1085.0478 | 3.8238 | 0.22304 | -29.9522 | -2.686% | 2.686%
6702 | 4349.8278 | 14375.5917 | 1328.7463 | 5.5458 | 0.30547 | -79.2537 | -5.629% | 5.629%
6704 | 4349.8278 | 14375.5917 | 1254.5309 | 5.2361 | 0.28841 | -16.4691 | -1.296% | 1.296% | -128.5914 |  | 13.2449
6706 | 4349.8278 | 14375.5917 | 1330.1662 | 5.5518 | 0.3058 | 23.1662 | 1.772% | 1.772% | -255.4402 |  | 26.3103
6708 | 4864.8471 | 17025.725 | 1113.4292 | 3.9238 | 0.22887 | -3.5708 | -0.3197% | 0.3197%
[7 empty] | -1.632% | 2.341%
Fully Nulled Test-Outside Air Taped Off | [8 empty] | WRT Prev Retest
Unit | Surface Area | Volume | CFM 50 | ACH 50 | CFM 50/sf enclosure | ΔCFM 50 | ΔCFM 50 % |  | ΔCFM 50 | ΔCFM 50 % | EqLA Reduction | For EqLA, we multiply CFM 50 by 0.103. For ELA, we multiply CFM 50 by 0.055
6700 | 4864.8471 | 17025.725 | 952.7187 | 3.3575 | 0.19584 | -162.2813 | 14.55% |  | -132.3291 | -12.2% | 13.6299
6702 | 4349.8278 | 14375.5917 | 1057.3001 | 4.4129 | 0.24307 | -350.6999 | 24.91% |  | -271.4462 | -20.43% | 27.959
6704 | 4349.8278 | 14375.5917 | 1004.4405 | 4.1923 | 0.23091 | -266.5595 | 20.97% |  | -250.0904 | -19.93% | 25.7593
6706 | 4349.8278 | 14375.5917 | 1085.3822 | 4.5301 | 0.24952 | -221.6178 | 16.96% |  | -244.784 | -18.4% | 25.2127
6708 | 4864.8471 | 17025.725 | 988.5754 | 3.4838 | 0.20321 | -128.4246 | 11.5% |  | -124.8538 | -11.21% | 12.8599
Retest with Parallel Fans, Individually-Outside Air Taped Off-Ballpark from eyeballing
Unit | Surface Area | Volume | CFM 50 | ACH 50 | CFM 50/sf enclosure | ΔCFM 50 | ΔCFM 50 %
6700 | 4864.8471 | 17025.725 | 1090 | 3.8412 | 0.22406 | -25 | 2.242%
6702 | 4349.8278 | 14375.5917 | 1350 | 5.6346 | 0.31036 | -58 | 4.119%
6704 | 4349.8278 | 14375.5917 | 1230 | 5.1337 | 0.28277 | -41 | 3.226%
6706 | 4349.8278 | 14375.5917 | 1360 | 5.6763 | 0.31266 | 53 | -4.055%
6708 | 4864.8471 | 17025.725 | 1140 | 4.0175 | 0.23433 | 23 | -2.059%
Fully Nulled Test-Outside Air Taped Off-Ballpark from eyeballing
Unit | Surface Area | Volume | CFM 50 | ACH 50 | CFM 50/sf enclosure | ΔCFM 50 | ΔCFM 50 %
6700 | 4864.8471 | 17025.725 | 970 | 3.4184 | 0.19939 | -145 | 13%
6702 | 4349.8278 | 14375.5917 | 1150 | 4.7998 | 0.26438 | -258 | 18.32%
6704 | 4349.8278 | 14375.5917 | 1090 | 4.5494 | 0.25058 | -181 | 14.24%
6706 | 4349.8278 | 14375.5917 | 1190 | 4.9668 | 0.27357 | -117 | 8.952%
6708 | 4864.8471 | 17025.725 | 1060 | 3.7355 | 0.21789 | -57 | 5.103%

## Multi-Door Test-Nulled
BSC Blower Door Tests-Detailed, Computing C & n
Unit 6700-Guarded | [5 empty] | Unit 6702-Guarded | [5 empty] | Unit 6704-Guarded | [5 empty] | Unit 6706-Guarded | [5 empty] | Unit 6708-Guarded
Baseline | Baseline StDev | ΔP Raw | ΔP Bslined | CFM | CFM StDev | Baseline | Baseline StDev | ΔP Raw | ΔP Bslined | CFM | CFM StDev | Baseline | Baseline StDev | ΔP Raw | ΔP Bslined | CFM | CFM StDev | Baseline | Baseline StDev | ΔP Raw | ΔP Bslined | CFM | CFM StDev | Baseline | Baseline StDev | ΔP Raw | ΔP Bslined | CFM | CFM StDev
2.71 | 2.91 | -49.86 | 52.77 | 975.7 | 17.7 | 0.725 | 3.885 | -51.88 | 55.765 | 1151.3 | 49.4 | -1.675 | 2.21 | -53.66 | 55.87 | 1098.7 | 20.3 | -1.47 | 2.37 | -54.37 | 56.74 | 1188.9 | 35.2 | -3.265 | 1.81 | -53.92 | 55.73 | 1066.8 | 27
|  | -40.75 | 43.66 | 864.4 | 24.3 |  |  | -41.27 | 45.155 | 976.8 | 47 |  |  | -43.38 | 45.59 | 945.5 | 9.9 |  |  | -44.1 | 46.47 | 1038 | 40.8 |  |  | -45.1 | 46.91 | 949.1 | 9.4
|  | -41.61 | 44.52 | 869.6 | 22.8 |  |  | -43.26 | 47.145 | 1007.8 | 66 |  |  | -42.76 | 44.97 | 894.8 | 21 |  |  | -43.52 | 45.89 | 1005 | 42.9 |  |  | -44.61 | 46.42 | 918.7 | 12.8
|  | -30.53 | 33.44 | 705.6 | 11.5 |  |  | -31.15 | 35.035 | 789.8 | 21.6 |  |  | -33.88 | 36.09 | 799.9 | 16.5 |  |  | -32.34 | 34.71 | 840.6 | 38.5 |  |  | -34.82 | 36.63 | 811 | 6.5
|  | -24.7 | 27.61 | 573.1 | 15.3 |  |  | -23.49 | 27.375 | 640.4 | 26.4 |  |  | -23.71 | 25.92 | 596 | 16.5 |  |  | -25.02 | 27.39 | 686.3 | 21.9 |  |  | -25 | 26.81 | 615.8 | 13.1
6.46 | 4.26 |  |  |  |  | 3.42 | 6.4 |  |  |  |  | 0.45 | 3.45 |  |  |  |  | 1.4 | 3.4 |  |  |  |  | -1.7 | 2.25
-1.04 | 1.56 |  |  |  |  | -1.97 | 1.37 |  |  |  |  | -3.8 | 0.97 |  |  |  |  | -4.34 | 1.34 |  |  |  |  | -4.83 | 1.37
C | 39.292 |  |  |  |  | C | 41.638 |  |  |  |  | C | 47.448 |  |  |  |  | C | 58.818 |  |  |  |  | C | 55.47
n | 0.815 |  |  |  |  | n | 0.8268 |  |  |  |  | n | 0.7803 |  |  |  |  | n | 0.7452 |  |  |  |  | n | 0.7363
ΔP | 50 |  |  |  |  | ΔP | 50 |  |  |  |  | ΔP | 50 |  |  |  |  | ΔP | 50 |  |  |  |  | ΔP | 50
CFM 50 | 952.7187 |  |  |  |  | CFM 50 | 1057.3001 |  |  |  |  | CFM 50 | 1004.4405 |  |  |  |  | CFM 50 | 1085.3822 |  |  |  |  | CFM 50 | 988.5754

## Multi-Door Test-Not Nulled
BSC Blower Door Tests-Detailed, Computing C & n
Non-Nulled Individual Unit Tests--2 point tests
Unit 6700-End, Jefferson |  | Unit 6700-Unguarded
Baseline | -1.41
StDev | 0.46
Pressure | ΔP Baselined | CFM | StDev ΔP | StDev CFM
-50.45 | 49.04 | 1071.3 | 1.84 | 16.2
-42.21 | 40.8 | 949.8 | 3.01 | 22.5
C | 83.877
n | 0.6544
ΔP | 50
CFM 50 | 1085.0478
Unit 6702-Mid, Adams |  | Unit 6702-Unguarded
Baseline | -1.19
StDev | 2.13
Pressure | ΔP Baselined | CFM | StDev ΔP | StDev CFM
-51.56 | 50.15 | 1331.7 | 3.14 | 41.7
-41.41 | 40 | 1136.7 | 2.36 | 39.3
C | 85.9
n | 0.7001
ΔP | 50
CFM 50 | 1328.7463
Unit 6704-Mid, Adams |  | Unit 6704-Unguarded
Baseline | -2.47
StDev | 0.89
Pressure | ΔP Baselined | CFM | StDev ΔP | StDev CFM
-50.97 | 49.56 | 1247.9 | 1.67 | 16.8
-42.21 | 40.8 | 1115 | 1.01 | 6.9
C | 130.25
n | 0.579
ΔP | 50
CFM 50 | 1254.5309
Unit 6706-Mid, Adams |  | Unit 6706-Unguarded
Baseline | -4.26
StDev | 2.84
Pressure | ΔP Baselined | CFM | StDev ΔP | StDev CFM
-55.23 | 53.82 | 1353.4 | 3.02 | 47.3
-45.47 | 44.06 | 1181.9 | 2.88 | 40.7
C | 94.051
n | 0.6772
ΔP | 50
CFM 50 | 1330.1662
Unit 6708-End, Jefferson |  | Unit 6708-Unguarded
Baseline | -2.93
StDev | 1.84
Pressure | ΔP Baselined | CFM | StDev ΔP | StDev CFM
-53.25 | 51.84 | 1141.8 | 1.23 | 9.6
-42.8 | 41.39 | 976.6 | 1.22 | 10.3
C | 73.661
n | 0.6942
ΔP | 50
CFM 50 | 1113.4292

## BSC Garage Tests
Garage Testing
Baseline Tests | 6706 WRT Ext | Garage WRT 6706
Beginning | -2.13 | 1.86
Middle | -2.13 | 1.81
End | -2.53 | 1.46 | Garage door closed on this tests
Average | -2.2633 | 1.71
Garage Door Open Test (Comparison)
6706 P | ΔP Baselined | CFM | Garage WRT 6706 | ΔP WRT Out Baselined
-52.08 | 49.8167 | 1335.5 | 51.37 | 2.42
-47.09 | 44.8267 | 1246.1 | 46.37 | 2.43
-42.48 | 40.2167 | 1165.2 | 41.92 | 2.27
-37.24 | 34.9767 | 1061.7 | 36.6 | 2.35
-32.28 | 30.0167 | 973.3 | 31.76 | 2.23
Unit
C | 114.63
n | 0.6277
ΔP | 50
CFM 50 | 1335.801
Garage Door Closed Test
6706 P | ΔP Baselined | CFM | Garage P? | % Outside
-52.16 | 49.8967 | 1233.5 | 24.57 | 49.24% | 25.3267
-47.17 | 44.9067 | 1146.4 | 22.18 | 49.39%
-42.32 | 40.0567 | 1061.1 | 19.85 | 49.55%
-37.15 | 34.8867 | 977.1 | 17.63 | 50.54%
102
Unit
C | 96.066 |  | 6706 Mech P | This was in D25 before--just copy & paste error?
n | 0.6521
ΔP | 50
CFM 50 | 1231.5954 |  | 108.5% |  |  | 28800
92.2%
2.25
1.87
0.38

## BSC Mech Rm Tests
Mechanical Room Testing
Baseline Tests | 6706 WRT Ext | Mech WRT 6706
Beginning | -0.65 | 0.44
Middle | -2.11 | 1.15
End | -2.13 | 1.05
Average | -1.63 | 0.88
Nulled Test (Fan running in 6706 and in mechanical room)
6706 P | ΔP Baselined | CFM | 6706 Mech P WRT 6706 | ΔP WRT Out Baselined | CFM | CFM Total
-51.88 | 50.25 | 1124.8 | -0.02 | 52.78 | 309.7 | 1434.5
-46.91 | 45.28 | 1051.9 | 0.02 | 47.77 | 291.9 | 1343.8
-41.87 | 40.24 | 967.9 | -0.28 | 43.03 | 279 | 1246.9
| Unit | Mech Rm
C | 79.45 | 40.774
n | 0.6769 | 0.5105
ΔP | 50 | 50
CFM 50 | 1122.3458 | 300.4052 | 1422.7511 | 21.11%
Non-nulled test (Fan running in 6706; measure ΔP to mechanical room)
6706 P | ΔP Baselined | CFM | 6706 Mech P | % Outside
-51.85 | 50.22 | 1335.9 | 21.03 | 41.88%
-46.93 | 45.3 | 1250.9 | 18.99 | 41.92%
-41.98 | 40.35 | 1166.1 | 17.08 | 42.33%
-37.16 | 35.53 | 1072.8 | 15.11 | 42.53% |  |  |  |  | For EqLA, we multiply CFM 50 by 0.103. For ELA, we multiply CFM 50 by 0.055
-32.21 | 30.58 | 976.3 | 13.14 | 42.97%
[8 empty] | CFM 50 | EqLA (Sq. In.)
| Unit | [5 empty] | Unit to Exterior (Non-Nulled) | 1332.4119 | 137.2384
C | 112.3 | [5 empty] | Unit to Exterior (Nulled) | 1122.3458 | 115.6016
n | 0.6323 | [5 empty] | Mech. Room to Exterior (Nulled) | 300.4052 | 30.9417
ΔP | 50 | [5 empty] | Sum of Nulled Tests | 1422.7511 | 146.5434
CFM 50 | 1332.4119 | [5 empty] | Mech. Room to Unit (Calculated) | 210.066 | 21.6368 | 41.15%