## Cost Analysis Data
Project Name | Status | Multistate Project | Plant Cost ($MM 2020) | O&M Cost ($MM 2020) | Total Capital Costs ($MM 2020) | Available Breakdown | Notes
Upper Occoquan Service Authority | Operational | Y | n/a | n/a | 907.0091 | $78 million (1973-1978) for 15 mgd; $21 million (1985-1987) for expansion to 27 mgd; $38 million (1993-1996) for interim-expansion to 32 mgd; $200 million (1996) to 54 mgd | Not including CIP capital costs since 2011.
Denver Potable Reuse Demonstration | Demonstration Project | N | 70.8867 | 2.1481 | n/a | Total project cost (1979-1993): $34.3 million, Design & Construction: $19.8 million O&M: $8.4 million
Hueco Bolson Recharge Project (Fred Hervey Water Reclamation Plant) | Operational | N | n/a | n/a | 79.7 | Capital cost: $33 million (1985); treatment cost: $1.54/kgal (2015)
Gwinnett County (F. Wayne Hill) | Operational | Y | 763.2729 | n/a | 849.0954 | $200 million initial plan construction (1999); $350 million facility expansion (2006); $72 million pipeline (2010)
Prairie Water Project | Operational | N | 785.5136 | n/a | n/a | Total plant cost: $659 million (2010); $160 million pipeline (2010) | Constructed $100 million below budget.
Los Alamitos Barrier Water Replenishment (Leo J Vander Lans Water Treatment Facility) | Operational | Y | 63.9 | 5.3 | n/a | Initial phase construction: $17 million (2001-2005); total construction cost: $52.2 million (2014); planning and design $5.96 million (2014); O&M: $4.8 million/yr (2014) | At time of publication, O&M and total construction costs were estimates. Only initial phase had been constructed.
City of Tenino Class A Reclaimed Water Facility | Operational | N | n/a | n/a | 7.5 | Total project cost: $6.2 million (2009)
Big Spring Colorado River Municipal Water District | Operational | N | 15.6 | 0.84 | n/a | Treatment facility cost: $14 million (2013) | Note the operating costs were from design report.
Dominguez Gap Barrier (Terminal Island Water Reclamation Plant) | Operational | N | 87.3782 | n/a | n/a | Treatment facility cost: $23 million (2002). Expansion from 5 mgd to 12 mgd: $50 million (2016)
Silicon Valley Advanced Purification Center | Operational | N | 79 | n/a | n/a | Treatment facility cost: $72 million (2014)
Orange County Groundwater Replenishment System | Operational | Y | n/a | 40 | 823.3819 | Initial phase of 70 mgd: $481 million (2008); Expansion to 100 mgd: $142.7 million (2012) | Expansion cost to 130 mgd not included. O&M cost estimate (see GWRS FAQs).
City of Abilene Hamby Water Reclamation Facility and Indirect Reuse Project | Operational | N | n/a | n/a | 89.9 | Planning/design,construction permitting cost: $82 million (2015)
Hillsborough County Direct Potable Reuse Demonstration | Demonstration Project | N | n/a | n/a | 0.216 | Demonstration cost: $0.2 million (2016) | Estimated cost.
City of Plantation Advanced Wastewater Treatment Pilot | Pilot Study | N | n/a | n/a | 0.376 | Pilot program cost: $0.3 million (2007)
Miami-Dade County Coastal Wetlands Rehydration Demonstration Pilot Project | Pilot Study | N | n/a | n/a | 2 | Pilot program cost: $1.7 million (2009)
City of Oxnard Advanced Water Treatment Facility | Unbuilt | N | n/a | n/a | 90.5 | Total project cost: $80 million (2012)
City of Altamonte Springs pureALTA | Unbuilt | N | n/a | n/a | 1.089 | Total project cost: $1 mill (2016)
City of Daytona Beach Direct Potable Reuse Demo Test System | Demonstration Project | N | n/a | n/a | 3.93 | Total program cost: $3.7 million (2017) | Operated from 2018 to 2020.
Village of Cloudcroft DPR Project | Demonstration Project | N | n/a | 0.383 | 5.48 | Total capital costs (2015): $5 million; including $1.4 million upgrade to WWTP; O&M costs: $350,000/year
Big Bear Area Regional Wastewater Agency Replenish Big Bear | Unbuilt | N | n/a | n/a | 44.4 | Total project cost: $43.7 million (2019) | Feasibility cost estimate.
Carpinteria Valley Water District Advanced Purification Project | Unbuilt | N | n/a | n/a | 23.5 | Total project cost: $23.2 million (2019) | Feasibility cost estimate. Estimate includes pump and conveyance (pipeline) costs.
Pure Water Oceanside | Unbuilt | N | 48.8 | n/a | 84.2 | Facility cost: $48 million (2019), Total project cost: $84.2 million (2020) | Engineer estimated cost.
City of Pismo Beach Central Coast Blue | Unbuilt | N | 31.5 | 2.3 | 51 | Treatment facility cost estimates: $17-31 million (2019); distribution infrastructure: $11-19 million (2019); Annual O&M: $1.8-2.3 million (2019)
Pure Water Monterey | Unbuilt | Y | 49.8 | 2.7 | n/a | Advanced Water Purification Facilty cost (2016): $46 million; O&M cost: $2.5 milion; Expansion from 5 mgd to 7 mgd cost: $32.5 million (2018) | Cost of expansion is cost opinion, not included.
El Paso Advanced Water Purification Facility | Unbuilt | N | n/a | n/a | 153 | Estimated total project cost range is between $110 and $150 million (2019). | Took higher end cost estimate.
Groundwater Reliabiltiy Improvement Project (Albert Robles Center) | Unbuilt | N | 119 | n/a | n/a | Facility project cost: $110 million (2016)